National Competency Standard of Diploma of Associate Engineer

In

Electrical Technology

2024

National Vocational and Technical Training Commission (NAVTTC),

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level 5 Electrical Technology. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

Introduction	5

Date of development / review:	6

Entry requirement:	6

Minimum qualification of trainer:	6

Recommended trainer trainee ratio:	6

Comp-162 Computer Applications	7

ET -125   Principles of Electrical Engineering	13

ET 131 Basic Electrical Drawing	22

MGM-221 Business Management & Industrial Economics	42

ET-273 Electrical Instruments and Measurements	56

ET-253 Utilization of Electrical Energy	62

ET-252 Electrical Installation Planning & Estimating	66

ET-261 Computer Applications for Electrical Technology	71

ET-283   Basic Electronics	75

ET-282 Digital Logic Desig	85

MGM-321 Business Communication	105

MGM-311 Industrial Management & Human Relations	108

ET-326 A.C. Machines	111

ET-332 Power Plant & Energy Conservation	116

ET-345 Transmission, Distribution & Protection of Electrical Power System	121

ET-303 Telecommunication	127

ET-373 Industrial Electronics	139

Members of Curriculum Development Committee	148

1st Year DAE Electrical Technology

### Introduction

The DAE Level 5 in Electrical Technology is a comprehensive program designed to equip students with advanced skills and knowledge in the field of electrical. As part of Pakistan's technical education framework, this program builds on electrical foundational concepts, offering training in areas such as electrical circuits, power systems, electronics, and industrial automation. Students will be engaged in hands-on learning through practical projects and industry-based training, preparing them for the technical demands of the modern electrical industry. By the end of the program, graduates will possess the expertise to troubleshoot, design, and implement electrical systems and solutions, making them valuable assets in various sectors including manufacturing, energy, and construction.

This program is tailored to meet the growing needs of Pakistan's evolving electrical and technological landscape, providing a pathway to both immediate employment and further academic pursuits in engineering.

Pakistan can boost economic growth and job creation by overcoming inefficiencies in its power sector, Reforms that address these distortions can make better use of existing facilities. These need to focus on eliminating waste, promoting the shift towards cleaner energy and attracting private investments.”

The purpose of the training is to provide skilled manpower to improve the quality of value added products of industrial sector. This training will provide the basic skills to the trainees in the field of Electrical and convert it into value added product which is acceptable by International market reducing the line losses and fit-in a skilled graduate into National Vocational Qualification Framework for his / her vertical career progression and qualification equivalencies at par with acceptable international standards.

| ### Date of development / review: | 21-23 August 2024 |
| --- | --- |
| ### Entry requirement: | The entry requirement for DAE Level 5 in Electrical Technology is: A person having Matric certificate with Science subjects |
| ### Minimum qualification of trainer: | The entry requirement for Trainer can be one or more of following: 1. B.Sc. / B.E. in Electrical Engineering. 2. 4 Years B. Tech/BSc Engineering Technology(Electrical) with 3 Years teaching experience. 3. D.A. E. in Electrical Technology with 7 Years teaching experience Must be able to communicate effectively |
| ### Recommended trainer trainee ratio: | 1:50 |

### Comp-162 Computer Applications

Overview:

This competency standard cover the under pinning knowledge and skills required for a student /trainee to be competent in Computer Applications.  After completing this competency standard student will be able to perform the tasks of EDP, Windows OS, MS-Word, Spread Sheets (Excel), Power Point, C++& Internet.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform Electronic Data Processing (E.D.P) | - Identify Generations of Computers - Draw Block diagram of computer system - Find difference between BIT, Byte, RAM & ROM - Identify Input & Output devices - Identify Secondary storage devices - Identify Types of Software - Optimize system performance for rapid data retrieval and processing. - Maintain data integrity by implementing robust error-checking and correction mechanisms. |
| CU2. Install MS-Windows | - Verify system compatibility with hardware meeting minimum requirements for installation. - Backup data before installation to prevent data loss. - Configure system settings optimally for performance and security during the installation process. - Install drivers and updates for all hardware components to function correctly. - Test installed operating system thoroughly to confirm that all features and functionalities are working as requirements. - Perform software installation - Install Printer & Scanner. - Arrange Desktop Icons. - Operate Control Panel (add/remove program, time & date, mouse and create user account) - Create Folder and give nomenclature. - Practice share, search files & folders. |
| CU3. Create Document Using MS-Office | - Create documents using styles, fonts, and layouts to enhance readability and presentation. - Utilize editing tools such as track changes, comments, and review features to facilitate collaboration and feedback. - Implement document protection measures, including password protection and restricted access, to enhance document security. - Integrate MS-Word with other Office applications (e.g., Excel, PowerPoint) for seamless data transfer. - Maintain document consistency by using templates, themes, and standard formatting practices. - Insert Page numbers, Symbols, Text box & Picture in the document. - Carry out Spell Check & Grammar. - Insert Header and Footer. - Practice Format menu drop down commands (Drop Cap, Change Case, Bullet & Numbering and Border & Shading). - Insert Table and practice Editing and modifying table. - Perform Page Setup (Margin, Paper and Layout Settings). - Print document. - Convert file to PDF format. |
| CU4. Create Document Using MS-Office (MS-Excel) | - Practice Ms-Excel - Perform editing / formatting of Cells, Row & Column. - Practice Basic formulas for sum, subtract, multiply, divide, average. - Organize data efficiently using tables, named ranges, and proper formatting to enhance clarity and ease of analysis. - Utilize advanced functions and formulas, such as VLOOKUP, INDEX-MATCH, and pivot tables, to perform complex calculations and data analysis. - Automate repetitive tasks with macros and VBA scripting to improve efficiency and reduce manual effort. - Visualize data effectively by creating and customizing charts, graphs, and conditional formatting to aid in data interpretation and presentation. - Maintain data accuracy by implementing data validation, error-checking mechanisms, and regularly auditing spreadsheets for consistency and correctness. - Perform Page setup, Print preview & Printing. |
| CU5. Prepare Presentation Using MS-Office (MS-Power Point) | - Design visually appealing slides using templates, themes, and color schemes to enhance audience engagement. - Incorporate multimedia elements such as images, videos, and audio clips to create dynamic and interactive presentations. - Utilize slide transitions and animations judiciously to maintain a professional appearance while emphasizing key points. - Organize content logically with a clear agenda, main content sections, and conclusion for coherent delivery of information. - Integrate charts, graphs, and tables from Excel or other sources to support data-driven presentations and visual storytelling. - Review and rehearse presentations thoroughly for smooth delivery, familiarity with the content, and effective timing. |
| CU6. Perform Basic Logic Operation Using Programming Language (C++). | - Run C++ programming language. - Implement logical operators (AND, OR, NOT) accurately in conditional statements to ensure correct decision-making processes. - Write clear and concise code with proper indentation and comments to enhance readability and maintainability. - Test logical operations thoroughly with a variety of input cases to ensure reliability and correctness. - Debug code effectively by identifying and fixing logical errors to achieve the desired outcomes. - Optimize logical expressions for efficiency to improve overall performance of the program. - Use correct data types and variable declarations to avoid type-related errors in logical operations. |
| CU7. Perform Internet Browsing | - Browse on Google chrome, Mozilla Firefox and other browser. - Maintain browser security by regularly updating to the latest version and enabling necessary security settings to protect against vulnerabilities. - Optimize browsing speed by clearing cache and cookies periodically, managing browser extensions, and optimal use of system resources. - Utilize browser features such as bookmarks, history, and tabs to enhance productivity, ease of navigation, and efficient website management. - Configure privacy settings to control cookies, tracking, and personal data sharing for enhanced privacy protection while browsing websites. - Test website compatibility across different browsers to ensure consistent user experience and functionality, identifying and resolving any issues. - Enable accessibility features such as zoom, reading mode, and screen reader support to accommodate user needs, that websites are accessible to all users. |
| CU8. Write Email | - Create Gmail account - Send /receive emails to one another. - Attach files by verifying that the correct files are attached and that they are in the required format and size before sending the email. - Compose clear and concise email messages with a relevant subject line, proper greetings, and a well-structured body to convey intended information. - Verify recipient email addresses and attachment accessibility to prevent sending errors and so that the recipients can open and access attached files without issues |

Knowledge & Understanding:

- Basic Terms of Computer Science Data & its, types, Information, Hardware, Software

- Describe Computer & its types

- Installation of Windows and necessary software.

- Define Desktop properties

- Basic knowledge of current industry-accepted operating system, hardware and   software products

- Compatibility of an operating system, in respect to other versions

- Function of single-user and multi-user operating systems

- Interoperability between operating systems

- OHS principles and responsibilities, including ergonomic principles to avoid injury associated with using computer systems

- Describe MS-Word, MS-Excel, MS-Power Point & its Screens.

- Describe creating new document.

- Describe Saving & Opening a document.

- Describe formatting styles and their effect on formatting, readability and appearance of documents.

- Identify organizational requirements for ergonomics, including work periods and breaks

- Select organizational style guide to use outline presentation pitfalls

- List basic technical terminology related to reading help files and prompts

- Identify suitable presentation effects for different audiences.

- Outline purpose, use and function of word-processing software

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Use operating system in a variety of scenarios and across functions.

- Follow organizational ergonomic work health and safety (WHS) requirements

and practices

- Create, open and retrieve documents using customized basic settings

- Format documents by creating tables and adding text, objects and images

- Save and prints documents

- Create, format and prepare presentations for distribution and display

- Add slide show effects

- Create and format spreadsheets

- Use basic formulas

- Send and receive Email

LIST OF Tools and Equipment

| S# | TOOLS | QTY(No) |
| --- | --- | --- |
|  | Computer System | 20 |
|  | Ms Window Software | 20 |
|  | Ms Office | 20 |
|  | Internet Conection | 30 Mbps |
|  | Power Supply | 4 Batteries |
|  | Language Simulation Software | 20 |
|  | Printer | 10 |
|  | Scanner | 20 |
|  | Multi Media | 5 |
|  | Speaker | 20 |
|  | Microphone | 20 |
|  | Modem | 5 |
|  | Web Browsers(Chrome, Firefox, Edge) | As Per Requirement |
|  | Usb | 5 |

Consumable Tools and Equipment:

| S.NO | Name | Description |
| --- | --- | --- |
|  | White paper | 50 |
|  | White board marker | 5 |
|  | Ball point | 50 |

### ET -125   Principles of Electrical Engineering

Overview:

This Competency standard cover the underpinning knowledge and skills required for the implementation of Principles of Electrical Engineering. After completing the competency standard, the students/trainees will be able to perform the tasks in accordance with the essence of the Competency-Based Training System

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Verify Ohm's Law | - Construct complex circuit using resistors as per requirement. - Measure Current, Voltage using meter while calculate Resistance by ohm's law. - Measure Current, Resistance with meter while calculate Voltage by ohm's law. - Measure Resistance, Voltage with meter while calculate Current by ohm's law. - Prepare table and record the calculated values of Current, Voltage and Resistance. |
| CU2. Determine Resistance Of Resistor Using Color Coding Scheme | - Select resistor with color coding. - Determine value of resistor by color codes. - Measure value of same resister by ohm meter. - Compare both readings. - Record values in table. |
| CU3. Verify Laws Of Resistance | - Collect piece of conductor of any material. - Measure length of conductor. - Calculate diameter of conductor. - Calculate Area of Cross section of conductor. - Pick specific resistance of material from chart. - Calculate resistance of conductor. |
| CU4. Verify Combination Of Resistance Circuit | - Construct series and parallel circuits of resistor. - Calculate equivalent resistance of series and parallel circuits. - Measure voltage of series and parallel circuits. - Measure current of series and parallel circuits. - Record measured values. - Compare Electrical parameters of both circuits. |
| CU5. Verify Kirchhoff’s Laws | - Construct resistor parallel circuit. - Measure current of each branch. - Record current value of each branch in table. - Calculate total current to verify Kirchhoff’s Current Law. - Construct resistor series circuit. - Measure voltage across each resistor. - Record voltage values in table. - Calculate total voltage to verify Kirchhoff’s Voltage Law. |
| CU6. Determine Thermal Efficiency Of An Electric Kettle. | - Fill electric kettle with one liter water. - Measure initial temperature of water. - Connect electric kettle with supply. - Measure final temperature of water. - Calculate heat produced and heat utilized. - Calculate thermal efficiency. |
| CU7. Measure Consumed Energy By Energy Meter | - Install single phase energy meter. - Install three phase energy meter. - Record initial reading of energy meter. - Connect AC load to energy meter. - Connect supply and record final reading of energy meter. - Calculate consumed electrical energy. |
| CU8. Verify Properties Of Magnetic Lines Of Force | - Place bar magnet on paper and outline its boundary with lead pencil. - Place compass needle at one side the magnet. - Mark points on paper where the compass needle stops. - Repeat same procedure till compass reach at the other end of magnet. - Change position of compass needle near the magnetic pole and repeat the procedure for P3 to P4. |
| CU9. Verify Magnetic Effects Of Electric Current | - Determine Magnetic field of a straight current carrying conductor. - Determine Magnetic field of a coil. - Determine effect of iron core in a coil. - Demonstrate Fleming's Right hand & Left hand rules. - Determine mechanical force on a current carrying conductor in a magnetic field. |
| CU10.Verify Faraday’s Law CU4. | - Install coil in the circuit. - Connect Galvanometer with coil. - Move permanent magnet inside the coil. - Record effect of movement of magnet on reading of Galvanometer. - Hold magnet inside the coil and do not move. - Record effect on reading of Galvanometer again. - Fix permanent magnet and move the coil fast and slow on it. - Hold coil near the magnetic field and do not move. - Hold coil near the magnetic field and move the coil. - Note down changes in the induced Electro Motive Force (EMF) |
| CU11. Verify Electro Motive Force Through Induction | - Connect step down transformer primary winding with a DC battery through a rheostat and secondary winding with a Galvanometer. - Move rheostat and observe the reading on the Galvanometer. - Record reading on Galvanometer |
| CU12. Construct Series Capacitors Circuit And Measure Charge On Each. | - Construct series circuit of capacitors. - Connect battery with the circuit. - Measure voltage across each capacitor. - Calculate total voltage across capacitors. - Measure charge on each capacitor. - Record values of voltage |
| CU13. Construct Parallel Capacitors Circuit And Measure The Charge On Each. | - Construct parallel circuit of capacitors. - Connect battery with circuit. - Measure charge on each capacitor. - Verify net charge on capacitor. - Record charge values. |
| CU14. Measure Breakdown Voltage Of Low Voltage Capacitor | - Arrange capacitor of 6.3 rated volts. - Connect across a 0-30 volts D.C variable supply. - Increase voltage of variable supply from zero to rated 6.3v, and then higher than the rated. - Inspect carefully voltmeter reading. - Note voltage level (critical) at which capacitor burns. |
| CU15. Measure Ac Fundamentals By Oscilloscope | - Select volt/division and give AC voltage to oscilloscope. - Inspect number of divisions between the +ve and -ve peaks of signal. - Apply formula to calculate the actual amplitude of AC voltage. - Select load to measure current. - Connect low value of resistance in series with load. - Connect oscilloscope across low value of resistor and measure voltage. - Apply ohms law by using value of low value of resistor and voltage across it and find out current. - Select proper time/division and give AC voltage to oscilloscope. - Calculate number of divisions between the one AC cycles of the AC signal. - Apply formula to calculate actual frequency of AC voltage. - Record number of divisions between +ve and -ve peaks of signal. - Apply formula to calculate peak to peak voltage (Vpp) of AC voltage. - Calculate peak value from Vpp - Calculate rams value from peak voltage of AC. - Calculate average value from peak voltage of AC. |
| CU16. Measure Power Factor | - Connect voltmeter & ampere meter with inductive load (Motor). - Connect watt meter with load. - Connect AC supply and take readings of volt, ampere and watt meter. - Calculate power factor using power formula P=VI (utilize the above readings) - Connect current coil of power factor meter in series to load. - Connect Voltage coil of power factor meter in parallel to the load. - Connect supply and note the value of power factor |
| CU17. Improve Power Factor Of An Inductive Load Using Capacitive Load | - Connect ampere meter and current coil of power factor meter in series with load. - Connect voltage coil of power factor meter in parallel to load. - Connect capacitor bank parallel to load. - Select small value capacitor with the help of selector switch and give supply and note the value of power factor from power factor meter and current reading from ampere meter. - Select higher value of capacitor from capacitor bank with the help of selector switch and note its effect on power factor and load current. |
| CU18. Measure Single Phase Power | - Select electrical load and provide electrical supply. - Connect Voltmeter, Ampere Meter and Power Factor meter to measure voltage, current and Power Factor. - Calculate electrical power using single phase power formula. - Select electrical load and connect watt meter. - Connect supply and measure electrical Power. - Note down reading on the multi meter. |
| CU19. Measure Three Phase Power | - Connect current coil of watt meter in series to load. - Connect voltage coil of watt meter across load. - Connect three phase supply to load. - Multiply reading of watt meter with 3 to get total power of load - Connect current coil of one watt meter in series to first phase and load. - Connect voltage coil of one watt meter to first phase and third phase. - Connect current coil of second watt meter in series to second phase and load. - Connect voltage coil of second watt meter to second phase and third phase. - Connect supply and observe readings of both watt meters. - Calculate total power of load by adding reading of both watt meter - Connect current coil of one watt meter in series to first phase and load. - Connect voltage coil of one watt meter to first phase and neutral. - Connect current coil of second watt meter in series to second phase and load. - Connect voltage coil of second watt meter to second phase and third phase. - Connect supply and observe readings of both watt meters. - Calculate total power of load by adding the reading of both watt meters. - Record values total power of load by adding the reading of both watt meter |
| CU20. Determine Phase Sequence With Phase Sequence Meter. | - Connect Phase sequence meter with three phase supply. - Switch ON circuit to observe direction of phase sequence meter. - Check direction (clock or anti clock wise).of phase sequence meter. |

Knowledge & Understanding

- State electron theory.

- Explain electric charge, current, voltage, resistance, conductance and their units.

- Compare Conductor, Insulator & Semi-conductor.

- Describe characteristics of series and parallel circuit

- Describe volt meter, ammeter, Ohm meter

- Describe law of resistance

- Explain Ohms Law

- Describe color code

- Explain Kirchhoff’s laws

- Explain different controls of an oscilloscope

- Explain fundamental quantities of ac.

- Explain electromagnet

- Describe effect of iron core in a coil.

- Explain Fleming’s left-hand & right hand rule

- Describe Faraday’s laws

- Explain Lenz’s Law

- Explain induction

- Explain Electrostatic

- Describe dielectric

- Describe breakdown voltage of capacitors

- Describe charging and discharging of capacitor

- Explain difference between electrical and mechanical power

- Explain three phase system

- Explain wattmeter

- Describe balanced & unbalanced load

- Explain three wattmeter methods to measure three phase load

- Explain difference between power & Energy

- Describe B.O.T

- Explain power factor

- Explain how can we improve power factor

- Explain resistive, inductive and capacitive load

- Describe phase sequence

- Explain why we indicate each phase by red yellow blue

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Adjust zero with shortening the ohmmeter leads.

- Measure average value of AC signal with oscilloscope

- Determine breakdown voltage of low voltage capacitor

Tools and Equipment

| SN | Description | Quantity required (No) |
| --- | --- | --- |
| 1 | Voltmeters | 50 |
| 2 | Ammeter | 50 |
| 3 | Ohmmeters | 50 |
| 4 | Multi meters. | 50 |
| 5 | Wattmeter | 25 |
| 6 | Rheostat | 50 |
| 7 | Cathode-ray oscilloscope | 25 |
| 8 | Incandescent lamp of different watts | 50 |
| 9 | Oscillator/signal generator | 25 |
| 10 | Transformer | 10 |
| 11 | Compass needle | 50 |
| 12 | Galvanometer | 10 |
| 13 | Variable D.C powers supply 0-30 Voltas | 10 |
| 14 | Tool kit | 50 |
| 15 | Phase sequence meter | 10 |
| 16 | Single phase power factor meter | 10 |
| 17 | Three phase supply source | 1 |
| 18 | Power Supply with switch & fuse protection (0 -220 V.ac). Single phase. | 1 |
| 19 | Electricity AC/DC Trainer | 1 |

Consumable Materials required for principles of electrical engineering Lab

|  | Resistors of different values. | Bridging plugs |
| --- | --- | --- |
|  | DC battery | Capacitor (Sanyo Operated Volts 6.3 V, SE 30) |
|  | Small pieces of copper wire. | L.E.D (3 to 9 V) |
|  | Iron nail as core | Single Phase Load or 100 watt lamp |
|  | Thin coated copper wire | Single phase Energy Meter |
|  | Current carrying conductor | Rheostat load 2 Kw. 220/230 volts A.C. |
|  | Horse shoe magnet | Single phase inductive load. Any available load at your lab (up to 100 watt) |
|  | Dry cell battery | Capacitor bank |
|  | Bar Magnet | Safety switch |
|  | Connecting leads | Change over switch |
|  | Coil | Capacitors, 4.7μF, 10μF, 100μF & 8.2μF |
|  | Paper | 50 |
|  | Lead pencil | 50 |

### ET 131 Basic Electrical Drawing

Overview:

This competency standard cover the under pinning knowledge and skills required for a student /trainee to be competent in Basic Electrical Drawing.After completing this competency standard student will be able to perform the tasks in accordance with the essence of the competency Base Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Draw Title Block. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block |
| CU2. Draw Horizontal And Vertical Lines | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Mark start and end Points of line on the sheet - Connect Points of line |
| CU3. Draw Square, Rectangle, Triangles, Circle, Hexagon, And Ellipse. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Divide sheet in equal parts. - Sketch shapes/objects (square, rectangle, triangles, circle, Hexagon and Ellipse). |
| CU4. Draw Lettering And Dimensions. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch letters (Alphabets) with given dimensions. |
| CU5. Draw Orthographic Projection 1st And 3rd Angle Drawing Of Single Part (Prism, Stepped Block, V-Block, Gland) | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Draw plan view of the given component as per instructions. - Draw front view - Draw side view |
| CU6.Draw Oblique Drawing (Rectangular Prism, Stepped Block, V-Block, Angle Block) | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Divide sheet in equal parts - Draw front or side view of the object. |
| CU7. Draw Prism, Cylinder, Cone, Square, Pyramid | - Prepare Drawing sheet for the given component as per instructions. - Select tools as per job requirements - Draw Boundaries lines as per standards. - Make title block as per instructions - Sketch (prism, cylinder, cone, square, pyramid) |
| CU8. Draw Section Diagram Of Bolt And Nut. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch section diagram of nut and bolt. |
| CU9. Draw Symbols Of Building Materials(Metals And Electrical) | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Divide sheet in equal parts. - Sketch building materials, metals and electrical symbols |
| CU10. Draw Single Line Diagram Of 132kv/11kv Grid-Substation. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch single line diagram of 132KV/11KV grid-substation. |
| CU11. Draw Layout Diagram Of 3-Beds Room With Location Points. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch layout diagram of a three bedrooms house showing positions of doors and their opening, windows and ventilators etc. |
| CU12. Draw Wiring Diagram Of Single Phase Motor With Starter. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch Wiring diagram of single phase motor with starter |
| CU13. Draw Layout Of Earthing | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch layout of earthing house (Earth Wire, Earth lead, Earthing Electrode). |
| CU14. Draw Single Line Power Wiring Diagram | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch Single line power wiring diagram of Workshop in factory. |
| CU15. Draw Single Line Power Wiring Diagram Of Power Lab. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch Single line power wiring diagram of a technical college. |
| CU16. Draw Schematic Diagram Of Power Control Panel Of Power Lab. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch schematic diagram of power control panel of power lab of a technical college. |
| CU17. Draw Supply Distribution Of A Multi Story House. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch supply distribution of a multi-story house. |
| CU18. Draw Detailed Drawing Of A Small House With Front Elevation. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch detailed drawing of a small house with front elevation. |
| CU19. Draw Circuit Diagram Of Six Lines Intercom-Network. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Sketch circuit diagram of six lines intercom-network. |
| CU20. Sketch Simple Objects (Try Square, Switch Plate, Bulb Holder). | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Draw simple objects try square, switch plate, bulb holder. |
| CU21. Sketch Isometric View Of A Commutator. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Draw isometric view of a commutator. |
| CU22. Sketch Sectional View Of Cable | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Draw sectional view of cable, single core cable, 3 core cable |
| CU23. Sketch Electrical Tower. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Draw electrical tower. |
| CU24. Sketch Insulators | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Divide sheet in equal parts - Draw symbol of insulator. |
| CU25. Draw Schematic Diagram Of Power House. | - Prepare Drawing sheet. - Select correct tools. - Draw Boundaries lines as per standards. - Make title block - Divide sheet in equal parts - Sketch schematic diagram of a power house. |

Knowledge & Understanding

- Explain importance of technical drawing.

- Explain Uses of drawing equipment, board, sheet, pencil, T-square, set square, compass, divider, protractor, French curves etc.

- Explain orthographic drawing/multi-view drawing and pictorial drawing.

- Explain electrical symbols, residential, power wiring and different power circuits/drawings.

- Explain skill in free hand sketching.

- Knowledge of drawing symbol’s interpretation

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be declare competent in this competency standard:

- Identify drawing equipment, board, sheet, pencil, T-square, set square.

- Prepare drawing sheet

- Draw diagrams of drawing objects.

- Interpret drawing symbols

- Sketch wiring diagram of single phase motor

- Draw schematic diagram of Power House

Tools and Equipment

| SN | Description | Quantity required(No) |
| --- | --- | --- |
| 1 | Drawing Table | 50 |
| 2 | T-square | 50 |
| 3 | Set-square | 50 |
| 4 | French curves | 50 |
| 5 | Compass | 50 |
| 6 | Divider | 50 |
| 7 | Protractor | 50 |
| Training Materials Required for Drawing lab |  |  |
| 1 | Drawing sheet | 50 |
| 2 | Led pencil (HB, H1, H2) | 50 |
| 3 | Erasers | 50 |
| 4 | Sand paper | 50 |
| 5 | Scotch tape | 50 |

ET-143 Workshop Practice I (Electrical)

Overview:

This Competency standard cover the underpinning knowledge and skills required for the implementation of Workshop practice (Electrical). After completing the competency standard, the students/trainees will be able to perform the tasks (CU1--CU6) in accordance with the essence of the Competency-Based Training System

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Implement Health And Safety Rules At Electrical Workshop / Work Place | - Prepare List of Personal Protective Equipment as per job requirements - Check physical condition of PPE’s - Ensure availability of first aid box - Check expiry of medicines - Check expiry date of fire extinguisher - Install fire extinguisher - Operate fire extinguisher - Fix safety charts on the walls - Follow Safety sign board as per standard - Perform emergency drill - Check functionality of smoke detector - Install fire alarm - Conduct Regular testing of safety equipment |
| CU2.Maintain Required Tools And Equipment | - Interpret job card - Arrange required tools and equipment for wiring. - Check Insulation / leakage of tools and equipment - Calibrate measuring instruments. - Clean tools and equipment. - Maintain Tool Box - Maintain Inventory of tools and equipment. |
| CU3.Install House / Domestic Wiring | - Calculate load of house - Draw wiring diagram - Arrange required accessories - Mark wiring points - Lay wires in duct/pipe according to layout diagram. - Fix all the accessories according to layout diagram. - Make connection of all accessories |
| CU4. Install Industrial / Commercial Wiring | - Arrange tools and equipment. - Draw wiring diagram of circuit. - Arrange accessories - Mark points for installation - Lay wires in duct/pipe according to layout diagram. - Carry out Earthing. - Fix all the accessories as per wiring diagram - Fix Distribution Box(DB) - Connect the installed wiring with main supply - Make connection of accessories as per wiring diagram. |
| CU5.Make Wiring Joints | - Select required type of cable for wiring joints. - Strip wire according to 50mm. - Make following joints: - Cross / Twist joint - Straight / Married joint - T- Joint - Rat tail joint - Make Britannia joint - Insulate joints as per requirement |
| CU6.Test Installed Wiring | - Conduct Continuity Test - Conduct Open Circuit Test - Conduct Short Circuit Test - Conduct Insulation Resistance Test - Conduct Polarity Test - Conduct earth continuity test - Conduct ground Fault test |

Knowledge & Understanding

- Knowledge of Health & Safety rules

- Identification and use of tools and equipment.

- Explain Basic terminology of electricity.

- Explain types of insulation.

- Definition of conductor, insulator, Semi-conductor

- Knowledge of different Types of cables

- Understanding of Different types of joints.

- Understanding of Joint making techniques

- Explain circuit breaker.

- Explain single phase wiring

- Explain three phase wiring

- Knowledge of basic components used in the wiring

- Explain the Power overhead-line systems.

- Explain Low-voltage switchgear and distribution systems.

- Importance of conduct of wiring tests

- Explain Measuring instruments.

- Explain IEEE regulations for building installations

- Maintenance techniques of Tools and equipment

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be declare competent in this competency standard:

- Interpret wiring diagram.

- Follow OHS Rules

- Maintain Tools and equipment.

- Install wiring.

- Make joints

- Install accessories

- Conduct wiring tests

- Install Tunnel/Stair Case circuit.

Tools and Equipment

| SR | Description | Quantity(No) |
| --- | --- | --- |
|  | Protection suite | 50 Nos |
|  | Safety shoes | 50 Nos |
|  | Safety gloves | 50 Nos |
|  | Safety goggles | 50 Nos |
|  | Safety Helmet | 50Nos |
|  | First Aid Box | 10 Nos |
|  | Fire Alarm | 10 Nos |
|  | Smoke detector | 10 Nos |
|  | Heat detector | 10 Nos |
|  | Screw Driver flat and plus type set off 4”, 6”, 8” | 50 Nos each |
|  | Neon phase tester light duty pocket size | 50 Nos |
|  | Insulated pliers with side cutter | 50 Nos |
|  | Insulated long nose pliers with side cutter | 50 Nos |
|  | Insulated wire cutter | 50 Nos |
|  | Insulated Electrical Knife | 50 Nos |
|  | Chisels 6”, 12” | 25 Nos each |
|  | Hammers 200 gram. | 50 Nos |
|  | Hand Hack saws 12”, 6” with blade | 25 Nos each |
|  | Electric soldering iron 45, 100 and150 watt 220V | 50 Nos each |
|  | Wire Strippers | 50 Nos |
|  | Philips screw driver No 1, 2, 3. | 50 Nos each |
|  | Measuring tap 3m | 50 Nos |
|  | Steel foot rule. | 50 Nos |
|  | Tri square 150 x 100 mm | 50 Nos |
|  | Vernier caliper 150 mm | 25 Nos |
|  | Center punch | 25 Nos |
|  | Hammer 500 gram | 25 Nos |
|  | Scriber | 25 Nos |
|  | Rubber hammer | 25 Nos |
|  | Vice clamps | 25 Nos |
|  | Insulation Remover 150 mm | 50 Nos |
|  | Wooden saw 300 mm | 15 Nos |
|  | Test boy tester with all accessories | 25 Nos |
|  | Volt meter Analogue (Panel type 4” x 4”) 0-300V-AC 50 HZ | 25 Nos |
|  | Ammeter Analogue (Panel type 4” x 4”) 0-300V-AC 50 HZ | 25 Nos |
|  | Multi-meter A.C / D.C (Digital) (voltage, Current, OHM, frequency, Continuity and Diode test) | 25 Nos |
|  | Millimeter Analogue A.C / DC (voltage, Current, OHM) | 25 Nos |
|  | Tong tester/ clamp meter Digital | 10 Nos |
|  | Voltage, current and power Digital Panel meter | 25 Nos |
|  | Ampere Digital Panel meter | 25 Nos |
|  | Power Digital Panel meter | 25 Nos |
|  | Insulated Scissor 6” | 25 Nos |
|  | Single phase energy meter 220V /10-20A | 15 Nos |
|  | Three phase energy meter 30 A | 15 Nos |
|  | Dust brush / File brush | 50 Nos |
|  | Magnetic Contactors 2 + 2 220 Volts / 10 A 50Hz | 50 Nos |
|  | Single Phase Motor 220 Volts 50Hz ½ HP | 5 Nos |
|  | Three Phase Motor 380 Volts 50Hz 2 HP | 5 Nos |
|  | Push Button Single Way / Two Way / Three Way | 25 Nos |
|  | Drum Switch ON / OFF, REV / FOR, Star / Delta | 25 Nos |
|  | Overload Relay 0.5 – 3.0 Amp | 25 Nos |
|  | Motor Protection Switch Three Phase | 25 Nos |
|  | Level multi dimension big and small | 10 Nos each |
|  | Socket set | 10 Nos |

Training Materials (Consumables) Required for Workshop Electrical

| SR | Description | Quantity |
| --- | --- | --- |
| 1 | Solder wire.500 gram 60/40 | 25 real |
| 2 | Soldering paste /Risen | 25 ten |
| 3 | Grinder Disks | 30 Nos |
| 4 | PVC Pipe/Duct. ½ and ¾ Length of 12 feet | 150 each size |
| 5 | PVC clamp./ saddle | 100 packet |
| 6 | PVC board.3x3 | 300 Nos e |
| 7 | Distribution Box 6”x12” | 40 Nos |
| 8 | Circuit Breaker. 5A, 10A, 20A ,32A | 50 Nos each |
| 9 | Wooden Screw ½, 1, 1.5 and 2 inch | 30 boxes each |
| 10 | Single pole switch. 15A, Piano | 100 Nos |
| 11 | Lamp holder pin type, Screw Type | 200 each |
| 12 | Lamp, 100 and 200 watt | 200 Nos |
| 13 | Junction Box ½ and ¾ | 30 dozen |
| 14 | Impulse switch. | 50 Nos |
| 15 | Power plug 30A | 50 Nos |
| 16 | Sockets 3 pin 30A | 50 Nos |
| 17 | PVC wire 1/44 | 20 coil |
| 18 | PVC wire 3/29 | 20 coil |
| 19 | PVC wire 7/29 | 20 coil |
| 20 | PVC Cable 4 core 3/29 | 20 coil |
| 21 | PVC Cable 4 core 1/44 | 20 coil |
| 22 | Magnetic Contactor 220V 2+2, 16A and 40A | 50 Nos each |
| 23 | Overload relay 20A and 50A | 50 Nos each |
| 24 | Hacksaw Blade | 50 Nos |
| 25 | Drill bits kit | 25 Nos |
| 26 | Electrical PVC tapes in a different color | 100 packet |
| 27 | Timer with base | 25 Nos each |
| 28 | Indicator Lamp | 100 Nos each |
| 30 | Battery 9V | 25 Packet |
| 31 | Cell 1.5 V | 25 Packet |
| 32 | Bus Bar for circuit breakers | 50 Nos |
| 33 | Cable tie | 25 packet |

ET-153 Workshop Practice I (Mechanical)

Overview:

After Completing this competency standard student will be able to perform essential hands-on skills in mechanical engineering, beginning with workshop safety to ensure adherence to critical safety protocols and prevent accidents. They will gain expertise in fundamental metal work techniques, including cutting, shaping, and joining metals. The course covers bench work techniques, focusing on the precise hand-finishing of components. Students will also practice various welding techniques to master welding work. Additionally, they will operate machine shop tools and gain experience with the operation of numerical control (NC) machines, providing a solid foundation for advanced manufacturing processes.

| Competency Units | Performance Criteria |
| --- | --- |
| - Implement Workshop Safety Practices | - Identify PPEs as per job requirement. - Ensure use of personal protective equipment (PPE) such as safety goggles, gloves, and aprons to protect against injuries. - Participate in safety training sessions. - Maintain tools and equipment. - Identify hazards at work place - Dispose off hazards. - Store PPEs in the designated place - Keep clean and organized workspace |
| - Apply Metal Work Techniques | - Take precise measurements - Perform Marking on job before cutting to achieve accurate dimensions and minimize material waste. - Use cutting tools as per job requirements - Implement forming techniques, including bending, rolling, and forging, to shape metal components. - Prepare Dove tail, Spanner, Funnel and Bottle opener. - Apply correct joining methods, such as brazing, or riveting, to securely assemble metal parts with strong and durable bonds. - Finish metal surfaces using techniques like grinding, sanding, or polishing to achieve the desired surface quality and appearance |
| - Perform Bench Work Process | - Demonstrate proficiency in using hand tools, such as files, hammers, and saws, to perform precise and accurate bench work tasks. - Execute measuring and marking techniques to components are fabricated to exact specifications and tolerances. - Apply filing and finishing methods to achieve smooth and accurate surfaces on metal or other work pieces. - Follow detailed assembly procedures to fit and join parts. - Maintain clean and organized workbench for safety in bench work processes. |
| - Perform Welding Process | - Select welding techniques, equipment, and materials for each specific process (gas, arc, and soldering) to ensure optimal results and safety. - Prepare work pieces by cleaning and positioning them correctly for strong and clean welds. - Execute precise welding operations, maintaining proper torch angle, travel speed, and arc length to produce high-quality welds. - Apply safety measures, including wearing protective gear and adequate ventilation, to prevent accidents and exposure to harmful fumes. - Inspect welds thoroughly for defects such as cracks, porosity, or weak joints, and perform necessary rework to meet quality standards. - Maintain welding equipment by conducting regular inspections, cleaning, and repairs to ensure the reliability and longevity of the tools. - Make ‘V’ Groove butt joint (Flat Position), Corner joint, open square but joint, edge joint, and joint(M.S Flat 5mm thick) |
| - Operate Machine Shop Tool and Equipment’s. | - Select machine tools and equipment for required tasks - Set up machines by following standard procedures, including aligning work pieces and adjusting machine settings to achieve desired specifications. - Operate machines such as lathes, milling machines, Micrometer, outside and inside calipers, knurling, thread and drill presses with proficiency, adhering to techniques and safety protocols - Perform task on lath and milling machine - Monitor machining process closely, making necessary adjustments to tool positions, speeds, and feeds to maintain high-quality output. - Practice turning by observing procedure (Simple turning, taper turning, Knurling). - Wear required personal protective equipment (PPE) and following all safety guidelines to prevent accidents and injuries. |
| - Operate Numerical Control Machine | - Program NC machine accurately by inputting the correct coordinates, tool paths, and machining parameters to precise operations. - Set up work pieces and fixtures - Align and secure clamping to prevent movement during machining. - Calibrate machine tools and perform initial test runs to verify that the machine operates according to the programmed instructions. - Monitor machining process continuously, observing for any deviations or errors and making adjustments as needed to maintain quality and accuracy. - Follow all safety protocols and wear appropriate personal protective equipment (PPE) to prevent accidents and injuries while operating the machine. |

KNOWLEDGE & UNDERSTANDING

- Describe basic measuring /Marking /cutting tools

- Describe clamping/holding methods

- Describe basic measurement

- Describe types of hacksaw frames

- Define methods and techniques of sawing.

- Define types of hammers

- Describe riveting methods

- Describe the drilling procedure

- Explain drilling machine

- Describe use of round file

- Understanding of types of fits

- Understanding of chiseling process

- Knowledge about flash back arrestor

- Describe the pressure and its units

- Explain metal properties

- Define temperature and its units

- Knowledge of basic drawing

- Explain marking tools

- Explain the of marking methods

- Describe the filler rod

- Describe joint symbols

- Understand types of electrodes

- Understand motion of electrodes

- Define temperature of arc

- Explain types of temperature

- Explain positions of electrode according to work

- Knowledge of setting the current on welding machine

- Describe Bead in Arc welding

- Explain importance of gap between electrode and base metal

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Prepare spanner of 6 inches

- Make dovetail joint.

- Make open square brazing butt joint.

- Make Spot Welding on a working piece.

- Drill grinding practice on tool grinder.

- Practice drilling on lathe

- Perform Simple turning and facing practice.

Operate NC Machine Tools

TOOLS AND EQUIPMENT

| SN | Description | QTY (No) |
| --- | --- | --- |
|  | Work bench | 10 |
|  | Bench vice | 25 |
|  | Hammer | 25 |
|  | Tri-square | 25 |
|  | Hand hacksaw | 50 |
|  | Scriber | 50 |
|  | Vernier caliper | 50 |
|  | Flat File | 50 |
|  | Number/alphabet punch | 50 |
|  | Pressure regulators | 20 |
|  | Cylinder key | 20 |
|  | Welding torch | 20 |
|  | Rubber house pipe | 50 |
|  | Spark lighter | 20 |
|  | Flash back arrester | 50 |
|  | Welding transformer | 10 |
|  | Welding rectifier | 10 |
|  | Extension leads | 50 |
|  | Chipping Hammer | 50 |
|  | Wire brush | 50 |
|  | Face shield | 50 |
|  | Electrode holder | 50 |
|  | Generator | 1 |
|  | Lath machine | 10 |
|  | NC machine | 2 |
|  | Drill machine | 10 |

LIST OF CONSUMABLE TOOLS AND EQUIPMENT FOR WORKSHOP MECHANICAL

| S.NO | ITEM NAME | QTY (No) |
| --- | --- | --- |
|  | Cutting oil | 50 |
|  | Coolants | 50 |
|  | Grease | 5 KG |
|  | Sandpaper | 12 |
|  | Grinding wheels | 25 |
|  | Screws | 50 |
|  | Bolts and nuts | 50 |
|  | Welding rods | 25 |
|  | MIG/TIG welding wire | 10 COIL |
|  | Welding gases (oxygen, acetylene, argon) | 1 EACH |
|  | Solder wire | 10 COIL |
|  | Flux | 25 |
|  | Saw blades | 25 |
|  | Milling cutters | 25 |
|  | Marking fluid | 10 BOTTLES |
|  | Chalk | 1 BOX |
|  | Saw blades | 25 |
|  | Gloves | 50 |
|  | Safety glasses | 50 |
|  | Earplugs | 100 |
|  | Dust mask | 50 |
|  | Files | 50 |
|  | Rasps | 50 |
|  | Degreasing solvents | 5 LITTERS |
|  | Shop rags | 25 |

| Lab Required(Power Lab) |  |  |
| --- | --- | --- |
|  | Description | Quantity required |
| 1 | White Board | 1 |
| 2 | Multimedia projector | 1 |
| 3 | Mice(Sound system) | 1 |
| 4 | Stool | 50 |
| 5 | Work table | 10 |

| Lab Required for Drawing lab |  |  |
| --- | --- | --- |
| 1 | Drawing Table | 50 |
| 2 | T-square | 50 |
| 3 | Set-square | 50 |
|  | Drawing sheet | compass |
|  | Led pencil (HB, H1, H2) | divider |
|  | Erasers | protractor |
|  | French curves | Sand paper |
| Lab Required for Workshop lab |  |  |

| SR | Description | SR | Description |
| --- | --- | --- | --- |
| 1 | Workbenches | 32 | PVC Pipe/Duct. ½ and ¾ Length of 12 feet |
| 2 | Bench Vice 5” | 33 | Grinder Disks |
| 3 | Tool cabinets | 34 | PVC clamp./ saddle |
| 4 | Soldering stations | 35 | PVC board.3x3 |
| 5 | Disordering stations | 36 | Circuit Breaker 200A |
| 6 | Lighting (task ,overhead) | 37 | Distribution Box 6”x12” |
| 7 | PCB fabrications tools | 38 | Wooden Screw 1,2,3 |
| 8 | Electrical supply panels | 39 | Single pole switch. 15A, Piano |
| 9 | Heating and cooling equipment | 40 | Single pole Socket 15 A |
| 10 | Pedestal drill machine | 41 | Lamp Holder |
| 11 | Hand Drill machine | 42 | Pvc wire 3/29 |
| 12 | Jigsaw machine portable | 43 | Pvc wire 7/29 |
| 13 | Advance electrical trainer complete with all accessories and practical’s manual (TLM) | 44 | Pvc wire 7/36 |
| 14 | Basic electrical trainer complete with all accessories and practical’s manual (TLM) | 45 | Pvc Cable 7/44, 7/52, 7/64 |
| 15 | Ac Motor trainer complete with all accessories and practical’s manual (TLM) | 46 | Lamp 100 w |
| 16 | Three Phase Motor 380 Volts 50Hz 2 HP | 47 | Insulation tap Osaka |
| 17 | Single Phase Motor 220 Volts 50Hz ½ HP | 48 | Hacksaw Frame |
| 18 | Power Distribution Board with MCCB Trainers | 49 | Hacksaw Blade |
| 19 | L- Key set | 50 | Drill bits kit |
| 20 | Ratchet set | 51 | Overload relay 20A and 50A |
| 21 | Meager meter digital | 52 | Magnetic Contactor 220V 2+2, 16A and 40A |
| 22 | Adjustable ladder 8 feet | 53 | Lux Meter |
| 23 | Magnetic Contactor | 54 | Hammer |
| 24 | Motor protection switch | 55 | indicator Lamp |
| 25 | Digital test pencil | 56 | Timer with base |
| 26 | Overload Relay | 57 | Battery 9V , 1.5 v |
| 27 | Power factor Meter | 58 | Energy sever 12w ,7w |
| 28 | Push button 1,2,3 | 59 | Power Supply 24vdc 5A |
| 29 | Nut drivers | 60 | Wrenches (adjustable, fixed) |
| 30 | Bearing puller | 61 | Connector Bar 30A |
| 31 | Safety Belt | 62 | Battery 12V |

2nd Year DAE Electrical Technology

### MGM-221 Business Management & Industrial Economics

Overview

This Competency Standard outlines the competencies necessary for developing management and economic skills in alignment with the organization's approved guidelines and procedures. The trainee is expected to analyze market trends, interpret fundamental economic concepts, and examine the laws of demand and supply. The foundational knowledge in management and economic skills will equip the trainee with a solid basis for their professional responsibilities.

| Competency Unit | Performance Criteria |
| --- | --- |
| CU1: Interpret Law of Demand | - Show relationship between quantity demanded and price of a given product - Construct table of law of demand of the given product. - Mark points on the graph of law of demand of a given product as per procedure. - Plot demand curve. - Determine relationship between quantity demanded and its price based on the plotted curve. - Infer quantity supply and price of the given product from the plotted graph. |
| CU2: Interpret Law of Supply | - Show relationship between quantity supply and price of a given product - Construct table of law of supply of the given product. - Mark points on the graph of law of supply of a given product as per procedure. - Plot supply curve. - Determine relationship between quantity supply and its price based on the plotted curve. - Infer quantity supply and price of the given product from the plotted graph. |
| CU3: Develop Entrepreneurial Skills | - Prepare business plan for a given product/service as per SOPs of the organization. - Implement the business plan - Evaluate the business plan. |
| CU4: Categorize Banks and Its Functions | - Enlist types of banks. - Enlist types of bank accounts. - Develop comparative chart functions of commercial and central bank. |
| CU5: Interpret Cheque Transactions | - Illustrate types of cheques from given sample. - Prepare open cheque to a given vendor. - Present filled-out cheque to the bank as per procedures. - List reasons for dishonor of cheques. - Follow procedures to avoid dishonored cheques. |
| CU6: Carry Out Marketing Campaigns | - Select product/service/business idea. - Determine target audience based on the selected product/service/business. - Design visual elements (logo, color scheme). - Create series of advertisements (print, digital, social media). - Write media plan (ad placement, budget allocation). |

Knowledge & Understanding

- Explain concept of Economics in context of Adam Smith, Alfred Marshall & Professor Robins.

- Explain Nature & Scope of Economics

- Explain importance of study of Economics for technicians/students.

- Explain Basic Terms (Utility, Income, Wealth, Savings, Investment & Value) used in Economics with examples.

- Explain assumptions and exceptions of Law of Demand.

- Explain assumptions and exceptions of Law of Supply.

- Explain Factors of Production (Land, Labor, and Capital & Organization).

- Explain types of Business Organizations (Sole Proprietorship, Partnership, Joint Stock Company).

- Types of business.

- Types of business.

- Understand business plan/schemes.

- Explain preparing, planning, establishing and managing small business set up.

- Explain Scale of Production.

- Explain Economic System (Capitalism, Socialism & Mixed).

- Explain barter system and its inconveniences.

- Explain Money and its functions.

- Explain bank, types of banks and its functions.

- Explain cheques, types of cheques and reasons for dishonor of a cheque.

- Explain Financial Institutions (IMF, IDBP, PIDC) & its functions.

- Explain Trade Union, objectives, merits and demerits.

- Explain National & International Trade & elaborate its functions.

- Explain Management, types and its functions.

- Explain advertisement, types and its benefits.

- Explain Economic problems facing by Pakistan and its remedies.

Critical Evidences Required

The candidate needs to produce following critical evidence(s) in order to be declare competent in this competency standard:

- Demonstrate inverse relationship between price and quantity demanded with the help of diagram

- .

- Demonstrate direct relationship between price and quantity supply with the help of diagram

- .

- Present small business plan (preparing, planning, establishing, managing, operating and evaluating).

- Make comparison of central and commercial banks with its types.

- Describe types of cheques & reasons for dishonored cheques.

- Perform presentation about selling of products to a customer.

Tools & Equipment

| S No. | Description (Instruments) |
| --- | --- |
|  | Charts |
|  | Pencils |
|  | Scales |
|  | Projector |
|  | Papers |

ET-203 DC MACHINES & BATTERIES

Overview:

This competency standard (CU1 to CU23) covers the skills and knowledge required to Draw  Single Layer Lap and Double Layer Wave Winding, Measure the resistance of field and armature winding and terminal polarity, Identify DC generators, Draw the Open circuit characteristics of a Separately excited and Self excited D.C  generator, Perform parallel operation of DC generators, Determine losses of DC generator by actual loading, Identify DC Motors, Draw the load characteristics of D.C Motors, Losses of DC Motor Control the speed of DC motor, Start  DC motor with 3 point starter, Identify the effect of back EMF in DC motor, Measure Brake Horse Power (BHP) of motor by Brake test, Measure efficiency of the motor by Swinburne Test, Perform Regenerative/ Hopkinson/ Back to back Test, Construct combination of batteries, Prepare Electrolyte for battery, Check specific gravity of Electrolyte, Determine internal resistance of cell &Charge the battery with the help of Charger.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1.Draw Single Layer Lap Winding | - Count number of slot in armature core and numbering. - Calculate total number of conductors (Z) - Calculate average pitch, back pitch and commentator pitch. - Start winding from slot no 1. - Add value of back pitch in conductor. - Connect conductor 1 from back side to the added value. - Subtract value of back pitch from the added value. - Connect added value from front side to subtracted value. - Continue this process till completion of all conductors. - Connect armature segment with armature conductor. - Insert brushes in proper position. |
| CU2.Draw Double Layer Wave Winding | - Count number of slot in armature core and numbering. - Calculate total number of conductors (Z) - Calculate average pitch, back pitch and commentator pitch. - Start winding from slot no 1. - Add value of back pitch in conductor. - Connect conductor 1 from back side to the added value. - Add the value of front pitch in previous added value. - Continue process till completion of all conductors. - Connect armature segment with armature conductor. - Insert brushes in proper position. |
| CU3.Measure Resistance Of Field Winding, Armature Winding And Terminal Polarity | - Open terminal box. - Connect Ohm meter with the terminal of both winding. - Record Ohm's meter reading. - Connect probe of galvanometer with any terminal and touch other probe to other terminals one by one. - Rotate generator slowly by hand. - Touch probe of galvanometer with each winding. - Identify armature with the deflection of galvanometer pointer. - Mark polarity of terminals with the deflection of galvanometer. |
| CU4.OperateDC Generator | - Measure terminal resistance of generator with Ohm meter. - Identify DC shunt generator from measured value of resistance. - Disconnect both windings. - Identify shunt field winding of shunt generator. - Identify armature of shunt generator. - Measure resistance of both winding separately. - Record resistance of armature winding and field winding. - Compare resistance of armature winding and field winding to identify the difference between them. - Identify DC series generator from measured value of resistance. - Identify series field winding of series generator. - Identify armature of series generator. - Measure terminal resistance of generator with ohm meter. - Identify DC Compound generator from measured value of resistance. - Compare resistance of armature winding, series field winding and shunt field winding to identify the difference between them. |
| CU5.Draw Open Circuit Characteristics Of A Separately Excited D.C Generator | - Connect DC supply to field coil through rheostat and ampere meter. - Rotate armature at constant speed. - Connect voltmeter across armature terminal. - Decrease resistance of rheostat in steps and record the relevant output voltage of armature and field current. - Repeat P2 to P4 till voltage of armature reach at its saturation point. - Draw graph between field current and armature voltage from the recorded values. |
| CU6.Sketch Open Circuit Characteristics Of Self-Excited D.C Generator | - Connect DC supply to field coil through rheostat and ampere meter. - Rotate armature at constant speed. - Connect voltmeter across armature terminal. - Decrease the resistance of rheostat in steps and record the relevant output voltage of armature and field current. - Repeat P2 to P4 till voltage of armature reach at its saturation point. - Plot graph between field current and armature voltage from recorded values. - Select DC shunt generator and connect variable load. - Connect ampere meter and voltmeter across the load. - Rotate armature at constant speed and note the readings of ampere meter and voltmeter. - Increase load in steps till specific reduce in terminal voltage observed. - Draw graph between load current and terminal voltage from the recorded values. - Select DC series generator and connect variable load. - Increase load in steps till specific reduce in terminal voltage observed. |
| CU7.Draw Open Circuit Characteristics Of A D.C Generator | - Select DC compound generator and connect variable load. - Connect ampere meter and voltmeter across the load. - Rotate armature at constant speed and note the readings of ampere meter and voltmeter. - Adjust field diverter on zero ohm. - Increase load in steps till specific reduce in terminal voltage observed. - Draw graph between load current and terminal voltage from the recorded values. - Switch off load. - Adjust field diverter at such position that the terminal voltages are equal to no load voltages. - Increase load in steps till specific reduce in terminal voltage observed. - Draw graph between load current and terminal voltage from the recorded values. - Adjust field diverter at such position that the terminal voltages are greater than no load voltages. - Increase load in steps till specific reduce in terminal voltage observed. - Draw graph between load current and terminal voltage from recorded values. |
| CU8.Perform Parallel Operation Of Dc Generators. | - Connect circuit according to the circuit diagram. - Place all switches in off position. - Run generator 1 at rated speed. - Reduce field resistance of generator 1 - Connect generator with bus bar after attaining rated voltage. - Run generator 2 with prime mover. - Reduce field resistance of generator 2 to attain its rated voltage. - Close switches for parallel operation. - Calculate voltage and current on different loads. - Record data on different load. |
| CU9.Determine Losses Of DC Generator By Actual Loading. | - Connect ammeter in series with generator. - Connect voltmeter in parallel with both generator. - Apply DC voltage. - Record readings of voltmeter and ammeter. - Calculate Ra and Rsh. - Run generator at rated speed with prime mover. - Turn ON load switch and record the meter reading. - Calculate input power and output power. - Calculate total losses (Copper loss, Friction loss, Iron loss) |
| CU10. Operate DC Motors | - Measure terminal resistance of motors with ohm meter. - Identify DC shunt motor from measured value of resistance. - Disconnect both windings. - Identify field winding of shunt motor. - Identify armature of shunt motor. - Measure resistance of both winding separately. - Record resistance of armature winding and field winding. - Compare resistance of armature winding and field winding to identify the difference between them. - Identify DC series motor from measured value of resistance. - Identify series field winding of series motor. - Identify armature of series motor. - Identify DC Compound motor from measured value of resistance. - Identify armature of compound motor. - Compare resistance of armature winding, series field winding and shunt field winding to identify the difference between them. |
| CU11.Sketch Load Characteristics Of D.C Motors | - Carry out Coupling of electro dynamo meter to the DC motor with belt - Connect shunt motor according to the diagram. - Set dynamo meter control knob in such position to produce a minimum starting load. - Turn ON power supply - Run motor at rated speed. - Apply load to DC motor by varying the dynamo meter control knob. - Measure current, speed and torque. - Draw load characteristics on DC shunt motor. - Select DC series motor and achieve connection as per diagram. - Turn ON DC power supply and increase the load to full value. - Record value of speed and current on each load. - Draw graph between load current and speed - Connect compound motor according to the diagram. - Apply load to DC motor by varying the dynamo meter control knob. - Measure current, speed and torque. - Plot load characteristics on DC compound motor. |
| CU12.Determine Losses Of DC Motors | - Connect ammeter in series with motor. - Connect voltmeter in parallel with motor. - Apply DC voltage. - Record readings of voltmeter and ammeter. - Calculate RA AND RSH. - Start Motor to Calculate input and output power - Calculate total losses (Copper loss, Friction loss, Iron loss) |
| CU13. Control Speed Of DC Motor. | - Make connection as per circuit diagram. - Insert external resistances in series to armature and field coil. - Switch ON supply and increase the voltage gradually to its rated voltage. - Record speed at different supply voltages. - Make graph between speed and applied voltage. - Switch ON supply and increase the voltage gradually to its rated voltage. - Fix the field current and vary armature current. - Record speed at different armature current. - Make graph between speed and armature current. |
| CU14. Operate DC Motor With 3 Point Starter. | - Make connection as per circuit diagram. - Switch on the supply and move starter handle from off position to position 1. - Move starter arm from position 1 to position 2 and continue this process till starter arm reach at its extreme position. |
| CU15. Identify Effect Of Back Electro Motive Force(EMF) In DC Motor. | - Select DC series motor and make connection as per diagram. - Turn ON DC power supply and increase the load 0 to full value. - Record value of speed and current on each load. - Calculate back EMF by using the recoded values and appropriate formula. - Make graph between speed and back EMF and interpret the result. |
| CU16.Measure Brake Horse Power (BHP) Of Motor By Brake Test. | - Connect spring balance with one end of the rope. - Connect other end of rope with weight (W1). - Identify radius of the pulley. - Hang weight on the pulley of the motor and fix the spring balance end with earth. - Run motor to Calculate speed of motor. - Adjust weight to pass full load current from motor. - Calculate spring balance weight and hanged weight (W1) - Calculate shaft torque. - Calculate BHP of motor by shaft torque. |
| CU17.Identify Efficiency Of The Motor By Swinburne Test | - Perform DC test to find the value of armature resistance and field resistance - Run motor at rated voltage without load. - Adjust value of shunt regulator to attain rated speed. - Measure Field current and No load current with ampere meter. - Calculate total copper losses and iron losses. - Calculate input and output power. - Calculate efficiency from calculated power. |
| CU18.Perform Regenerative/ Hopkinson/ Back To Back Test | - Identify two shunt machines. - Perform coupling the shafts of both machines. - Connect machines electrically in such a way that one machine work as a motor and other as a generator. - Connect external power supply to the machines to overcome the machine losses. - Run both machine at no load. - Reduce field excitation of one machine which work as a motor. - Increase field excitation of one machine which work as a generator. - Adjust field winding so that voltage of generator becomes equal to the applied voltage which result the machines runs in parallel. - Calculate efficiency by using reading of voltmeter and ammeter. |
| CU19. Construct Combination Of Batteries. | - Select specific quantity cells. - Connect batteries in series. - Measure voltage of series combined cell. - Increase number of cells and note the voltage. - Record effects by increase of no of cells. - Connect batteries in parallel. - Measure voltage of parallel combined cell. - Increase number of cells and note the voltage. |
| CU20. Prepare Electrolyte For Battery | - Select container & and use safety equipment to prepare electrolyte - Put H2SO4 in the container as per specification. - Put water as per specification into the container and slowly Mix mixture with wooden/glass rod so that two solutions mix completely. |
| CU21. Check Specific Gravity Of Electrolyte. | - Open vent plug of battery - Fill hydrometer with electrolyte - Keep hydrometer vertical and take reading form hydrometer |
| CU22. Measure Internal Resistance Of Cell. | - Adjust apparatus as per diagram. - Turn switch off and take the reading of voltmeter and note its value as “E”. - Turn ON switch and again take the reading of voltmeter and note its value as “V”. - Record reading of ammeter. - Apply formula to find out internal resistance. |
| CU23. Charge Battery With The Help Of Charger. | - Set voltage and current setting of charger. - Connect battery at the output terminal of charger. - Turn on supply and note the current reading of ammeter from charger. - Keep battery connected with charger till the ammeter show minimum or zero reading. - Disconnect battery form the charger. - Check specific gravity of the battery with hydrometer. |

Knowledge & Understanding

- Explain Faraday’s law of Electro-Magnetic Induction.

- Explain DC Machines.

- Understand Fleming's rules

- Explain DC generator Types.

- Understand DC generator losses.

- Understand electromotive force.

- Explain types of DC motor.

- Understand DC motor losses.

- Explain the effect of motor speed on back EMF.

- Understand different types of batteries.

- Differentiate between “E” and “V” of cell.

- Understand use of hydrometer.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Measure resistance of field winding, armature winding and terminal polarity.

- Determine the losses of DC generator by actual loading.

- Identify DC compound Generator.

- Identify DC compound motor.

- Calculate efficiency of the motor by Swinburne Test.

TOOLS AND EQUIPMENTS (For 50 Students)

| Sr.No. | Description | Qty(No) |
| --- | --- | --- |
| 1 | Tools Kit(Plier,Screw driver, Phase tester, Cutter plier,noseplier,wire stripper, | 50 |
| 2 | Permanent Magnets (U Shape, Bar Type) | 50 |
| 3 | Tangent Galvanometer | 25 |
| 4 | DC Volt Meter | 25 |
| 5 | DC Ampere Meter | 25 |
| 6 | Ohm Meter | 25 |
| 7 | Digital Clamp on Meter | 25 |
| 8 | Tachometer | 25 |
| 9 | Electro Dynamometer | 25 |
| 10 | Potentiometer | 25 |
| 11 | Soldering Iron with stand | 25 |
| 12 | Variable DC Power Supply | 25 |
| 13 | Load Resister | 25 |
| 14 | Rheostat | 25 |
| 15 | Speed Controllers | 25 |
| 16 | Shunt field rheostat | 25 |
| 17 | Starters ( 3 Point,4 Point) | 6 each |
| 18 | Winding Machine | 25 |
| 19 | Prime mover | 10 |
| 20 | DC Series Generator | 10 |
| 21 | DC Shunt Generator | 10 |
| 22 | DC Compound Generator | 10 |
| 23 | DC Series Motor | 10 |
| 24 | DC Shunt Motor | 10 |
| 25 | DC Compound Motor | 10 |
| 26 | Hydrometer | 25 |
| 27 | Battery Charger | 25 |
| 28 | Safety Equipment (Insulated gloves, Safety goggles, halmet, Face Shield) | 50 |
| 29 | LAB VOLT AC/DC MACHINE TRAINER | 1 |

Training Material Required

| Sr.No | Description | Quantity Required |
| --- | --- | --- |
| 1 | Insulation tape | 6 Roll |
| 2 | Fuses (various ratings) | 4 Dozen |
| 3 | Miniature circuit breakers | 3 Dozen |
| 4 | Copper wires (various gauges) | 4 Kg |
| 5 | Lugs and terminals | 4 Dozen |
| 6 | Banana plugs | 4 Dozen |
| 7 | Solder wire | 8 Roll |
| 8 | Soldering flux | 8 Box |
| 9 | Batteries | 4 Nos. |
| 10 | Carbon Brushes | 2 Dozen |
| 11 | Cells | 4 Dozen |
| 12 | Battery Electrolyte | 10 Litter |
| 13 | Distilled water | 10 Bottles |
| 14 | Variable and fixed resistors | 6 Packets |
| 15 | Test Lamps and Bulbs | 2 Dozen |
| 16 | Screws, nuts, bolts, washers | As per requirement |
| 17 | Graph paper | As per requirement |
| 18 | A4 Rim | 5 Nos. |

### ET-273 Electrical Instruments and Measurements

Overview:

After completing this competence standard, students should be able to perform and understand the competence units. Electrical instruments and measurements encompass the tools, techniques, and methodologies used to quantify electrical quantities such as voltage, current, resistance, capacitance, inductance, power, and energy. These measurements are fundamental to understanding and analyzing electrical circuits and systems, ensuring proper functionality, safety, and efficiency. Instruments like voltmeters, ammeters, ohmmeters, Multimeters, and oscilloscopes are commonly used to measure these quantities, each serving specific purposes in different contexts, from simple circuit testing to signal analysis.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1.SegregateAbsolute And Secondary Measuring Instruments. | - Collect measuring instruments. - Identify Absolute and Secondary Measuring Instruments. - Tag Aabsolute And Secondary Measuring Instruments. |
| CU2. Operate Tangent Galvanometer | - Collect tangent galvanometer. - Calibrate galvanometeras per standard - Connect tangent galvanometer. - Record values in Ampere, milli Ampere, and micro Ampere. |
| CU3.Operate Multi Meter | - Collect Multi meter. - Identify functions of the multi meter. - Connect Multi meter. - Select desired function from the Multi meter. - Record values of required parameter. |
| CU4. Operate Ammeter | - Collect ammeter. - Calibrate meter. - Connect Ammeter. - Record values in Ampere, milli Ampere, and micro Ampere. |
| CU5.Operate Volt Meter | - Collect Voltmeter. - Calibrate meter. - Connect Voltmeter. - Measure values in Volt, milli Volt, and micro Volt. |
| CU6.Operate Ohm Meter | - Collect ohm meter. - Calibrate meter. - Connect ohm meter. - Measure values in ohm, Kilo ohm, Mega ohm. |
| CU7. Operate Tachometer | - Collect tachometer. - Calibrate meter. - Connect tachometer. - Measure values in Revolution per minute. |
| CU8. Operate Lux Meter | - Collect Lux meters - Calibrate meter - Connect Lux meters. - Record values in fc or cd/m² |
| CU9. Operate Oscilloscope | - Collect Oscilloscope. - Calibrate Oscilloscope as per the requirements (Ampere, volts, frequency, etc.). - Connect Oscilloscope. - Measure values as per the desire. |
| CU10. Operate Thermocouple Instrument | - Collect thermocouple. - Calibrate instrument. - Connect Temperature-measuring sensor. - Connect thermocouple. - Measure values. |
| CU11. Operate Earth Resistance Tester (Megger) | - Collect Megger. - Calibrate instrument. - Connect Megger. - Record values. |
| CU12.Measure Power Factor Of Unbalanced 3-Phase Load | - Collect Power Factor Meter. - Connect Power Factor Meter. - Record values. |
| CU13. Operate Frequency Meter | - Collect Frequency Meter. - Connect Frequency Meter. - Record values. |
| CU14. Operate Wheat Stone Bridge | - Collect components for bridge. - Implement bridge. - Connect multi meter to the bridge. - Measure values. - Record values. |
| CU15. Operate Single/ Three-Phase Energy Meters | - Collect desired energy meter. - Calibrate meter. - Connect energy meter to the circuit. - Record values in KWh. |
| CU16. Operate LCR Meter | - Collect LCR Meter. - Connect LCR Meter. - Measure inductance. - Measure Capacitance. - Measure Resistance. - Record values. |

Knowledge and understanding:

- Explanation of basics of measuring instruments.

- Illustrate the use of a Tangent Galvanometer to measure the current.

- Explain the use of analog and digital Multimeter for multifunction use.

- Explain the use of the Ammeter and Voltmeter in the circuit.

- Illustrate the operation of the ohm meter, earth resistance tester, and tachometer.

- Explain the use of the Lux meter.

- Illustrate the Operation of the Oscilloscope.

- Explain the thermocouple-type instrument.

- Illustrate resistance measuring bridges (wheat stone & Kelvin's double bridge).

- Explain energy measurement meters.

- Explain LCR meter.

Critical Evidence

The students must provide the following critical evidence to be competent in this competency standard.

- Identify the various functions of the Multimeter.

- Calibrate the Multimeter

- Install tachometer in circuit.

- Measure and interpret the values in RPM

- Connect Lux meters to the circuit

- Record values in fc or cd/m²

- Calibrate the Oscilloscope as per the requirements (Amper, volts, frequency, etc)

- Record the values as per the desire from the oscilloscope

- Install Megger

- Implement components for bridges

- Implement the bridges

- Measure the values

- Install the desired Energy meter

- Connect the Energy meter to the circuit

Tools and Equipment for 50 students

| Sr# | Tools and Equipment | Quantity(No) |
| --- | --- | --- |
|  | Multimeter | 25 |
|  | Signal Generator | 25 |
|  | Frequency Counter | 25 |
|  | Current Transformer (CT) | 25 |
|  | Potential Transformer (PT) | 25 |
|  | Data Acquisition System (DAQ) | 25 |
|  | Thermocouple and Thermometer | 25 |
|  | Galvano meter | 25 |
|  | Ammeter | 25 |
|  | Voltmeter | 25 |
|  | Lux Meter | 25 |
|  | Tacho meter | 25 |
|  | Tangent meter | 25 |
|  | Ohm meter | 25 |
|  | Thermocouple | 25 |
|  | Earth tester | 25 |
|  | Wheat stone bridge | 25 |
|  | Kelvin bridge | 25 |
|  | Oscilloscope | 25 |
|  | Clamp Meter | 25 |
|  | Power and Energy Meter | 25 |
|  | Power Factor Correction Device | 25 |
|  | LCR | 25 |
|  | Wire Strippers | 25 |
|  | Screwdrivers set | 25 |
|  | Pliers | 25 |
|  | Cable Tester | 25 |
|  | Insulated Gloves | 25 |
|  | Safety Goggles | 25 |

Consumable material

| Sr# | Tools and Equipment | Quantity |
| --- | --- | --- |
| 1 | Wires and Cables | 4 Rolls |
| 2 | Insulation Materials (plastic, rubber, and ceramics) | 2 Rolls |
| 3 | Batteries | 2 dozen |
| 4 | Cells | 2 dozen |
| 5 | Fuses | 2 dozen |
| 6 | Fire extinguisher | 3 No |
| 7 | Circuit Breakers | 1 dozen |

### ET-253 Utilization of Electrical Energy

Overview:

After completing this competency standard, the students should be able to understand and perform the following competency Units.

The utilization of electrical energy is a cornerstone of modern life, powering everything from household appliances to industrial machinery. Electrical energy, generated through various sources such as fossil fuels, nuclear power, and renewable resources like wind and solar, is converted into useful work and services that drive technological advancements and enhance quality of life. Its applications span across residential, commercial, and industrial sectors, facilitating lighting, heating, cooling, and the operation of electronic devices and machinery. The efficiency and effectiveness of electrical energy utilization are crucial for economic development, environmental sustainability, and the overall comfort and convenience of everyday living. As technology evolves, optimizing how electrical energy is harnessed and managed remains essential for addressing global energy demands and promoting a sustainable future.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1: Install Illumination System. | - Measure Utilization, depreciation, light loss and waste light factor. - Design Light Scheme for a Hall. - Design Flood Lightning Scheme. |
| CU2: Perform Electroplating Process. | - Verify Faradays Laws of Electrolysis. - Setup electroplating bath. - Operate electroplating bath. - Control voltage, current density and temperature during the plating process. |
| CU3: Demonstrate Process Of Refrigeration And Air Conditioning System. | - Determine thermal comfort level. - Draw circuit diagram of refrigerator. - Determine components of refrigerator. - Determine components of Air condition. - Draw circuit diagram of air conditioner and DC inverters |
| CU4:Calculte Energy Consumption Bill Of DC Inverter | - Measure voltage of DC Inverter. - Measure ampere of DC Inverter. - Measure power factor. - Measure time by stop watch. - Calculate Power by formula - Calculate Energy by formula - Record values of all the parameters. |
| CU5:Calculte Energy Consumption Bill Of Conventional Air Conditioner | - Measure voltage of Conventional Air Conditioner. - Measure ampere of Conventional Air Conditioner. - Measure power factor. - Measure time by stop watch. - Calculate Power by formula - Calculate Energy by formula - Record values of all the parameters. |
| CU6: Demonstrate Electric Traction System. | - Collect required tools and equipment. - Interpret electrical schemes and mechanical layouts. - Identify components and their placement in the system. |
| CU7: Demonstrate Process Of Electric Heating Furnaces. | - Verify furnace's capability to reach and maintain a specified temperature. - Measure efficiency of heating - Measure condition of the heating elements. - Follow furnace's startup and shutdown procedures. |
| CU8:Prepare Electric Heating Element | - Select Material to Prepare Electric Heating Element - Set Specifications (Resistance, Surface Area, Number of turns, Dimensioning) - Make Heating element. - Test Heating element. |

Knowledge & Understanding

- Explain basic Concepts of illumination system.

- Illustrate Conservation of Energy.

- Explain Faradays Laws of Electrolysis.

- Describe Electroplating Process.

- Describe Electrical Systems and Components in electric traction.

- Explain Economic and Environmental Impact heating and cooling system.

- Describe Practical Applications of furnace.

Critical Evidence Required

The Students need to provide the following critical evidence(s) in order to be competent in this competency standard

- Measure utilization, depreciation, light loss and waste light factor.

- Operate electroplating bath.

- Determine different components of refrigerator.

- Interpret electrical schemes and mechanical layouts.

- Follow furnace's startup and shutdown procedures.

TOOLS & EQUIPMENT for 50 students.

| Sr# | Tools and Equipment | Quantity (no) |
| --- | --- | --- |
|  | Multi meter | 25 |
|  | Clamp Meter | 25 |
|  | Power Meter | 25 |
|  | Smart Meter | 10 |
|  | Energy Meter | 10 |
|  | Circuit Breaker | 25 |
|  | Fuse | 25 |
|  | Relay | 25 |
|  | Magnetic Contactor | 25 |
|  | Variable Frequency Drive | 20 |
|  | Power Factor Correction Device | 10 |
|  | Wire Strippers | 25 |
|  | Screwdrivers | 25 |
|  | Pliers | 25 |
|  | Cable Tester | 25 |
|  | Safety Goggles | 50 |

Consumable material

- Wires and Cables

- Insulation Materials (plastic, rubber, and ceramics)

- Batteries

- Fuses and Circuit Breakers

- Thermal Paste

- Coolants and Heat Sinks

- Screws, Connectors, and Terminals

### ET-252 ELECTRICAL INSTALLATION PLANNING & ESTIMATING

Overview:

This Competency standard cover the underpinning knowledge and skills required for the implementation of Electrical Installation Planning and Estimation After completing the competency standard, the students/trainees will be able to perform the tasks in accordance with the essence of the Competency-Based Training System

| Competency Units | Performance Criteria |
| --- | --- |
| CU1:Installdomestic/Industrial Earthing System | - Select location for earthing. - Select Earthing Materials. - Excavate hole of the required dimensions. - Drive rod into the ground. - Install Earth Continuity Conductor. - Connect earth continuity conductor to the rod and main grounding bus bar in distribution board. - Apply Earth-enhancing Compound - Backfill hole. - Install Ground Pit/Inspection Chamber. - Check Earthing resistance. |
| CU2:Install overhead service line for single story building | - Erect pole utility - Install overhead service drop from the utility pole to the weather head on the building - Install weather head and service mast on the exterior of the building. - lay Electric cable from the weather head to the meter base. - Connect service line with energy meter and main DB |
| CU3: Install underground service line | - Select required tools and accessories - Dig trench from the utility connection point to the energy meter location - Lay conduit in trench - Install necessary fittings - Pull service entrance cable through the conduit from the utility connection point to the energy meter base. - Make connection between Energy meter and main DB - Test connection - Backfill and restore the surface. |
| CU4: Carry out domestic wiring installation | - Calculate Electrical load. - Select cable size according to load. - Select wiring system. - Choose tools and accessories. - Create plan (Layout). - Install wiring components. - Inspect installations. - Test wiring. |
| CU5: Carry out industrial wiring installation | - Calculate Electrical load (both Power and light) - Determine maximum load current - Determine total length of electric cable for the circuit - Select type of cable with respect to rating - Select switch gears according to rating - Install according to given layout - Test wiring |
| CU6: Estimate quantity of materials required for given residential plan for PVC surface conduit wiring | - Identify number of rooms according to the given layout - Select electrical fixtures, outlets appliances and switchgears - Select proper tools and equipment for installation - Measure total length of PVC conduit according to layout - Measure total length of cable according to layout - Calculate total load as per given layout - Select proper cable as per given layout - Calculate materials cost - Calculate labor cost - Calculate transportation cost - Calculate overhead cost - Calculate total estimated cost |

Knowledge & Understanding

- Explain domestic wiring systems

- Explain Industrial wiring systems a

- Compare a conduit and batten wiring system.

- Explain domestic earthing system

- Explain the industrial earthing system

- Explain advantages earthing systems

- Explain underground and overhead service lines system

- Explain Substations

- Explain fire protective equipment

- Explain isolators and arresters

- Explain functions of an intercom circuit with circuit diagram.

- Explain working of burglar alarm circuit

- Explain Planning of electrical projects.

- Explain drawbacks of starting a project without planning.

- List necessary steps to consider for planning residential/Commercial building

- Prepare estimation of an electrical installation.

- Explain about design and planning of electrical installation.

- Explain about the importance of tables used in installation planning and estimation.

- Explain the process of cost estimation

- Prepare a list of equipment used in installation planning and estimation.

- Explain Concealed and surface wiring

- Explain Green Skills

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be declare competent in this competency standard:

- Install earthing system.

- Prepare a plan for domestic building wiring installation

- Prepare cost estimation for wring of single story building

Tools and Equipment

| S# | Description | Quantity required |
| --- | --- | --- |
| 1 | Earth Resistance Tester | 5 |
| 2 | Multi-meter | 10 |
| 3 | Hammer | 50 |
| 4 | Plier | 50 |
| 5 | Cutter | 50 |
| 6 | Wire Strippers | 50 |
| 7 | Wrenches | 50 |
| 8 | Tape Measure | 50 |
| 9 | Hand Drill set | 25 |
| 10 | Conduit Bender | 25 |
| 11 | Voltage Detector | 25 |
| 12 | Crimping Tool | 50 |
| 13 | Punch Down Tool | 25 |
| 14 | Insulated Gloves | 50 |
| 15 | Safety Glasses | 50 |
| 16 | Helmet | 50 |
| 17 | Fire Extinguisher | 2 |
| 18 | Level | 25 |
| 19 | Stud Finder | 5 |
| 20 | Tool Belt | 50 |
| 21 | Clamp Meter | 25 |
| 22 | Electronic Calculator | 25 |
| 23 | Cost Estimation software | 25 |
| 24 | Computer | 25 |
| 25 | Long Nose plier | 50 |
| 26 | Map Measure | 10 |
| 27 | Architects scales | 50 |
| 28 | The tally | 25 |
| 29 | Clamps | 50 |
| 30 | Slide Rules | 50 |

Training Materials Required

| S# | Description | Quantity required |
| --- | --- | --- |
|  | Copper Rod for grounding | 10 Nos |
|  | Copper Plate | 5 Nos. |
|  | Ground Pit/ Inspection Chamber | 10 Nos |
|  | Bare Copper Wire | 2 roles |
|  | Connectors | 200 Nos |
|  | Conduits | 200 M |
|  | Pipe clamps | 100 Nos |
|  | Conduits bends | 10 Nos |
|  | Sockets | 5 Dozen |
|  | Lamp holders | 10 Dozen |
|  | Circuit Breakers | 30 Nos |
|  | Wooden plugs | 50 Nos |
|  | Main board | 10 Nos |
|  | Estimate form | 200 Nos |
|  | pencil | 10 Packs |
|  | Erasers | 10 packs |
|  | Grounding Cable | 50m |
|  | Mechanical Lugs | 100 Nos |
|  | GI pipes | 200m |
|  | Thimbles | 10 Dozen |
|  | Conduit bushing | 100 Nos |
|  | switches | 10 Dozen |
|  | lamps | 5 Dozen |
|  | Cables | 5 coils |
|  | Conduit saddles | 100 Nos |
|  | GI Bends | 25 Nos |
|  | Pricing sheet | 100 Nos |
|  | Writing pad | 50 Nos |
|  | Paper sheets | 200 Nos |

### ET-261 Computer Applications for Electrical Technology

Overview:

After completing this competence standard, students should be able to perform and understand the Computer Applications for Electrical Technology involves the use of software tools and digital solutions to enhance various aspects of electrical engineering and technology.  These applications range from computer-aided design (CAD) software for creating and simulating electrical circuits to specialized programs for power system analysis, electrical machine design, and control systems.  As technology advances, the role of computer applications in electrical technology continues to expand, making them an integral part of modern electrical engineering practices.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1: Develop program in C++ to perform arithmetic operations CU4. | - Install C++ compiler - Create program that can take inputs from users and perform arithmetic operations like a calculator. - Run program and verify the results |
| CU2: Make program in C++ to prepare logical operation | - Create program that takes two numbers and decides which is bigger and which is smaller. - Make program that takes a number of lights, and fans in a house and calculate load |
| CU3: Create application for trigonometric and inverse trigonometric functions. | - Make script to take trigonometric input - Perform Trigonometric operation - Record values of Trigonometric operation |
| CU4: Construct C++ program for the Solution of Resistiveinductive and capacitive (R.L.C) series and parallel circuits | - Make script to take trigonometric input - Perform mathematical/formula operation - Record values of mathematical/formula operation |
| CU5: Make program on Calculation of Alternating Current powers, active and reactive components. | - Create script to take the desired input - Perform Mathematical operation - Note down results |
| CU6: Identify computer software components | - Classify software components of Computer. - Install the necessary plug-ins - Install computer software’s as for requirement. |
| CU7: Install MULTISIM | - Open MULTISM menu. - Select component of circuit diagrams. - Insert electric component. - Carry out Wiring schematic. - Simulate circuit. - Transfer to PCB layout. - Perform Routing of board. - Analyze result by changing components. |
| CU8.Identify toolbox and libraries in MULTISIM | - Open MULTISIM Screen and its men - Select component of circuit diagram - Maintain tool box - Perform routing of the board. |
| CU9.Implement Resistance, Inductance & Capacitance Circuits in MULTISIM | - Open MULTISIM menu. - Select components of circuit diagrams. - Insert electric component. - Perform Wiring of schematic. - Prepare PCB layout - Analyze results for AC and DC. |
| CU10.Construct Rectifier (Full wave)circuit in MULTISIM | - Open MULTISIM screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Perform Wiring of schematic. - Prepare PCB layout. - Analyze results. |
| CU11.Install PSPICE | - Download PSPICE. - Open PSPICE Screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Perform Wiring of schematic. - Save file. - Analyze result by changing components. |
| CU12. Install PLC software and Simulator | - Download PLC Programmer - Install Software as per PLC manufacturer such as rest Logic 5000 and rest links classic etc. - Select Simulator for programming - Select module - Input generic value as per universal settings (check from internet/helped) - Start Simulator. - Open PLC programming software. |
| CU13. Program PLC using simulator | - Open programming software as per PLC manufacturer - Keep Simulator connected and in running condition - Create basic ladder logic program for ON/OFF of a bulb using Examine ON and Examine OFF switch - Create basic ladder logic program for Simple Start/Stop Ladder Logic Relay. - Create basic ladder logic program for Single Push Button On/Off Ladder Logic - Create basic ladder logic program for with On Delay Timer - Create basic ladder logic program for with Off Delay Timer - Create basic ladder logic program for Traffic signal lights - Create basic ladder logic program for Elevator Control. |

Knowledge & Understanding

- Explain the basic principles of electrical circuits, power systems, and control systems, including how they operate and interact within C++, MULTISM, and PSPICE applications.

- Clarify in C++ tool used in electrical technology.

- Explain the application in C++ using trigonometric and inverse trigonometric functions.

- Illustrate a C++ program for the solution of R.L.C. series and parallel circuits

- Explain the Installation process of MULTISM

- Illustrate half-wave/full-wave rectifier in MULTISM

- Explain the Installation process of PSPICE

- Explain the Installation process of PLC Simulator

- Explain a program on ON-OFF two states

- Explain energy measurement meters

Critical Evidence(s) Required

The students must provide the following critical evidence to be competent in this competency standard.

- Identify computer software components

- Produce program in C++ to perform arithmetic/logic operations

- Write C++ program for trigonometric/inverse trigonometric functions.

- Write C++ program for the solution of R.L.C. series/parallel circuits

- Write PSPICE program for the solution of R.L.C. series/parallel circuits

- Write MULTISM program for the solution of R.L.C. series/parallel circuits

- Program in C++ on the Calculation of A.C. powers, active/reactive components.

- Construct Resistance, Inductance & Capacitance Circuits using PSPICE

- Create half wave/full wave rectifier in MULTISM

- Install PLC software simulator

- Make Program in PLC simulator to control the lighting system in the hall.

Lab required for Computer Applications for Electrical Technology

- Computer Lab

Tools and Equipment for 50 students

| Sr.No. | Description | QTY (No) |
| --- | --- | --- |
|  | Laptop/PC | 50 |
|  | Computer Table | 50 |
|  | Computer Chair | 50 |
|  | PLC with allied accessories | 10 |
|  | DC Inverter 1.5 Ton | 4 |
|  | 64 Port Network Switch | 2 |
|  | Network wiring | 1 |
|  | Electrical wiring | 1 |
|  | Wifi Router | 2 |
|  | 64-inch LED | 1 |
|  | Portable White Board | 1 |

### ET-283   BASIC ELECTRONICS

Overview

This Competency standard cover the underpinning knowledge and skills required for the implementation of basic electronics circuits. After completing the competency standard, the students/trainees will be able to perform tasksin accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Identify Passive Components in electronic Circuit | - Locate Inductor in given circuit - Locate Capacitor in given circuit - Locate Resister in given circuit |
| CU2. Perform forward Biasing of PN junction diode | - Draw circuit diagram for forward Biasing - Arrange components - Make connections as per circuit diagram - Test circuit for forward biasing |
| CU3. Perform Reverse Biasing of PN junction diode | - Draw circuit diagram for Reverse Biasing - Arrange components - Make connections as per circuit diagram - Test circuit for Reverse biasing |
| CU4. Draw VI Characteristics curve of Diode | - Pinpoint anode of Diode - Pinpoint cathode of diode. - Check diode data sheet for specifications - Connect Diode in forward Biasing - Connect diode in Revers biasing - Observe Output waveform on oscilloscope - Draw VI curve for forward Biasing - Draw VI curve for reverse Biasing - Document voltage /current observation data. |
| CU5.Construct Full Wave center tapped Rectifier | - Identify required components for Full Wave center tapped Rectifier circuit. - Draw circuit Diagram of Full Wave Rectifier - Connect circuit with AC supply - Observe input and Output wave form on oscilloscope - Calculate ripple Factor - Calculate output voltage |
| CU6. Construct Full Wave Bridge Rectifier using Diode | - Identify required components for Full Wave Bridge Rectifier circuit. - Draw circuit Diagram of Full Wave Bridge Rectifier - Connect circuit with AC supply - Observe input and Output wave form on oscilloscope - Calculate ripple Factor - Calculate output voltage using proper formulas |
| CU7.Construct voltage regulator circuit using Zener diode | - Draw voltage Regulator circuit - Select components requirement for voltage regulator - Connect components for voltage regulator circuits. - Connect circuit with DC supply. - Record input/out voltage for regulation |
| CU8. Configure Light Emitting Diode (LED) Blinker Circuit Using 555 Timer integrated circuit (IC) | - Draw LED blinker circuit. - Select required components. - Place components on the breadboard as per circuit diagram - Test circuit. |
| CU9. Configure Biasing circuits of Bipolar Junction transistor (BJT) | - Identify BJT transistor. - Identify base, collector & Emitter of BJT transistors. - Insert transistor on bread board. - Configure standard Biasing circuit of PNP Transistor - Configure standard Biasing circuit of NPN Transistor - Test circuit |
| CU10. Configure Bipolar Junction transistor(BJT) as Common Base (CB) Amplifier | - Draw Circuit of amplifier using CB configuration of transistor - Select components for CB configurations. - Insert components for CB configuration amplifier. - Calculate gain of transistor in CB modes. - Draw VI characteristics curve for CB configuration |
| CU11. Configure BJT as CC Amplifier | - Draw Circuit of amplifier using CC configuration of transistor - Select components for CC configurations. - Insert components for CC configuration amplifier. - Calculate gain of transistor in CC modes. - Draw VI characteristics curve for CC configuration. |
| CU12. Configure Bipolar Junction transistor (BJT) as common Emitter (CE) Amplifier. | - Draw the Circuit of amplifier using CE configuration of transistor - Select components for CE configurations. - Insert components for CE configuration amplifier. - Calculate gain of transistor in CE modes. - Draw VI characteristics curve for CE configuration. |
| CU13. Configure Class-A Power Amplifier | - Identify required components for Class-A Power Amplifier. - Select component for Class-A Power Amplifier - Construct circuit of class-A power amplifier using PNP or NPN transistor. - Analyze parameter of Class-A Power Amplifier - Monitor Output waveform on oscilloscope - Draw characteristic curves of Class-A Power Amplifier - Calculate Voltage gain and Power Gain of Class- A Power Amplifier - Generate Lab report |
| CU14. Configure Bipolar Junction transistor (BJT) as a switch. | - Draw transistor switching circuit. - Select components for switching circuits - Insert components on bread board. - Verify switching operation of transistor using LED. |
| CU15. Construct Field Effect Transistor (FET) Biasing Circuits | P1. Identify types of FET. P2. Identify Gate, Drain & Source of FET. P3. Insert FET on bread board. P4. Perform standard Biasing of (N-Channel, P-channel) FET. P4. Measure Gate-Source voltage (Veg’s) & Threshold Voltage (Vth) |
| CU16. Configure Metal Oxide Silicon Field Effect Transistor (MOSFET) as a switch. | - Draw switching circuit of MOSFET. - Select components for switching circuits - Insert components on bread board. - Verify switching operation of MOSFET using LED |
| CU17. Draw voltage current (VI) characteristics curves for FETs | - Construct amplifier circuit using FETs - Apply Drain Source voltage(Vds) & Gate source voltage(Vgs) - Measure drain current - Draw VI characteristic curves |
| CU18. Configure Field Effect Transistor (FET) as a Common Drain (CD) Amplifier | - Draw Circuit of amplifier using CD configuration of FET - Select components for CD configurations. - Insert components for CD configuration amplifier On breadboard - Perform standard biasing for CD configuration - Apply input signal and observe the output on oscilloscope. - Record difference between input and output. |
| CU19. Configure Field Effect Transistor (FET) as a Common Source (CS) Amplifier | - Draw Circuit of amplifier using CS configuration of FET - Select components for CS Configurations. - Install components for CS configuration amplifier. - Perform standard biasing for CS configuration - Apply input signal and observe the output on oscilloscope. - Record difference between input and output. |
| CU20.Construct a Low voltage regulated power supply | - Draw circuit diagram of DC power supply - Select components for power supply - Connect components as per the power supply circuit. - Connect circuit with AC supply. - Change input voltage and record effects on output. |
| CU21.Construct relaxation oscillator using uni-junction Transistor (UJT) | - Draw the Circuit diagram of relaxation oscillator using UJT. - Select components for relaxation oscillator. - Place components on bread board. - Make connection of components on bread board - Connect circuit with DC supply. - Observe output wave shape on oscilloscope. - Change value of input resistor and record the effect on output. |
| CU22. Configure SCR as switch | - Draw Circuit diagram of switching circuit using SCR. - Select components for SCR switching circuit. - Place Components on bread board - Make connections of component on bread board - Connect circuit with DC supply. - Verify switching operation by triggering the SCR |
| CU23. Configure dimmer circuit using Triode for alternating current (TRIAC) | - Draw circuit diagram of dimmer circuit using TRIAC. - Select components for dimmer circuit. - Make connections of component on bread board - Connect circuit with AC supply. - Change potentiometer and record the effect on load (Fan or Lamp) |
| CU24. Construct Non-inverting amplifier using operational amplifier | - Draw circuit of non-inverting amplifier using operational amplifier. - Select components for non-inverting operational amplifier. - Place components on bread board - Perform connections - Connect circuit to DC supply. - Apply input voltage to circuit and measure the output voltage. - Calculate gain for non-inverting operational amplifier. |
| CU25.Construct Inverting amplifier using operational amplifier | - Identify Operational amplifier and its terminals (Inverting, Non-inverting Inputs &Outputs) with the Help of Data sheet. - Draw Circuit diagram of Inverting Op-Amp. - Select components for Inverting Op-Amp. - Place components on bread board - Perform connections - Measure output frequency response & gain - Draw characteristic curves of Op-Amp. - Document Output report |
| CU26.Construct differentiator circuit using operational amplifier | - Draw Circuit diagram of differentiator circuit using Op-Amp. - Select components for differentiator circuit. - Place components on bread board - Perform connections - Measure output, frequency response & gain - Draw characteristic curves of differentiator circuit. - Record output frequency response & gain |
| CU27.Construct summer circuit using operational amplifier | - Draw Circuit diagram of summer circuit using Op-Amp - Select components for summer circuit. - Place components on bread board - Perform connections - Measure output of summer circuit. - Record output data of summer circuit |

Knowledge & Understanding

- Knowledge of semiconductor theory

- Explain Doping Procedure.

- Describe N-type & P-type semi-conductors

- Explain diodes, polarities & their applications in circuits

- Explain use of Multi- meter & DC power Supply

- Explain the diode data sheets.

- Describe Resistor& their applications in Parallel & Series circuits

- Understanding Capacitor& their applications in circuits

- Understanding Inductor& their applications in circuits

- Study the basics of IC Packages

- Explain the use oscilloscope and Power Supply

- Explain the basics of diodes, AC & DC voltages, Transformers & Rectifiers.

- Study to Solder the Components

- Explain basic knowledge of LED & its applications

- Study basic concepts of transistor & Biasing

- Learn basics of Coupling of Capacitor.

- Study the data sheet of transistor

- Study basic concepts & working principles of transistor

- Explain the V-I Characteristics

- Study the basic of BJTs, & their applications in circuits

- Study BJT as switch

- Study the basics of FET

- Study the concept of FET Biasing.

- Explain the power rating of FET

- Explain The datasheet of FET

- Study the behavior of current and voltage in FET’s

- Explain biasing mechanism and basic formulae of FET’s

- Explain of basic electronics and amplifier

- Study the basic of FETs & their applications in circuits

- Study the basic of MOSFET & their applications in circuits.

- Study the basics of UJT and their applications in circuits.

- Explain 555 timer’s IC with pin lay out.

- Explain adequate knowledge of hand tools

- Study basics of SCR and their applications in the circuits.

- Explain the basics of DIAC&TRIAC and their applications in the circuits

- Study the basics of Op-Amp & their applications in circuits

- Explain Filter circuits

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Construct Full Wave Rectifier circuits using Diode.

- Configure Common Base (CB),Common Emitter (CE) and Common Collector (CC) circuits.

- Configure Field-Effect Transistors FETs.

- Construct the circuit of Class -A Power Amplifier

- Construct the circuit of Common Gate (CG) amplifier

- Construct an Inverting amplifier using operational amplifier

- Use oscilloscope to observe output wave forms.

TOOLS AND EQUIPMENTS

| SN | Description | Quantity Required |
| --- | --- | --- |
|  | Digital Multi-meter | 10 Nos |
|  | Fixed DC Power supply | 10 Nos |
|  | Basic electronics Trainer | 10 Nos |
|  | Digital Oscilloscope | 10 Nos |
|  | Variable DC power supply | 10 Nos |
|  | Soldering iron | 20 Nos |
|  | Voltmeter | 15 Nos |
|  | Breadboard | 50 Nos |
|  | Functions Generator | 10 Nos |
|  | Plier | 50 Nos |
|  | Side cutter | 50 Nos |
|  | Wire stripper | 50 Nos |
|  | Clamp Meter | 10 Nos |
|  | ICs tester | 20 Nos |
|  | Transistor tester | 20 Nos |

Trainings Materials Required

| SN | Description | Quantity Required |
| --- | --- | --- |
|  | Op-Amp IC | 100 Nos |
|  | Resistor different values | 100 Nos each |
|  | Inductor different values | 100 Nos each |
|  | Transistor (PNP,NPN) ICs | 100 Nos each |
|  | Capacitor different values | 100 Nos each |
|  | PNjunction Diodes | 100 Nos |
|  | Zener diode | 100 Nos |
|  | Connecting wire | 10 dozen |
|  | Light Emitting diode different color | 50 Nos each |
|  | Connecting wire different color | 20 dozen |
|  | FET Transistors | 100 Nos |
|  | MOSFET | 50 Nos |
|  | UJT | 50 Nos |
|  | SCR | 100 Nos |
|  | Step down transformers different rating | 25 Nos each |
|  | Step down transformer center tapped | 25 Nos |
|  | ICs regulator(7805,7905 etc) fixed voltage positive and negative | 50 Nos each |
|  | ICs regulator adjustable positive and negative | 25 each |

Tools and Equipment with all materials for the Basic Electronics workshop

| SN | Description | Quantity Required |
| --- | --- | --- |
|  | Multi-meter | 10 Nos |
|  | DC Power supply | 10 Nos |
|  | Trainer | 10 Nos |
|  | Digital Oscilloscope | 10 Nos |
|  | Variable DC power supply | 10 Nos |
|  | Soldering iron | 20 Nos |
|  | Voltmeter | 15 Nos |
|  | Breadboard | 50 Nos |
|  | Functions Generator | 10 Nos |
|  | Plier | 50 Nos |
|  | Side cutter | 50 Nos |
|  | Wire stripper | 50 Nos |
|  | Clamp Meter | 10 Nos |
|  | Op-Amp IC | 100 Nos |
|  | Resistor different values | 100 Nos each |
|  | Inductor different values | 100 Nos each |
|  | Transistor (PNP,NPN) ICs | 100 Nos each |
|  | Capacitor different values | 100 Nos each |
|  | PNjunction Diodes | 100 Nos |
|  | Zener diode | 100 Nos |
|  | Connecting wire | 10 dozen |
|  | Light Emitting diode different color | 50 Nos each |
|  | Connecting wire different color | 20 dozen |
|  | FET Transistors | 100 Nos |
|  | MOSFET | 50 Nos |
|  | UJT | 50 Nos |
|  | SCR | 100 Nos |
|  | Step down transformers different rating | 25 Nos each |
|  | Step down transformer center tapped | 25 Nos |
|  | ICs regulator(7805,7905 etc) fixed voltage positive and negative | 50 Nos each |
|  | ICs regulator adjustable positive and negative | 25 each |

### ET-282 DIGITAL LOGIC DESIG

Overview

This Competency standard cover the underpinning knowledge and skills required for the implementation of Digital Logic Designing circuits. After completing the competency standard, the students/trainees will be able to perform the following tasksin accordance with the essence of the Competency-Based Training System

| Competency Unit | Performance Criteria |
| --- | --- |
| CU1: Verify truth table of AND gate | - Draw symbol of AND gate - Draw Truth Table of AND gate - Place (AND gate IC) on bread board. - Identify input, output, collector to collector Voltage(Vcc) - Develop Boolean Expression/Equation - Identify input, output, Collector to collector voltage (Vcc)and ground pin. - Connect LED to output pin of IC and apply different logics input through input pins - Record output result against each given input. |
| CU2: Verify truth table of OR gate | - Draw symbol of OR logic gate, - Draw Truth table of OR gate. - develop Boolean Expression - Place (OR gate IC) on bread board. - Identify input, output, Vcc and ground pin. - Connect LED to output pin of IC and apply different logics at input pins. - Record output result against each given input. |
| CU3: Verify truth table of NOT gate | - Draw symbol of NOT logic gate, - Draw Truth table of NOT gate. - Develop Boolean Expression - Place (NOT gate IC) on bread board. - Identify input, output, vcc and ground pin. - Connect LED to output pin of IC and apply different logics at input pins. - Record output result against each given input. |
| CU4: Verify truth table of NAND gate | - Draw symbol of NAND logic gate, - Draw Truth table of NAND gate. - Develop Boolean Expression - Place (NAND gate IC) on bread board. - Identify input, output, Vcc and ground pin. - Connect LED to output pin of IC and apply different logics at input pins. - Record output result against each given input. |
| CU5: Verify truth table of NOR gate | - Draw symbol of NOR logic gate, - Draw Truth table of NOR gate. - develop Boolean Expression - Place (NOR gate IC) on bread board. - Identify input, output, vcc and ground pin. - Connect LED to output pin of IC and apply different logics ant input pins. - Record output result against each given input. |
| CU6: Verify truth table of XOR gate | - Draw symbol of XOR logic gate, - Draw Truth table of XOR gate. - Develop Boolean Expression - Place (XOR gate IC) on bread board. - Identify input, output, Vcc and ground pin. - Connect LED to output pin of IC and apply different logics at input pins. - Record output result against each given input. |
| CU7: Verify truth table of XNOR gate | - Draw symbol of XNOR logic gate, - Draw Truth table of XNOR gate. - Develop Boolean Expression - Place (NOR gate IC) on bread board. - Identify input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record output result against each given input. |
| CU8: Apply Karnaugh mapping or Boolean algebra to simplify logic expressions | - Identify Sum of product (SOP) & Product of sum (POS) Expressions - Apply Boolean algebra or Karnaugh (k-Map) mapping to simplify SOP & POS. - Construct logic circuits with simplified SOP & POS. |
| CU9: Construct half adder logic Circuit | - Draw block diagram of Half adder - Draw truth table of half adder - Develop Boolean Expression/Equation - Draw the logic diagram of Half adder - Place required logic gates ICs on bread board - Identify input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record output result against each given input |
| CU10: Construct Full adder logic circuit | - Draw block Diagram of full adder logic circuit - Draw the truth table of full adder - Develop Boolean expression/equation for full adder - Draw logic diagram of full adder circuit - Place required logic gates ICs on bread board - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record output result against each given input |
| CU11: Construct Half sub-tractor Circuit | - Draw block diagram of half sub-tractor - Draw truth Table of half sub-tractor - Write Boolean expression for half sub-tractor - Draw logic diagram of half sub-tractor - Place required logic gates ICs on Breadboard - Identify input, output, Vcc and ground pin - Connect LED to the output pin of IC and apply different logics at input pins. - Record output result against each given input |
| CU12: Construct Full Sub-Tractor | - Draw block Diagram of full sub-tractor - Draw truth table of full sub-tractor - Write Boolean Expression of full sub-tractor - Simply Boolean expression using K-map - Draw logic circuit of full sub-tractor - Place required logic gate ICs on Breadboard - Identify input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify output result against each given input. |
| CU13: Configure 2×4 Decoder using logic gates and IC | - Place (Decoder IC) on breadboard. - Identify input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify output result against each given input. |
| CU14: Configure BCD to seven segment decoder | - Insert (7 segment decoder IC) and 7 segment display on bread board. - Identify input, output, vcc and ground pin. - Connect segment display with seven segment decoder input output pins. - Record output result against each given input. |
| CU15: Configure 4×2 Encoder using logic gates and IC | - Place (Encoder IC) on bread board. - Identify input, output, Vccand ground pin. - Connect LED to output pin of IC and apply different logics at input pins. - Record & verify output result against each given input. |
| CU16: Configure 4×1 Multiplexer circuit using logic gates and 74153 IC | - Draw Bock diagram of 4X1 Multiplexer - Draw Truth of 4X1 Multiplexer - Draw Truth Table of 4X1 Multiplexer - Simply Boolean Expression using K-Map - Place logic gates and IC on the bread board - Record result against each input |
| CU17: Configure 1×4 De-multiplexer circuit using logic gates and 74155 IC | - Draw Bock diagram of 1x 4 De-1 Multiplexer - Draw Truth of 1x4 De-Multiplexer - Draw Truth Table of 1x4 Multiplexer - Simply Boolean Expression using K-Map - Place logic gates and IC on the bread board - Record result against each input |
| CU18: Verify functions of RS Flip-Flop using logic gates | - Place (NAND gate IC) on bread board. - Identify input, output, Vcc and ground pin. - Connect LEDs to outputs pins. - Apply different logic inputs to Record output result against each given input. |
| CU19: verify functions of Clocked RS Flip-Flop using logic gates | - Place (NAND gate IC) on bread board. - Identify input, output, Vcc and ground pin. - Connect LEDs to outputs pins. - Apply different logic inputs to Record & verify the output result against each given input. |
| CU20: Verify function of D-flip flop by Using logic gates | - Insert (D flip flop) IC on bread board. - Identify input, output, Vccnd ground pin. - Connect LEDs\ Scope to outputs pins. - Apply different logic inputs to Record & verify the output result against each given input. |
| CU21: Verify function of JK flip flop using logic gates | - Insert 74112 (JK flip flop) IC on bread board. - Identify input, output, Vcc and ground pin. - Connect LEDs\ Scope to outputs pins. - Apply different logic inputs to Record & verify the output result against each given input. |
| CU22: Configure 555 IC as A-stable Multi-vibrator | - Draw circuit diagram for A-stable Multi-Vibrator - Place 555 IC on bread board/trainer - Make connection as per diagram. - Apply voltage to circuit. - Record the output signal wave shape from oscilloscope. |
| CU23: Configure 555 IC as Mono-stable Multi-Vibrator | - Draw circuit diagram for Mono-stable Multivibrator - Place 555 IC on bread board/trainer. - Make connection as per diagram. - Apply voltage to circuit and give triggering pulse at input pin. - Record output signal wave shape from oscilloscope. |
| CU24: Configure 555 IC as Bi-stable Multi-Vibrator and verify its set and reset conduction | - Draw circuit diagram for Bi-stable Multivibrator - Place 555 IC on bread board/trainer. - Make connection as per diagram. - Apply voltage to circuit and give triggering pulse at input pin. - Record output signal wave shape from oscilloscope. |
| CU25: Configure 4-bit binary counters using 7474 dual flip-flops | - Draw circuit diagram counter. - Make connection of JK-Flip Flop as per diagram to construct 4-bit binary counter. - Connect LEDs to the outputs pins. - Apply clock pulse and record the output. |
| CU26: Configure 4-synchronous Counter with D flip-Flops | - Draw circuit diagram synchronous counter. - Make connection of JK-Flip Flop as per diagram to construct 4-bit synchronous counter. - Connect LEDs to the output pins. - Apply clock pulse and record the output. |
| CU27: Construct 4 bit (SISO) shift register using D flops | - Select type of flip flop - Draw schematic Diagram - Make connection of D-Flip Flop as per diagram - Connect data input to the D input of the first flip-flop (FF1) - Connect Q output of FF1 to the D input of FF2 - Connect Q output of FF2 to the D input of FF3. - Connect Q output of FF3 to the D input of FF4 - Apply data at the input of register and give clock pulse - Record output according to the input. |
| CU28: Construct 4 bit (PIPO) shift register using D flops | - Determine number of Stages - Select type of flip flop - Draw schematic Diagram - Make connection of D-Flip Flop as per diagram - Connect data inputs (D0, D1, D2, D3) to the D inputs of the flip-flops (FF0, FF1, FF2, FF3) respectively. - Apply data at the input of register and give clock pulse - Record output according to the input. - Draw output Truth table |
| CU29: Construct 4 bit (SIPO) shift register using D-flops | - Determine number of Stages - Select type of flip flop - Draw schematic Diagram - Make connection of D-Flip Flop as per diagram - Connect data inputs (D0, D1, D2, D3) to the D inputs of the flip-flops (FF0, FF1, FF2, FF3) respectively. - Apply data at the input of register and give clock pulse - Record the output according to the input. - Draw output Truth table |
| CU30:Construct 4- bit (PISO) shift register using D -flops | - Determine number of Stages - Select type of flip flop - Draw schematic Diagram - Make connection of D-Flip Flop as per diagram - Connect the data inputs (D0, D1, D2, D3) to the D inputs of the flip-flops (FF0, FF1, FF2, FF3) respectively. - Apply data at input of register and give clock pulse - Record output according to the input. - Draw output Truth table |
| CU31: Configure A/D and D/A Converter circuit | - Place microcontroller on the breadboard. - Connect microcontroller to the power supply (5V) - Interface ADC as input with microcontroller - Interface DAC as output with microcontroller - Record result against each input |

Knowledge & Understanding

- Explain logic gates. AND, OR, NAND, NOR, NOT, XOR and XNOR.

- Explain the Boolean expression of AND, OR, NAND, NOR, NOT, XOR and XNOR, gate

- Explain the universal gate

- Study number system and interconversion

- Explain the principles and laws of Boolean algebra

- Explain the Karnaugh Mapping (K-Map)

- Study the concept of don’t care conditions

- Study the Product-of-Sums& SOP Simplification

- Study the combinational logic circuit (Half adder, Full adder)

- Explain Half sub-tractor, Full sub-tractor Binary Multiplier, Magnitude comparator

- Understanding of Decoders & Encoders, Multiplexers and De-Multiplexer

- Understanding how to implement different functions using multiplexers

- Explain 7 -segment display and its functions

- Explain different types of Latch’s

- Explain different types of Flip flops

- Explain Edge triggered flip flops

- Explain synchronous & asynchronous counters

- Explain ripple counters

- Explain shift registers and its types

- Explain shift left and shift right registers using block diagram

- Study basic elements of 555 timer IC

- Explain Different Types Multi-vibrator

- Explain A/D and D/A Converters with examples

- Explain various types (ROM, PRM, EPROM, RAM) memories

- Explain the memory addressing mechanism

- Explain the terms (IC. SSI, LSI, VLSI)

- Explain Green skills

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be declare competent in this competency standard:

- Verify truth table of XNOR gate

- Configure 4X1 Multiplexer

- Operate seven segment display with seven segment decoder.

- Verify function of JK flip flop

- Implement Up-down Counter

- Design SIPO Shift Register

Tools and Equipment

| SN | Description | Quantity Required( No) |
| --- | --- | --- |
| 1 | Bread boards | 50 |
| 2 | PCB boards | 10 |
| 3 | Adjustable DC supply | 10 |
| 4 | Digital clock | 25 |
| 5 | dual trace Oscilloscope 0-20MHZ | 5 |
| 6 | Simulator Software’s(Multisim) | 10 |
| 7 | Digital Logic Trainer Kits | 5 |
| 8 | Multi-meter | 10 |
| 9 | Logic tester | 10 |
| 10 | Soldering iron | 25 |
| 11 | IC Testers | 5o |
| 12 | Function Generators | 5 |
| 13 | Desktop Computer(Core i7) | 10 |
| 14 | Printer | 2 |
| 15 | Multimedia projector | 1 |
| 16 | Projector Screen | 1 |
| 17 | Crimping tool | 10 |
| 18 | Wire stripper | 25 |
| 19 | heat gun | 15 |
| 20 | Magnifying glass | 10 |
| 21 | Communication Modules(Bluetooth, Wi-Fi) | 5 each |
| 22 | De-soldering pumps | 10 |
| 23 | Logic analyzers | 2 |
| 24 | Different type sensors | 5 each |
| 25 | Potentiometer | 5 |
| 26 | Analog to Digital Converters (ADC) | 5 |
| 27 | Digital to Analog Converters (DAC) | 5 |
| 28 | Memory chips (RAM, ROM, EEPROM) | 2 each |
| 29 | Adapters | 5 |
| 30 | Pliers | 50 |

Training Materials (Consumables) Required

| SN | Description | Quantity required |
| --- | --- | --- |
| 1 | Resistors (various values) | 20 dozen each |
| 2 | AND gate (7408 2-input Quad) | 200 Nos |
| 3 | OR gate (7432 2-input Quad) | 200 Nos |
| 4 | NOR gate (7402 2-input Quad) | 200 Nos |
| 5 | X-NOR gate (74266 2-input Quad | 200 Nos |
| 6 | D Flip flop IC(74LS74) | 200 Nos |
| 7 | Seven segment display | 200 Nos |
| 8 | Inductors (various values) | 20 dozen each |
| 9 | Potentiometers (various values) | 100 Nos |
| 10 | Switches (push-button, toggle) | 100 Dozen |
| 11 | LEDs (various colors) | 50 Nos each |
| 12 | Transistors (NPN, PNP) | 100 Nos each |
| 13 | Capacitors(Various values) | 200 Nos |
| 14 | Logic ICs (TTL and CMOS, e.g., 7400 series) | 50 Nos |
| 15 | Flip-flops (e.g., 7474, 7476) | 200 Nos |
| 16 | Counters (e.g., 7490, 74160) | 200 Nos |
| 17 | Multiplexers/DE multiplexers (e.g., 74153, 74155) | 200 Nos |
| 18 | Encoders/Decoders (e.g., 74147, 74138) | 100 Nos |
| 19 | Shift Registers (e.g., 74164, 74165) | 100 Nos |
| 20 | Comparators (e.g., LM339) | 100 Nos |
| 21 | Pens and pencils | 5 pack each |
| 22 | Cleaning solvents (e.g., isopropyl alcohol) | 2 L |
| 23 | Jumper wires | 5 dozen each different |
| 24 | NOT gate (7404 Hex) | 200 Nos |
| 25 | NAND gate(7400 2-input Quad) | 200 Nos |
| 26 | X-OR gate (7486 2-input Quad) | 200 Nos |
| 27 | JK Flip Flop (74112 Dual) | 100 Nos |
| 28 | 555 Timer IC | 100 Nos |
| 29 | Batteries (9V) | 10 Nos |
| 30 | Breadboard wires | 5 Dozen each color |
| 31 | DuPont connectors | 100 Nos |
| 32 | Solder wire | 50 Coil |
| 33 | Solder wick | 10 pack |
| 34 | DE soldering braid | 10 pack |
| 35 | Fuses | 10 dozen |
| 36 | Labels and markers | 5 dozen each |
| 37 | Insulation tape | 3 Dozen |
| 38 | Cable ties | 10 pack |
| 39 | Graph paper | 100 Nos |
| 40 | Cleaning brushes | 10 dozen |

| 16 | Projector Screen | 1 |
| --- | --- | --- |
| 17 | Crimping tool | 10 |
| 18 | Wire stripper | 25 |
| 19 | heat gun | 15 |
| 20 | Magnifying glass | 10 |
| 21 | Communication Modules(Bluetooth, Wi-Fi) | 5 each |
| 22 | De-soldering pumps | 10 |
| 23 | Logic analyzers | 2 |
| 24 | Different type sensors | 5 each |
| 25 | Potentiometer | 5 |
| 26 | Analog to Digital Converters (ADC) | 5 |
| 27 | Digital to Analog Converters (DAC) | 5 |
| 28 | Memory chips (RAM, ROM, EEPROM) | 2 each |
| 29 | Adapters | 5 |
| 30 | Pliers | 50 |
| 31 | Resistors (various values) | 20 dozen each |
| 32 | AND gate (7408 2-input Quad) | 200 Nos |
| 33 | OR gate (7432 2-input Quad) | 200 Nos |
| 34 | NOR gate (7402 2-input Quad) | 200 Nos |
| 35 | X-NOR gate (74266 2-input Quad | 200 Nos |
| 36 | D Flip flop IC(74LS74) | 200 Nos |
| 37 | Seven segment display | 200 Nos |
| 38 | Inductors (various values) | 20 dozen each |
| 39 | Potentiometers (various values) | 100 Nos |
| 40 | Switches (push-button, toggle) | 100 Dozen |
| 41 | LEDs (various colors) | 50 Nos each |
| 42 | Transistors (NPN, PNP) | 100 Nos each |
| 43 | Capacitors(Various values) | 200 Nos |
| 44 | Logic ICs (TTL and CMOS, e.g., 7400 series) | 50 Nos |
| 45 | Flip-flops (e.g., 7474, 7476) | 200 Nos |
| 46 | Counters (e.g., 7490, 74160) | 200 Nos |
| 47 | Multiplexers/DE multiplexers (e.g. 74153, 74155) | 200 Nos |
| 48 | Encoders/Decoders (e.g., 74147, 74138) | 100 Nos |
| 49 | Shift Registers (e.g., 74164, 74165) | 100 Nos |
| 50 | Comparators (e.g., LM339) | 100 Nos |
| 51 | Pens and pencils | 5 pack each |
| 52 | Cleaning solvents (e.g., isopropyl alcohol) | 2 L |
| 53 | Jumper wires | 5 dozen each different |
| 54 | NOT gate (7404 Hex) | 200 Nos |
| 55 | NAND gate(7400 2-input Quad) | 200 Nos |
| 56 | X-OR gate (7486 2-input Quad) | 200 Nos |
| 57 | JK Flip Flop (74112 Dual) | 100 Nos |
| 58 | 555 Timer IC | 100 Nos |
| 59 | Batteries (9V) | 10 Nos |
| 60 | Breadboard wires | 5 Dozen each color |
| 61 | DuPont connectors | 100 Nos |
| 62 | Solder wire | 50 Coil |
| 63 | Solder wick | 10 pack |
| 64 | DE soldering braid | 10 pack |
| 65 | Fuses | 10 dozen |
| 66 | Labels and markers | 5 dozen each |
| 67 | Insulation tape | 3 Dozen |
| 68 | Cable ties | 10 pack |
| 69 | Graph paper | 100 Nos |
| 70 | Cleaning brushes | 10 dozen |

Lab required for Computer Lab for Computer Applications for Electrical Technology

Tools and Equipment for 50 students

| Sr.No. | Description | QTY (No) |
| --- | --- | --- |
|  | Laptop/PC | 50 |
|  | Computer Table | 50 |
|  | Computer Chair | 50 |
|  | DC Inverter 1.5 Ton | 4 |
|  | 64 Port Network Switch | 2 |
|  | Network wiring | 1 |
|  | Electrical wiring | 1 |
|  | Wifi Router | 2 |
|  | 64-inch LED | 1 |
|  | Portable White Board | 1 |

Lab required for Machine Lab of subject DC Machines and batteries

Tools and Equipment for 50 students

| S.No | Description | Qty (No) |
| --- | --- | --- |
| 1 | Tools Kit (Plier, Screw driver, Phase tester, Cutter plier, noseplier, wire stripper) | 50 |
| 2 | Permanent Magnets (U Shape, Bar Type) | 50 |
| 3 | Tangent Galvanometer | 50 |
| 4 | DC Volt Meter | 50 |
| 5 | DC Ampere Meter | 50 |
| 6 | Ohm Meter | 50 |
| 7 | Digital Clamp on Meter | 50 |
| 8 | Tachometer | 50 |
| 9 | Electro Dynamometer | 50 |
| 10 | Potentiometer | 50 |
| 11 | Soldering Iron | 50 |
| 12 | Variable DC Power Supply | 50 |
| 13 | Load Resister | 50 |
| 14 | Rheostat | 50 |
| 15 | Speed Controllers | 50 |
| 16 | Shunt field rheostat | 50 |
| 17 | Starters ( 3 Point,4 Point) | 6 each |
| 18 | Winding Machine | 25 |
| 19 | Prime mover | 10 |
| 20 | DC Series Generator | 10 |
| 21 | DC Shunt Generator | 10 |
| 22 | DC Compound Generator | 10 |
| 23 | DC Series Motor | 10 |
| 24 | DC Shunt Motor | 10 |
| 25 | DC Compound Motor | 10 |
| 26 | Hydrometer | 25 |
| 27 | Battery Charger | 25 |
| 28 | Safety Equipment (Insulated gloves, Safety goggles, helmet, Face Shield) | 50 |

Lab required for Instruments and measurements of subject electrical instruments and measurements

Tools and Equipment for 50 students

| Sr# | Tools and Equipment | Quantity (No) |
| --- | --- | --- |
|  | Multimeter | 50 |
|  | Signal Generator | 50 |
|  | Frequency Counter | 50 |
|  | Current Transformer (CT) | 50 |
|  | Potential Transformer (PT) | 50 |
|  | Data Acquisition System (DAQ) | 50 |
|  | Thermocouple and Thermometer | 50 |
|  | Galvano meter | 50 |
|  | Ammeter | 50 |
|  | Voltmeter | 50 |
|  | Lux Meter | 50 |
|  | Tacho meter | 50 |
|  | Tangent meter | 50 |
|  | Ohm meter | 50 |
|  | Earth tester | 50 |
|  | Wheat stone bridge | 50 |
|  | Kelvin bridge | 50 |
|  | Oscilloscope | 50 |
|  | Clamp Meter | 50 |
|  | Power and Energy Meter | 50 |
|  | Power Factor Correction Device | 50 |
|  | LCR | 50 |
|  | Wire Strippers | 50 |
|  | Screwdrivers set | 50 |
|  | Pliers | 50 |
|  | Cable Tester | 50 |
|  | Insulated Gloves | 50 |
|  | Safety Goggles | 50 |

Lab required for Energy Conservation Lab of subject Utilization of Electrical Energy

Tools and Equipment for 50 students

| Sr# | Tools & Equipment | Quantity (No) |
| --- | --- | --- |
|  | Pliers | 50 |
|  | Screwdrivers | 50 |
|  | Wire strippers | 50 |
|  | Cable Tester | 50 |
|  | Safety Goggles | 50 |
|  | Multimeter | 50 |
|  | Ammeter | 50 |
|  | Voltmeter | 50 |
|  | Clamp meter | 50 |
|  | Safety Goggles | 50 |
|  | Lockout/Tagout Kits | 50 |
|  | Single Phase Motor | 10 |
|  | Three Phase Motor | 10 |
|  | Series Generator | 10 |
|  | Shunt Generator | 10 |
|  | Compound Generator | 10 |
|  | Solar Pannels (580watts) | 40 |
|  | Inverter(9kw) | 02 |
|  | Power factor meter | 10 |
|  | Single phase energy meter | 10 |
|  | Three Phase Energy Meter | 10 |
|  | Circuit breaker | 50 |
|  | Fuse | 50 |
|  | Relay | 20 |
|  | Magnetic Contactor | 20 |
|  | Variable frequency drive | 20 |
|  | Safety Googles | 50 |
|  | Incandescent lamps | 50 |
|  | LED lamps | 50 |
|  | Refrigerator | 02 |
|  | Air Conditioner | 02 |
|  | Air Conditioner (inverter) | 02 |
|  | Electroplating Tank | 05 |
|  | DC power supply | 10 |
|  | Plating Solution | Nickel, chrome |
|  | Electric Arc Furnace | 01 |
|  | Induction Furnace | 01 |
|  | Vacuum Furnace | 01 |

Tools and Equipment with all materials for the Basic Electronics workshop

| SN | Description | Quantity Required |
| --- | --- | --- |
|  | Multi-meter | 10 Nos |
|  | DC Power supply | 10 Nos |
|  | Trainer | 10 Nos |
|  | Digital Oscilloscope | 10 Nos |
|  | Variable DC power supply | 10 Nos |
|  | Soldering iron | 20 Nos |
|  | Voltmeter | 15 Nos |
|  | Breadboard | 50 Nos |
|  | Functions Generator | 10 Nos |
|  | Plier | 50 Nos |
|  | Side cutter | 50 Nos |
|  | Wire stripper | 50 Nos |
|  | Clamp Meter | 10 Nos |
|  | Op-Amp IC | 100 Nos |
|  | Resistor different values | 100 Nos each |
|  | Inductor different values | 100 Nos each |
|  | Transistor (PNP, NPN) ICs | 100 Nos each |
|  | Capacitor different values | 100 Nos each |
|  | PNjunction Diodes | 100 Nos |
|  | Zener diode | 100 Nos |
|  | Connecting wire | 10 dozen |
|  | Light Emitting diode different color | 50 Nos each |
|  | Connecting wire different color | 20 dozen |
|  | FET Transistors | 100 Nos |
|  | MOSFET | 50 Nos |
|  | UJT | 50 Nos |
|  | SCR | 100 Nos |
|  | Step down transformers different rating | 25 Nos each |
|  | Step down transformer center tapped | 25 Nos |
|  | ICs regulator(7805,7905 etc) fixed voltage positive and negative | 50 Nos each |
|  | ICs regulator adjustable positive and negative | 25 each |

List of Tools& Equipment with all required Materials for DLD Workshop

| SN | Description | Quantity required |
| --- | --- | --- |
| 1 | Bread boards | 50 |
| 2 | PCB boards | 10 |
| 3 | Adjustable DC supply | 10 |
| 4 | Digital clock | 25 |
| 5 | dual trace Oscilloscope 0-20MHZ | 5 |
| 6 | Simulator Software’s(Multisim) | 10 |
| 7 | Digital Logic Trainer Kits | 5 |
| 8 | Multi-meter | 10 |
| 9 | Logic tester | 10 |
| 10 | Soldering iron | 25 |
| 11 | IC Testers | 5o |
| 12 | Function Generators | 5 |
| 13 | Desktop Computer(Core i7) | 10 |
| 14 | Printer | 2 |
| 15 | Multimedia projector | 1 |
| 16 | Projector Screen | 1 |
| 17 | Crimping tool | 10 |
| 18 | Wire stripper | 25 |
| 19 | heat gun | 15 |
| 20 | Magnifying glass | 10 |
| 21 | Communication Modules(Bluetooth, Wi-Fi) | 5 each |
| 22 | De-soldering pumps | 10 |
| 23 | Logic analyzers | 2 |
| 24 | Different type sensors | 5 each |
| 25 | Potentiometer | 5 |
| 26 | Analog to Digital Converters (ADC) | 5 |
| 27 | Digital to Analog Converters (DAC) | 5 |
| 28 | Memory chips (RAM, ROM, EEPROM) | 2 each |
| 29 | Adapters | 5 |
| 30 | Pliers | 50 |
| 31 | Resistors (various values) | 20 dozen each |
| 32 | AND gate (7408 2-input Quad) | 200 Nos |
| 33 | OR gate (7432 2-input Quad) | 200 Nos |
| 34 | NOR gate (7402 2-input Quad) | 200 Nos |
| 35 | X-NOR gate (74266 2-input Quad | 200 Nos |
| 36 | D Flip flop IC(74LS74) | 200 Nos |
| 37 | Seven segment display | 200 Nos |
| 38 | Inductors (various values) | 20 dozen each |
| 39 | Potentiometers (various values) | 100 Nos |
| 40 | Switches (push-button, toggle) | 100 Dozen |
| 41 | LEDs (various colors) | 50 Nos each |
| 42 | Transistors (NPN, PNP) | 100 Nos each |
| 43 | Capacitors(Various values) | 200 Nos |
| 44 | Logic ICs (TTL and CMOS, e.g., 7400 series) | 50 Nos |
| 45 | Flip-flops (e.g., 7474, 7476) | 200 Nos |
| 46 | Counters (e.g., 7490, 74160) | 200 Nos |
| 47 | Multiplexers/DE multiplexers (e.g., 74153, 74155) | 200 Nos |
| 48 | Encoders/Decoders (e.g., 74147, 74138) | 100 Nos |
| 49 | Shift Registers (e.g., 74164, 74165) | 100 Nos |
| 50 | Comparators (e.g., LM339) | 100 Nos |
| 51 | Pens and pencils | 5 pack each |
| 52 | Cleaning solvents (e.g., isopropyl alcohol) | 2 L |
| 53 | Jumper wires | 5 dozen each different |
| 54 | NOT gate (7404 Hex) | 200 Nos |
| 55 | NAND gate(7400 2-input Quad) | 200 Nos |
| 56 | X-OR gate (7486 2-input Quad) | 200 Nos |
| 57 | JK Flip Flop (74112 Dual) | 100 Nos |
| 58 | 555 Timer IC | 100 Nos |
| 59 | Batteries (9V) | 10 Nos |
| 60 | Breadboard wires | 5 Dozen each color |
| 61 | DuPont connectors | 100 Nos |
| 62 | Solder wire | 50 Coil |
| 63 | Solder wick | 10 pack |
| 64 | DE soldering braid | 10 pack |
| 65 | Fuses | 10 dozen |
| 66 | Labels and markers | 5 dozen each |
| 67 | Insulation tape | 3 Dozen |
| 68 | Cable ties | 10 pack |
| 69 | Graph paper | 100 Nos |
| 70 | Cleaning brushes | 10 dozen |

3rd Year DAE Electrical Technology

### MGM-321 Business Communication

Overview

This Competency Standard delineates the critical skills necessary for proficient business communication, adhering to the organization's established guidelines and best practices. Trainees will cultivate competencies across several key areas of communication vital for professional success. Achieving mastery in these business communication skills will empower trainees to interact effectively within professional settings, thereby enhancing their ability to execute their roles with both competence and confidence.

| Competency Unit | Performance Criteria |
| --- | --- |
| CU1: Follow Communication Process | - Interpret communication process. - Enlist components of communication process. - Construct model of communication process. - Draw arrows in right direction. |
| CU2: Prepare comprehensive oral presentation | - Structure content logically with clear introduction, body and conclusion. - Use clear and concise language. - Maintain appropriate volume, tone and pace. - Address audience feedback and questions. |
| CU3: Adopt Listening Skills | - Determine specific goals and outcomes of listening tasks. - Ask clarifying questions to ensure comprehension. - Evaluate content of message. - Manage distortion to focus on speaker. |
| CU4: Build Interview Techniques for Personal Development Organization | - Interpret interview. - Perform activity as an interviewee. - Conduct question answers session. - Demonstrate comprehension by crafting relevant questions. - Apply structured techniques to systematically collect information. - Analyze both verbal and non-verbal communication. - Evaluate performance and provide feedback |
| CU5: Develop Report Writing Skills | - Determine report's purpose and target audience. - Organize content into sections such as introduction, methodology, findings, and conclusion. - Use headings, subheadings, and numbering for clarity. - Collect relevant data from credible sources. - Analyze and interpret data to support report's objectives. - Summarize key findings and insights. - Write clear and concise content for each section. - Use formal language - Include visual aids such as charts, graphs, and tables. - Prepare a presentation of report's key points. |
| CU6: Develop Group Communication Skills | - Interpret group communication. - Perform activity of meeting. - Identify good group facilitator from meeting. - Draft minutes of meeting. |

Knowledge & Understanding

- Explain basic concepts of business communication.

- Explain benefits of two-way communication.

- Describe model/process of communication.

- Explain communication flow.

- Explain barriers in communication and ways to overcome these barriers.

- Explain oral communication and strategic steps involved in oral communication.

- Explain major characteristics of oral communication.

- Explain oral presentation.

- Explain nature and types of questions.

- Explain characteristics of good questions.

- Understand principles, skills of active listening.

- Explain barriers to listening.

- Explain nature, types & significance of interview.

- Describe interviewing strategies.

- Explain report & types of reports.

- Explain structure formal and informal report.

- Describe report writing strategy.

- Describe reading & reading skills.

- Explain reading problems.

- State purpose and characteristics of major types of meeting.

- Explain responsibilities of a meeting/committee.

- Explain the key characteristics of a good group facilitator.

- Writing skill of minutes of meeting.

Critical Evidence(s) Required

- Prepare steps involved in communication process

- Introduce yourself in front of audience and speak at least for 3 minutes

- Demonstrate active listening by focusing on speaker and respond positively to ensure clear understanding

- Conduct interview session by questions answers to observe confidence level.

- Prepare and present report to audience group.

Tools and Equipment

| S No. | Description (Instruments) |
| --- | --- |
|  | Charts |
|  | Pencils |
|  | Scales |
|  | Projector |
|  | Papers |
|  | Multimedia |

### MGM-311 Industrial Management & Human Relations

Overview

This competency standard outlines the essential skills for effective Industrial Management and Human Relations, focusing on integrating psychological principles, leadership, and operational efficiency. Trainees will develop competencies in key areas including industrial psychology, leadership, motivation, job evaluation, industrial accidents, fatigue and boredom management, quality control, guidance and counseling, public relations, and industrial relations. Mastery of these skills will provide trainees with a thorough understanding of industrial operations and human relations, enhancing their effectiveness in various managerial roles.

| Competency Unit | Performance Criteria |
| --- | --- |
| CU1: Conduct Time & Motion Study | - Top of FormBottom of Form Interpret scope of time & motion study. - Conduct observations at working place. - Calculate average of all observed readings. - Match results with standard readings. |
| CU2: Maintain quality standards | - Top of FormBottom of FormInterpret quality and quality control - Compare quality with standards. - Enlist defects and non-conformities. - Develop corrective action plans. |
| CU3: Execute role of foreman | - Interpret role of foreman in industry. - Supervise team task. - Resolve conflicts negotiating solutions. - Arrange daily tasks schedule. - Conduct work place safety. |

Knowledge & Understanding

- Explain Psychology, Industrial Psychology, nature and scope of Industrial Psychology.

- Explain Leadership, types and qualities of a good leader.

- Explain Motivation and its types.

- Explain Morale, development & measurement of Morale.

- Explain Industrial Fatigue and Boredom.

- Compare Industrial Fatigue & Boredom.

- Explain psychological & objective causes of Industrial Fatigue & Boredom.

- Illustrate preventions of Industrial Fatigue & Boredom.

- Explain Industrial Accidents.

- Explain psychological & objective causes of Industrial Accidents.

- Illustrate preventions of Industrial Accidents.

- Explain Industrial Prejudice, its causes and remedies.

- Explain Public Relations its importance and functions.

- Explain Guidance & Counselling and its importance in industry.

- Explain Job Evaluation, its importance and methods.

- Explain Job Satisfaction & Work Simplification.

- Explain Management, functions of Management.

- Explain subdivision of Management.

- Explain Industrial Management and its objectives.

- Explain recruitment procedure of employees in industry.

- Explain Training and types of training.

- Explain Working Conditions and its importance.

- Explain Time & Motion Study & its importance.

- Explain sequence & principles of Time Motion & Study.

- Explain Quality & Quality Control and its methods.

- Explain ability of the foreman, duties and functions of foreman.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be declare competent in this competency standard:

- Collect detailed time measurements for each process step.

- Analyze movement efficiency.

- Implement improvements and evaluate impact on overall productivity and performance.

- Examine product quality against standards, detect defects.

- Implement corrective measures.

- Monitor outcomes to ensure continuous quality improvement.

- Manage team operations.

- Ensure safety compliance.

- Maintain workflow efficiency and meet production targets.

Tools & Equipment

| S No. | Description (Instruments) |
| --- | --- |
|  | Charts |
|  | Pencils |
|  | Scales |
|  | Stopwatch |
|  | Papers |

### ET-326 A.C. Machines

Overview:

After completion of this competency standard, the trainee/student will be able to understand the basic principles and operation of AC machines, explain transformer and motor functions, classify different AC motors, evaluate their efficiency and performance, and troubleshoot common issues.

These competency units will cover the skill and knowledge and trainee/student will be able to learn and perform all the below mentioned competency units from (CU1 to CU7).

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Install Single Phase Transformers Configurations | - Assemble single-phase transformer, including its core and windings. - Operate transformer, adjusting settings to demonstrate its functionality and efficiency. - Measure efficiency under different load conditions, identifying any performance issues. - Perform configuration of the special types of transformers for specific applications. |
| CU2. Install Three Phase Transformers, In Configurations | - Assemble Three phase transformers according to configuration requirements. - Connect transformers in configurations (Delta, wye). - Test installation to correct operation and alignment. - Adjust connections and settings based on testing results to meet operational standards. |
| CU3. Demonstrate Classification Of Ac Motors And Its Applications | - Identify types of AC motors based on their classification (e.g., synchronous, induction). - Install AC motors in desired setups for applications (e.g., fans, pumps). - Operate motors according to its application and performance. - Connect motor according to the desired task to showcase their suitability and performance. |
| CU4. Operate Three-Phase Induction Motor | - Assemble three phase induction motor, including its construction components. - Start motor and operate it to demonstrate rotation principles. - Measure key parameters such as voltage, current, and power factor. - Adjust speed control settings to regulate motor speed effectively. |
| CU5. Operate Single Phase Motor Including Split Phase, Shaded Pole, Repulsion, Series, And Fan Motors. | - Install split-phase, shaded pole, repulsion, series, and fan motors. - Operate each type of single-phase motor in applications. - Adjust settings and connections for optimal motor performance. - Measure performance parameters such as speed |
| CU6. Operate Synchronous Generator | - Assemble components of a synchronous generator correctly. - Start generator to demonstrate its performance characteristics. - Excitation of Generator. - Adjust voltage regulation settings to maintain stable output. - Synchronize generator with the grid or other generators. |
| CU7. Operate Synchronous Motors Including Three Phase, Unexcited Single-Phase, And Permanent Magnet Types. | - Connect three phase synchronous motors correctly - Operate unexcited single-phase synchronous motors, adjusting settings for function. - Start / run permanent magnet synchronous motors, monitoring performance parameters. |

Knowledge & Understanding

- Explain Transformer Construction and Operation.

- Describe the principles of electromagnetic induction as applied to AC machines.

- Illustrate the operation of different types of AC motors, including induction and synchronous motors.

- Discuss the role of different components in AC machines, such as stator, rotor, and commutator.

- Identify common faults and issues in AC machines and their impact on performance.

- Analyze the impact of power factor and load conditions on AC machine performance.

- Classify the types of AC machines in terms of their applications, advantages, and limitations.

- Demonstrate the use of measuring instruments to assess the performance of AC machines.

- Explore Speed Control Mechanisms.

- Evaluate Efficiency and Losses.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Compile transformer operation reports.

- Fill out installation records.

- Conduct motor classification demonstrations.

- Interpret performance data and analysis for under tasking Machine.

- Maintain maintenance and troubleshooting logs.

- Inspect safety compliance records.

- Present project or practical work submissions.

Tools and Equipment (For 50 students)

| Ser. | Description | Qty |
| --- | --- | --- |
| 1 | Multimeter | 10 |
| 2 | Oscilloscope | 10 |
| 3 | Power Supply | 10 |
| 4 | Transformer Test Set | 10 |
| 5 | Motor Analyzer | 10 |
| 6 | Speed Control Devices | 10 |
| 7 | Winding and Insulation Testers | 10 |
| 8 | Phase Sequence Meter | 10 |
| 9 | Current Clamp Meter | 10 |
| 10 | Drill Machine | 03 |
| 11 | Transformers (single phase, three phase, Auto) | 05 |
| 12 | Induction Machines (single phase, three phase) | 05 |
| 13 | Current Transformer (CT), Potential Transformer (PT) | 05 |
| 14 | Generators | 02 |
| 15 | Magnetic Contractor | 05 |
| 16 | Timers | 05 |
| 17 | Relays | 10 |
| 18 | Three phase breakers | 10 |

| Consumable Items |  |  | Qty |
| --- | --- | --- | --- |
| 1 | Wires and Cables | Various lengths and gauges of insulated copper wire | 180 meters |
|  |  | Power cables for connecting machines to power sources | 50 meters |
| 2 | Connectors and Terminals | Assorted electrical connectors and terminal blocks | 48 |
|  |  | Solder and soldering flux for secure connections | 25 |
| 3 | Fuses and Circuit Breakers | Replacement fuses of various ratings | 48 each |
|  |  | Miniature circuit breakers (MCBs) for circuit protection | 16 |
| 4 | Insulation Materials | Insulating tape and heat shrink tubing | 24 |
|  |  | Insulating varnish and epoxy resin | As per req. |
| 5 | Protective Components | Surge protectors and arrestors | 10 |
|  |  | Overload relays and thermal cutoffs | 20 |
| 6 | Measurement and Testing Accessories | Test leads and probes for multimeters and oscilloscopes | 100 |
|  |  | Calibration kits for instruments | 10 |
| 7 | Lubricants and Cleaning Supplies | Electrical contact cleaner | 10 |
|  |  | Lubricating oil and grease for motor bearings | 5 |
| 8 | Hardware and Fasteners | Screws, nuts, bolts, and washers | 10 pkt |
|  |  | Mounting brackets and clamps | 10 |
| 9 | Replacement Parts | Brushes and brush holders for motors | 10 |
|  |  | Bearings and seals for maintenance | 25 |
| 10 | Documentation and Record-Keeping Supplies | Lab notebooks and data sheets | 50 |
|  |  | Labeling tape and markers for identification | 50 |

### ET-332 Power Plant & Energy Conservation

Overview:

By the end of this competency standard, students will understand the fundamental principles of power plants and energy conservation. They will gain insights into various types of power plants, including thermal, hydro, and renewable sources, and their operational processes. Additionally, students will learn techniques for conserving energy, such as efficient system design, energy auditing, and implementing sustainable practices. This knowledge will equip them to optimize energy use and contribute to energy conservation efforts in practical scenarios.

These competency units will cover the skill and knowledge and trainee/student will be able to learn and perform all the below mentioned competency units.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Demonstrate Electrical Power Sources | - Measure performance parameters (e.g., voltage, current, efficiency) of different power sources using appropriate instruments. - Operate power sources under controlled conditions to assess their performance. - Record data accurately from measurements and tests conducted on each power source. - Adjust settings and configurations to evaluate the impact on performance and efficiency. - Compare performance results to identify power sources. - Demonstrate practical understanding by setting up and conducting tests for different power sources. |
| CU2. Demonstrate Techniques To Control Operation Of Thermal Power Plant | - Operate thermal power plant equipment to regulate temperature and pressure. - Control fuel and water input to maintain optimal operating conditions. - Monitor system parameters (e.g., temperature, pressure) using control panels and instrumentation. - Adjust operational settings for safe plant performance. - Conduct routine checks and calibrations on equipment to maintain operational standards. |
| CU3. Demonstrate Techniques To Control Operation Of Nuclear Power Plant | - Operate nuclear reactor systems to control reactor core conditions and power output. - Adjust control rods and coolant flow to regulate the nuclear reaction. - Monitor reactor parameters (e.g., temperature, radiation levels) using specialized instrumentation. - Calibrate control systems and safety mechanisms to ensure precise operation. - Conduct emergency drills and safety checks to maintain plant safety and compliance. |
| CU4. Demonstrate Techniques To Control Operation Of Hydel Power Stations | - Operate turbine and generator systems to manage water flow and power generation. - Adjust gate settings and flow controls to regulate the water supply to the turbines. - Monitor performance parameters (e.g., water levels, turbine speed) using control panels and instruments. - Calibrate equipment for optimal operation and efficiency of the hydel power station. - Conduct routine inspections and maintenance for safe operation of plant. |
| CU5. Demonstrate Techniques To Control Operation Of Gas Turbine Power Stations | - Operate Gas turbine power plant equipment to regulate temperature and pressure. - Control gas and air intake to maintain ideal mixture for combustion. - Monitor system parameters (e.g., mixture of fuel & air, turbine speed) using control panels and instrumentation. - Adjust operational setting for safe plant performance. - Conduct routine checks and calibrations on equipment to maintain operational standards. |
| CU6. Demonstrate Techniques To Control Operation Of Renewable Energy Power Stations | - Operate renewable energy systems (e.g., solar panels, wind turbines) to manage energy production. - Adjust settings and controls to optimize energy output from renewable sources. - Monitor performance metrics (e.g., energy yield, system efficiency) using control systems and instruments. - Calibrate renewable energy equipment to maintain optimal performance and accuracy. - Conduct maintenance tasks and inspections to ensure the continuous and safe operation of renewable energy power stations. |
| CU7. Calculate Tariffs To Conduct Economic Assessments | - Calculate energy tariffs based on usage data and rate structures. - Analyze economic data to assess the financial viability of energy projects. - Apply mathematical formulas and tools to determine cost-effectiveness and profitability. - Prepare detailed reports on tariff calculations and economic assessments. - Adjust financial models and assumptions to reflect changing economic conditions and regulatory requirements. |
| CU8. Demonstrate Techniques For Energy Conservation | - Implement energy-saving measures in various settings (e.g., lighting, insulation). - Adjust equipment settings to optimize energy efficiency. - Apply conservation techniques to reduce energy consumption in different systems. - Monitor energy use and effectiveness of conservation techniques. - Demonstrate practical examples of energy-efficient practices and technologies. |

Knowledge & Understanding

- Utilize thermal cameras to detect inefficiencies in power plants.

- Apply energy audit techniques to evaluate energy usage and conservation opportunities.

- Conduct simulations to analyze the impact of various energy conservation measures.

- Implement best practices for energy management and optimization.

- Compare different energy conservation technologies and their effectiveness.

- Analyze the performance of energy-saving devices and systems.

- Investigate case studies on successful energy conservation projects.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare operational reports.

- Perform economic assessment calculations.

- Demonstrate practical applications of concerned power plant.

- Analyze efficiency of concerned power plant.

- Implement safety protocols compliance.

- Evaluate environmental impact assessments.

- Compile project reports.

Tools and Equipment

| Ser. | Description | Qty |
| --- | --- | --- |
| 1 | Power Plant Simulators | 10 |
| 2 | Energy Meters | 10 |
| 3 | Thermal Cameras | 10 |
| 4 | Flow Meters | 10 |
| 5 | Pressure Gauges | 10 |
| 6 | Multimeters | 15 |
| 7 | Data Loggers | 10 |
| 8 | Emission Analyzers | 10 |
| 9 | Heat Exchangers | 3 |
| 10 | Model of hydro-electric power plant | 01 |
| 11 | Model of Thermal power plant | 01 |
| 12 | Model of gas power plant | 01 |
| 13 | Model of solar power plant | 01 |
| 14 | Model of wind power plant | 01 |

### ET-345 Transmission, Distribution & Protection of Electrical Power System

Overview:

This competency standard will cover the under pinning knowledge and skills required for a student's / trainees. After completing the competency standard the students / trainees will able to perform the following tasks covered in the competency standard of ‘Transmission, Distribution, and Protection of Electrical Power Systems'.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1 Analyze Electrical Load Of Institute. | - Conduct energy audit of institute. - Record data of energy audit of institute. - Calculate electrical load of institute. - Prepare report of energy audit of institute. |
| CU2. Demonstrate Electrical Transmission Systems | - Assemble components of electrical transmission systems. - Inspect electrical transmission lines - Demonstrate equipment used in electrical transmission systems. - Test functionality of electrical transmission systems. - Demonstrate instruments used in electrical transmission systems. |
| CU3. Evaluate Transmission Line Constants, Voltage Drops, And its Effects . | - Measure line constants using appropriate instruments. - Calculate voltage drops in electrical Transmission line circuits. - Analyze effects of line constants and voltage drops on electrical design. - Record findings from evaluations and measurements. - Adjust design parameters based on evaluation results. |
| CU4. Assemble Mechanical Components Of Transmission And Distribution Lines, Including Conductors, Insulators, Supports, And Sag | - Position conductors, insulators, supports, and sag according to specifications. - Align / secure components to ensure proper assembly. - Install conductors and insulators, ensuring correct placement and tension. - Adjust supports and sag to meet design requirements. - Verify assembly for accuracy and stability. |
| CU5. Demonstrate Installation Of Underground Power Cables, Including Classification, Construction And Jointing. | - Identify types of underground power cables and their classifications. - Install cable according to specified guidelines. - Measure / adjust capacitance for smooth functioning. - Make cable Joint as per standards |
| CU6. Demonstrate High Voltage Direct Current Lines (HVDC) System Components Also Evaluate Its Merits And Demerits. | - Identify HVDC system components and their functions. - Assemble HVDC system components according to technical specifications. - Operate HVDC system components to demonstrate their functionality. - Assess performance of HVDC components to determine their operational efficiency. - Evaluate advantages and disadvantages of HVDC systems through practical tests and observations. |
| CU7. Perform Calculations about DC and AC Distribution Lines, | - Calculate voltage drop in DC and AC distribution lines using given data. - Measure power loss in DC and AC distribution lines with appropriate tools. - Draw vector diagrams to represent voltage and current relationships in AC distribution system. - Analyze calculations and vector diagrams to assess AC distribution line performance. - Verify accuracy of voltage drop and power loss calculations through practical tests. |
| CU8. Demonstrate Ac And Dc Balancers, Boosters, Including Their Types And Uses. | P1. Assemble AC and DC balancers and boosters according to specifications. P2. Operate types of AC and DC balancers to demonstrate their functionality. P3. Configure boosters for applications to showcase their uses. P4. Adjust settings on balancers and boosters to achieve desired performance. P5. Test AC and DC balancers and boosters to ensure correct operation and effectiveness. |
| CU09. Configure Sub-Stations, Including Classification, Equipment, Grounding Methods, And Interconnected Systems. | P1. Assemble sub-station components according to classification requirements. P2. Install equipment in sub-stations following standard procedures. P3. Apply grounding methods for safety and performance. P4. Connect interconnected systems to integrate sub-station operations. P5. Set configurations to match the operational specifications of the sub-station. |
| CU10.Configer Protective Relays Used In Power System. | - Connect Buchholz's relay, Induction relay, Impedance relay, Frequency relay, Static relays. - Draw sketches of Buchholz's relay, Induction relay, Impedance relay, Frequency relay, Static relays. - Check performance of Buchholz's relay, Induction relay, Impedance relay, Frequency relay, Static relays. |
| CU11.Operate Circuit Breakers, Isolators, And Lightning Arrestors | - Interpret layout of circuit. - Identify circuit breakers, isolators and lightning arrestors. - Install circuit breakers, isolators and lightning arrestors. - Connect circuit breakers, isolators and lightning arrestors. - Check operation of circuit breakers, isolators and lightning arrestors. |

Knowledge & Understanding

- Study the types of electrical power systems: transmission, distribution, and protection systems.

- Study the components and functions of transmission systems, including transmission lines, substations, and transformers.

- Study the components and functions of distribution systems, including feeders, distribution lines, and distribution transformers.

- Study protection devices and methods used in electrical power systems.

- Define grounding methods and their importance in power systems.

- Define the principles of AC and DC system protection and their applications.

- Study the different types of circuit breakers, including their operation and applications.

- Study the principles of relay protection systems and their role in power system protection.

- Study over current, differential and distance protection schemes, and their applications in power systems.

- Study the methods for maintaining and troubleshooting power systems, including preventive maintenance and fault diagnosis techniques.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Assemble a model of a transmission system, including transmission lines, substations, and transformers.

- Install protection devices such as circuit breakers and relays in a simulated power system.

- Demonstrate the grounding methods used in power systems through practical setup.

- Calibrate overcurrent, differential, and distance protection relays.

- Test the operation of circuit breakers and relays under simulated fault conditions.

- Construct a distribution network model, including feeders, distribution lines, and distribution transformers.

- Perform preventive maintenance on power system components.

- Troubleshoot faults in a simulated power system and implement appropriate corrective actions.

- Measure voltage, current, and other electrical parameters in transmission and distribution systems using appropriate tools.

- Operate a relay protection system and demonstrate its function in protecting the power system.

Tools and Equipment

| SN | Description | Qty |
| --- | --- | --- |
| 1 | Insulation Resistance Tester | 15 |
| 2 | Circuit Breaker Analyzer | 25 |
| 3 | Protective Relay Test Set | 25 |
| 4 | Power Quality Analyzer | 10 |
| 5 | Voltage and Current Meters | 10 |
| 6 | Clamp Meter | 10 |
| 7 | Power Transformer Test Equipment | 5 |
| 8 | Cable Insulation Tester | 10 |
| 9 | Transmission Line Simulation | 5 |
| 10 | Protection Scheme Demonstration Kit | 10 |

| Consumables Items |  |  | Qty |
| --- | --- | --- | --- |
| 1 | Cables and Conductors | Power cables (low, medium, and high voltage) | 30 meter each |
|  |  | Overhead conductors (ACSR, AAAC, copper) | 30 meter each |
| 2 | Connectors and Accessories | Cable lugs and connectors | 50 |
|  |  | Splicing kits | 50 |
|  |  | Termination kits | 50 |
|  |  | Insulators (porcelain, glass, polymer) | 50 |
| 3 | Protective Devices | - Fuses and fuse links | 50 |
|  |  | - Surge arresters | 10 |
|  |  | - Circuit breakers (oil, SF6, vacuum, air) | 15 |
|  |  | - Reclosers | 15 |
| 4 | Transformers | - Transformer oil | 10 lts |
|  |  | - Bushings | 30 |
|  |  | - Tap changers | 10 |
| 5 | Grounding Materials | - Ground rods | 10 |
|  |  | - Ground wires | 30 meters |
|  |  | - Grounding clamps | 15 |
| 6 | Accessories | - Insulation tapes | 25 |
|  |  | - Heat shrink tubes | 10 rolls |
|  |  | - Cable ties | 10 pks |
|  |  | - Markers and labels | 25 |
| 7 | Sensors and Measurement Devices | - Current transformers (CTs) | 5 |
|  |  | - Potential transformers (PTs) | 5 |
|  |  | - Voltage sensors | 15 |
|  |  | - Current sensors | 15 |
| 8 | Testing and Monitoring Devices | - Multimeters | 25 |
|  |  | - Insulation testers | 25 |
|  |  | - Power quality analyzers | 2 |

### ET-303 Telecommunication

Overview:

By the end of this competency standard, students will understand the fundamental principles of telecommunication in electrical power systems. They will gain knowledge of communication protocols, data transmission techniques, and the integration of telecommunication systems with power grids. Additionally, students will be able to apply these concepts to enhance the monitoring, control, and protection of electrical power systems, ensuring efficient and reliable operation.

These competency units will cover the skill and knowledge and trainee/student will be able to learn and perform all the below mentioned competency units.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Configure Telephony Systems, Including Network Diagrams And PSTN Structure. | - Draw network diagrams for telephony systems. - Identify PSTN components and the role of local, trunk and international exchanges - Draw call setup and interconnection of network. - Test telephony systems for proper operation. - Adjust settings for optimal performance. |
| CU2.Configure Networks, Including Mobile, Cable TV, Internet, And Specialist PSTN Networks. | - Verify network connectivity and functionality. - Draw Communication networks interconnection. - Connect mobile network components. - Install cable TV network infrastructure. - Set up internet network systems. - Assemble specialist PSTN network elements. - Test network configurations for functionality. - Adjust network settings for optimal performance. - Verify network connectivity and signal strength. |
| CU3. Setup Network Including Topologies, Switching, Control, Multiplexing, And Link Components. | - Arrange network topology components. - Connect switching devices in the network. - Install control units for network management. - Implement multiplexing techniques in the network. - Link network components for seamless communication. |
| CU4.Demonstrate Transmission Media | - Inspect transmission principles. - Test transmission media. - Draw modulating schemes. - Measure multiplexed payloads in transmission systems. - Calibrate equipment for evaluating transmission systems. - Record data from transmission system tests. - Operate tools to analyze transmission system performance. - Assemble components to demonstrate transmission system principles. |
| CU5.Configure Access And Core Transmission Networks. | - Set up access network equipment according to specifications. - Connect core transmission network components. - Align transmission pathways for optimal performance. - Test network configurations for functionality and reliability. |
| CU6.Configure Dimension Circuit Switching Networks And Systems. | - Adjust system parameters to meet dimensioning requirements. - Connect circuit paths according to network design. - Verify functionality of the configured network. - Test performance of the circuit switching systems. |
| CU7.Implement Signaling Protocols And Control Telecommunication Networks. | - Set signaling protocol configurations according to network requirements. - Operate control interfaces to manage network traffic. - Adjust signaling parameters to optimize network performance. - Test network control functions for proper operation. |
| CU8. Configure Packet Switching, Internet, VOIP Networks, And Local Area Networks. | P1. Assemble packet switching network components. P2. Connect internet network devices. P3. Set up VoIP network configurations. P4. Arrange local area network equipment. P5. Adjust network parameters for optimal performance. |
| CU9. Configure Mobile Networks Including GSM, GPRS, LTE, And Multi-Generation Systems. | P1. Assemble GSM network components. P2. Set up GPRS network infrastructure. P3. Adjust LTE network configurations. P4. Connect multi-generation system elements. P5. Align mobile network parameters for integration. |

Knowledge & Understanding

- Study telecommunication network types: GSM, GPRS, LTE, and multi-generation systems.

- Explore packet switching, internet, VoIP networks, and local area networks.

- Examine signaling protocols and their role in controlling telecommunication networks.

- Analyze the architecture and functionality of cellular networks.

- Implement basic troubleshooting techniques for telecommunication systems.

- Configure network devices for optimal performance in telecommunication systems.

- Investigate the integration of different telecommunication technologies.

- Assess the impact of network congestion and latency on telecommunication performance.

- Apply security measures to protect telecommunication networks from unauthorized access.

- Demonstrate the use of diagnostic tools to identify and resolve network issues.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in the Telecommunication course:

- Demonstrate configuration of telephony systems, including network diagrams and PSTN structure.

- Configure various types of networks, such as mobile, cable TV, internet, and specialist PSTN networks.

- Setup a network, including topologies, switching, control, multiplexing, and link components.

- Evaluate transmission systems, including principles, media, and multiplexed payloads.

- Configure access and core transmission networks.

- Configure dimension circuit switching networks and systems.

- Implement signaling protocols and control telecommunication networks.

- Configure packet switching, internet, VoIP networks, and local area networks.

- Configure mobile networks, including GSM, GPRS, LTE, and multi-generation systems.

Tools and Equipment

| SN | Description | Qty |
| --- | --- | --- |
| 1 | Network Analyzer | 10 |
| 2 | Signal Generator | 10 |
| 3 | Spectrum Analyzer | 5 |
| 4 | Cable Tester | 25 |
| 5 | Oscilloscope | 10 |
| 6 | Network Simulator | 5 |
| 7 | RF Meter | 10 |
| 8 | Patch Panel | 15 |
| 9 | Network Protocol Analyzer (Sniffer) | 15 |
| 10 | VoIP Tester | 15 |
| 11 | Fiber Optic Test Equipment | 15 |
| 12 | Telephone Line Tester | 10 |
| 13 | Wireless Signal Strength Meter | 15 |

| Consumable Items |  |  | Qty |
| --- | --- | --- | --- |
| 1 | Cables and Connectors | - Coaxial cables | 150 meters |
|  |  | - Fiber optic cables | 150 meters |
|  |  | - Ethernet cables | 150 meters |
|  |  | - Connectors (RJ45, BNC, SC, LC) | 50 |
| 2 | Cable Management | - Cable ties | 5pkt |
|  |  | - Cable labels | 5pkt |
|  |  | - Cable clips | 5pkt |
|  |  | - Velcro straps | 5pkt |
| 3 | Patch Panels and Patch Cords | - Ethernet patch panels | 10 |
|  |  | - Fiber optic patch panels | 10 |
|  |  | - Patch cords (Cat5e, Cat6, Cat6a, Cat7) | 10 |
| 4 | Fuses and Circuit Protection | - Fuses for equipment protection | 50 |
|  |  | - Surge protectors | 10 |
| 5 | Cleaning Supplies | - Fiber optic cleaning kits | 10 |
|  |  | - Cleaning wipes | 25 |
| 6 | Splicing and Termination Supplies | - Fusion splicing sleeves | 25 |
|  |  | - Fiber optic connectors | 25 |
|  |  | - Heat shrink tubing | 25 |

ET-363 Repair & Maintenance of Electrical Equipment

Overview:

By the end of this competency standard, students will understand the key concepts and techniques in the transmission, distribution, and protection of electrical power systems. They will learn to maintain power networks, implement protection measures, and ensure efficient power delivery while addressing overvoltage and undervoltage issues.

These competency units will cover the skill and knowledge and trainee/student will be able to learn and perform all the below mentioned competency units from CU1 to CU10.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform Maintenance Adopting Safety Procedures Per "Set Standards" Or Requirement. | - Inspect equipment for signs of wear and potential failure. - Replace worn-out components to ensure optimal performance. - Lubricate moving parts according to the maintenance schedule. - Clean electrical contacts and connectors to maintain good conductivity. - Test system functionality after maintenance procedures. - Document maintenance activities and findings accurately. - Calibrate instruments and sensors to maintain accuracy. - Verify operation of safety devices and emergency systems. - Follow safety protocols and wear appropriate personal protective equipment (PPE). |
| CU2.Identify Faults In Starters And Speed Controllers, Including Magnetic, Star-Delta, Inverter, And DC Drives. | - Inspect magnetic starters for physical damage or wear. - Test star-delta starters for correct sequence and timing. - Measure voltage and current in inverter drives to detect anomalies. - Check connections and wiring in DC drives for continuity. - Check operational behavior of speed controllers for irregularities. - Analyze diagnostic data from starters and drives to pinpoint faults. - Replace defective components in magnetic starters. - Adjust settings in star-delta starters to ensure proper operation. - Calibrate inverter drives to meet performance specifications. - Verify repairs by running performance tests on DC drives. |
| CU3. Troubleshoot Squirrel Cage, Wound Rotor, And Synchronous 3-Phase AC Motors. | - Inspect squirrel cage motors for signs of wear or damage. - Measure resistance in wound rotor motor windings. - Test synchronous motors for proper phase alignment. - Analyze vibration patterns in squirrel cage motors. - Check rotor resistance in wound rotor motors. - Check synchronous motor operation for irregularities. - Diagnose issues using motor testing equipment. - Disassemble motors to access internal components. - Replace faulty components in wound rotor motors. - Reassemble motors after completing repairs. - Verify motor performance post-repair through operational tests - Locate faults in squirrel cage motors. - Repair damaged windings in wound rotor motors. - Align rotors in synchronous motors. - Adjust settings for optimal motor performance. - Replace defective bearings in squirrel cage motors. - Reconnect loose or broken wires in wound rotor motors. - Recalibrate synchronous motors to correct phase issues. - Secure all motor components to prevent movement. - Lubricate moving parts to reduce friction. - Test motors after repairs to ensure functionality. |
| CU4.Troubleshoot Faults In DC Series, Shunt, And Compound Motors. | - Identify symptoms of faults in DC series motors. - Inspect connections in DC shunt motors. - Measure resistance in compound motors. - Examine brushes and commutators for wear in DC series motors. - Test field windings in DC shunt motors. - Analyze voltage drops in compound motors. - Detect abnormal noises in DC series motors. - Check insulation breakdown in DC shunt motors. - Assess performance under load conditions in compound motors. - Trace circuit paths to locate open or short circuits in DC series motors. |
| CU5.Troubleshoot Faults In DC Series, Shunt, And Compound Generators. | - Identify symptoms of faults in DC series generators. - Inspect connections in DC shunt generators. - Measure resistance in compound generators. - Examine brushes and commutators for wear in DC series generators. - Test field windings in DC shunt generators. - Analyze voltage outputs in compound generators. - Detect abnormal noises in DC series generators. - Check insulation breakdown in DC shunt generators. - Assess performance under load conditions in compound generators. - Trace circuit paths to locate open or short circuits in DC series generators. |
| CU6.Troubleshoot Faults In 3-Phase Salient And Non-Salient Pole Alternators. | - Identify faults in 3-phase salient pole alternators. - Inspect connections and wiring in non-salient pole alternators. - Measure voltage and current in 3-phase salient pole alternators. - Examine condition of brushes and slip rings in non-salient pole alternators. - Test insulation resistance in 3-phase salient pole alternators. - Check overheating in non-salient pole alternators. - Assess alignment and balance in 3-phase salient pole alternators. - Detect irregularities in phase voltages in non-salient pole alternators. - Analyze waveform distortions in 3-phase salient pole alternators. - Verify operation of protective devices in non-salient pole alternators. |
| CU7. Troubleshoot Faults In Oil-Cooled, Air-Cooled, And Auto Transformers. | P1. Inspect oil-cooled transformers for leaks and damage. P2. Measure insulation resistance in air-cooled transformers. P3. Check overheating in auto transformers. Test voltage levels in oil-cooled transformers. P4. Examine cooling systems in air-cooled transformers. P5. Verify connections in auto transformers. P6. Assess the condition of transformer oil in oil-cooled transformers. P7. Analyze performance under load in air-cooled transformers. P8. Detect abnormal noise in auto transformers. P9. Evaluate the response of protection devices in oil-cooled transformers. |
| CU8. Troubleshoot Faults In Automatic Irons, Toasters, Refrigerators, Air Conditioners, Washing Machines, Microwave Ovens, And Ups Systems. | - Inspect automatic irons for heating element faults. - Test toasters for electrical continuity issues. - Examine refrigerators for refrigerant leaks and compressor faults. - Check air conditioners for refrigerant levels and compressor operation. - Evaluate washing machines for motor and control malfunctions. - Measure microwave ovens for high-voltage capacitor and magnetron issues. - Assess UPS systems for battery and inverter performance. - Analyze wiring and connections in automatic irons for shorts. - Verify thermostat operation in toasters and refrigerators. - Detect unusual noises in air conditioners and washing machines. |
| CU9. Inspect Faults In Lead Acid, Alkaline, And Lithium-Ion Batteries, Ensuring Safe Handling | - Examine lead acid batteries for physical damage and leakage. - Test alkaline batteries for charge and capacity. - Check lithium-ion batteries for voltage and thermal conditions. - Assess battery terminals for corrosion and connection issues. - Verify safety measures during battery inspection. - Measure electrolyte levels in lead acid batteries. - Inspect battery casings for cracks and deformation. - Identify signs of swelling or overheating in lithium-ion batteries. - Observe correct handling procedures to prevent accidents. - Perform load tests to evaluate battery performance. |

Knowledge & Understanding

- Study types of electrical equipment, including transformers, motors, and generators.

- Examine common faults and failures in electrical equipment and their causes.

- Define troubleshooting techniques and safety procedures for repairing electrical equipment.

- Understand the principles of preventive and corrective maintenance practices.

- Explore diagnostic tools and equipment used in electrical equipment repair and maintenance.

- Apply maintenance procedures to ensure efficient operation of electrical equipment.

- Analyze failure patterns to improve equipment reliability.

- Utilize testing instruments to assess the condition of electrical components.

- Implement corrective actions based on diagnostic results.

- Evaluate the effectiveness of maintenance practices in preventing equipment failures.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare detailed reports.

- Maintain logs of maintenance activities.

- Generate diagnostic records.

- Follow safety procedures.

- Provide evidence of repairs.

- Demonstrate technical skills.

Tools and Equipment

| SN | Description | Qty |
| --- | --- | --- |
| 1 | Multimeter | 25 |
| 2 | Insulation Tester | 25 |
| 3 | Clamp Meter | 25 |
| 4 | Oscilloscope | 10 |
| 5 | Circuit Tester | 20 |
| 6 | Power Analyzer | 10 |
| 7 | Soldering Iron | 25 |
| 8 | Wire Strippers | 25 |
| 9 | Crimping Tool | 25 |
| 10 | Thermal Camera | 5 |
| 11 | Voltage Tester | 15 |
| 12 | Tool Kit | 25 |
| 13 | Insulated Hand Tools | 25 |
| 14 | Safety Equipment (PPEs) | 50 each |

| Consumable Items |  |  | Qty |
| --- | --- | --- | --- |
| 1 | Fuses and Circuit Breakers | - Glass fuses, ceramic fuses, automotive fuses, thermal fuses | 25 |
|  |  | - Miniature circuit breakers (MCBs), residual current devices (RCDs) | 25 |
| 2 | Connectors and Terminals | - Spade connectors, ring terminals, butt connectors | 50 |
|  |  | - Quick disconnects, wire nuts, terminal blocks, crimp terminals | 50 |
| 3 | Wires and Cables | - Multi-strand wires, single-core wires | 200 meters |
|  |  | - Insulated copper wires, silicone wires, heat-resistant wires | 200 meters |
| 4 | Heat Shrink Tubing | - Different diameters, lengths, and colors | 15 |
|  |  | - Dual-wall heat shrink tubing with adhesive | 15 |
| 5 | Electrical Tape | - PVC insulating tape, self-fusing silicone tape | 25 |
|  |  | - High-temperature electrical tape, flame-retardant tape | 25 |
| 6 | Solder and Soldering Supplies | - Lead-free solder wire, flux-cored solder wire | 15 |
|  |  | - Solder paste, liquid flux, desoldering braid, soldering iron tips | 20 |
| 7 | Switches and Relays | - Toggle switches, rocker switches, push-button switches | 25 |
|  |  | - Automotive relays, solid-state relays, electromagnetic relays | 25 |
| 8 | Light Bulbs and LEDs | - Incandescent bulbs, compact fluorescent lamps (CFLs) | 48 |
|  |  | - Light-emitting diodes (LEDs), LED strips | 48 |
| 9 | Cleaning Supplies | - Contact cleaner spray, isopropyl alcohol (IPA) | 10 |
|  |  | - Compressed air cans, anti-static brushes | 10 |

### ET-373 Industrial Electronics

Overview:

After completion of this ccompetency, the student will be able to understand and apply electronic principles in industrial settings, troubleshoot electronic devices, implement control systems, and design and maintain electronic systems effectively.

These competency units will cover the skill and knowledge and trainee/student will be able to learn and perform all the below mentioned competency units from CU1 to CU6.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Operate Power Diodes, Silicon Control Rectifiers (SCRS), And Insulated Gate Bipolar Transistor (IGBTS,) In Their Series Configurations. | - Operate power diodes in circuits. - Operate IGBTs in multiple applications. - Connect power diodes in series configurations. - Connect SCRs in series configurations. - Connect IGBTs in series configurations. |
| Cu2. Evaluate Power Diodes, Silicon Control Rectifiers (SCRS), And Insulated Gate Bipolar Transistor (IGBTS,) In Their Parallel Configurations. | - Operate power diode in circuit. - Operate IGBTs in multiple applications. - Connect power diodes in parallel configurations. - Connect SCRs in parallel configurations. - Connect IGBTs in parallel configurations. |
| CU3.Set Up Controlled Rectifier Circuits, Both Forced And Naturally Commutated. | - Assemble forced commutated rectifier circuits. - Assemble naturally commutated rectifier circuits. - Connect components in forced commutated rectifier circuits. - Connect components in naturally commutated rectifier circuits. - Adjust settings for forced commutated rectifier circuits. - Adjust settings for naturally commutated rectifier circuits. |
| CU4. Evaluate 1-Phase Full-Wave Inverters And Implement Four-Quadrant Control. | - Operate 1-phase full-wave inverters - Implement four-quadrant control for 1-phase inverters. |
| CU5. Evaluate 3-Phase Full-Wave Inverters And Implement Four-Quadrant Control. | - Operate 3-phase full-wave inverters. - Implement four-quadrant control for 3-phase inverter |
| CU6.Implement DC And AC Motor Control Systems Using Rectifiers And SCR Cyclo-Converters. | - Connect DC motor control systems using rectifiers. - Connect AC motor control systems using rectifiers. - Configure DC motor control systems using SCR cyclo-converters. - Configure AC motor control systems using SCR cyclo-converters. |
| CU7.Demonstrate Synchro-Generator, Synchro-Motor, And AC/DC Servo-Mechanisms. | - Operate synchro-generators. - Operate synchro-motors. - Operate AC servo-mechanisms. - Operate DC servo-mechanisms. |
| CU8.Program PLCs Using Ladder Logic And Control Motor Circuits. | - Configure input and output modules for PLCs. - Debug ladder logic programs for PLCs. - Test motor circuits controlled by PLCs. - Calibrate sensors and actuators interfaced with PLCs. - Modify existing ladder logic programs to meet new requirements. |

Knowledge & Understanding

Examine the integration of semiconductor devices in industrial systems.

Apply knowledge of power electronic components in practical scenarios.

Demonstrate the operation and programming of PLCs in automation tasks.

Analyze the performance of various control systems in industrial applications.

Implement effective troubleshooting techniques for electronic and control systems.

Evaluate the impact of different power electronics on energy efficiency.

Construct practical circuits using semiconductor devices for industrial applications.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform open and closed loop induction motor speed control

- Demonstrate working of 1- Phase full wave inverter circuit

- Demonstrate working of 3- Phase full wave inverter circuit

- Implement motor control systems.

- Set up and test controlled rectifier circuits.

- Demonstrate PLC programming skills.

Tools and Equipment

| SN | Description | Qty |
| --- | --- | --- |
| 1 | Oscilloscope | 10 |
| 2 | Multimeter | 15 |
| 3 | Function Generator | 10 |
| 4 | Power Supply | 10 |
| 5 | Soldering Iron | 25 |
| 6 | Electronic Load | As per req. |
| 7 | Test Bench | 10 |
| 8 | PLC (Programmable Logic Controller) | 5 |
| 9 | DC and AC Motor Controllers | 5 |
| 10 | Breadboards | 25 |

| Consumable Items |  |  | Qty |
| --- | --- | --- | --- |
| 1 | Wires and Cables | - Hook-up wires | 100 meters |
|  |  | - Shielded cables | 100 meters |
|  |  | - Ethernet cables | 250 meters |
|  |  | - Power cables | 100 meters |
| 2 | Connectors and Terminals: | - Wire connectors (e.g., Wago connectors) | 50 |
|  |  | - Terminal blocks | 100 |
|  |  | - Crimp terminals | 100 |
|  |  | - DIN rail terminals | 100 |
| 3 | Fuses and Circuit Breakers | - Various types of fuses | 50 |
|  |  | - Circuit breakers | 40 |
| 4 | Relays and Contactors: | - Electromechanical relays | 40 |
|  |  | - Solid-state relays | 50 |
|  |  | - Contactors | 50 |
| 5 | Sensors | - Proximity sensors (inductive, capacitive) | 50 |
|  |  | - Photoelectric sensors | 50 |
|  |  | - Temperature sensors | 50 |
|  |  | - Pressure sensors | 50 |
| 6 | Accessories | - Push buttons | 100 |
|  |  | - Toggle switches | 100 |
|  |  | - Limit switches | 100 |
|  |  | - Selector switches | 100 |

Lab 1

Tools and Equipment’s with all materials for the Machines Lab (AC Machines, Repair and Maintenance)

Size of lab should be 40*60fts / 60*60fts

| Ser. | Description | Qty |
| --- | --- | --- |
| 1 | Multimeter | 10 |
| 2 | Oscilloscope | 10 |
| 3 | Power Supply | 10 |
| 4 | Transformer Test Set | 10 |
| 5 | Motor Analyzer | 10 |
| 6 | Speed Control Devices | 10 |
| 7 | Winding and Insulation Testers | 10 |
| 8 | Phase Sequence Meter | 10 |
| 9 | Current Clamp Meter | 10 |
| 10 | Drill Machine | 03 |
| 11 | Transformers (1-phase, 3-phase, Auto) | 05 |
| 12 | Induction Machines (1-phase, 3-phase) | 05 |
| 13 | CT, PT | 05 |
| 14 | Generators | 02 |
| 15 | Magnetic Contractor | 05 |
| 16 | Timers | 05 |
| 17 | Relays | 10 |
| 18 | Three phase breakers | 10 |
| 19 | Insulation Tester | 25 |
| 20 | Clamp Meter | 25 |
| 21 | Circuit Tester | 20 |
| 22 | Power Analyzer | 10 |
| 23 | Soldering Iron | 25 |
| 24 | Wire Strippers | 25 |
| 25 | Crimping Tool | 25 |
| 26 | Thermal Camera | 5 |
| 27 | Voltage Tester | 15 |
| 28 | Tool Kit | 25 |
| 29 | Insulated Hand Tools | 25 |
| 30 | Safety Equipment (PPEs) | 50 each |

LAB 2

Tools and Equipment’s with all materials for the Power Lab (Transmission, Distribution & Protection of Electrical Power System, Power Plant & Energy Conservation)

Size of lab should be 40*60fts / 60*60fts

| SN | Description | Qty |
| --- | --- | --- |
| 1 | Insulation Resistance Tester | 15 |
| 2 | Circuit Breaker Analyzer | 25 |
| 3 | Protective Relay Test Set | 25 |
| 4 | Power Quality Analyzer | 10 |
| 5 | Voltage and Current Meters | 10 |
| 6 | Clamp Meter | 10 |
| 7 | Power Transformer Test Equipment | 5 |
| 8 | Cable Insulation Tester | 10 |
| 9 | Transmission Line Simulation | 5 |
| 10 | Protection Scheme Demonstration Kit | 10 |
| 11 | Power Plant Simulators | 10 |
| 12 | Energy Meters | 10 |
| 13 | Thermal Cameras | 10 |
| 14 | Flow Meters | 10 |
| 15 | Pressure Gauges | 10 |
| 16 | Multimeters | 15 |
| 17 | Data Loggers | 10 |
| 18 | Emission Analyzers | 10 |
| 19 | Heat Exchangers | 3 |
| 20 | Model of hydro-electric power plant | 01 |
| 21 | Model of Thermal power plant | 01 |
| 22 | Model of gas power plant | 01 |
| 23 | Model of solar power plant | 01 |
| 24 | Model of wind power plant | 01 |
| 25 | Workbench | 10 |
| 26 | Power drill Machine | 2 |

Lab 3

Tools and Equipment’s with all materials for the communication lab (Telecommunication)

Size of lab should be 40*60fts / 60*60fts

| SN | Description | Qty |
| --- | --- | --- |
| 1 | Network Analyzer | 10 |
| 2 | Signal Generator | 10 |
| 3 | Spectrum Analyzer | 5 |
| 4 | Cable Tester | 25 |
| 5 | Oscilloscope | 10 |
| 6 | Network Simulator | 5 |
| 7 | RF Meter | 10 |
| 8 | Patch Panel | 15 |
| 9 | Network Protocol Analyzer (Sniffer) | 15 |
| 10 | VoIP Tester | 15 |
| 11 | Fiber Optic Test Equipment | 15 |
| 12 | Telephone Line Tester | 10 |
| 13 | Wireless Signal Strength Meter | 15 |
| 14 | Workbench | 10 |

Lab 4

Tools and Equipment’s with all materials for the Electronics Lab (Industrial Electronics)

Size of lab should be 40*60fts / 60*60fts

| SN | Description | Qty |
| --- | --- | --- |
| 1 | Oscilloscope | 10 |
| 2 | Multimeter | 15 |
| 3 | Function Generator | 10 |
| 4 | Power Supply | 10 |
| 5 | Soldering Iron | 25 |
| 6 | Electronic Load | As per req. |
| 7 | Test Bench | 10 |
| 8 | PLC (Programmable Logic Controller) | 5 |
| 9 | DC and AC Motor Controllers | 5 |
| 10 | Breadboards | 25 |
| 11 | Workbench | 10 |

### Members of Curriculum Development Committee

The following members participated in the curriculum development process:

| S. No. | Name | Organization |
| --- | --- | --- |
|  | Engr. Abdul Shakoor | Elec Engr , Multan |
|  | Muhammad Iqbal | Assistant Director, KP TEVTA Peshawar |
|  | Muhammad Zia | Lect, KP TEVTA Peshawar |
|  | Muhammad Fawad | Deputy Director, KP TEVTA Peshawar |
|  | Engr. Muhammad Rizwan | ABAD, Karachi |
|  | Dr. Omer | NUML, Islamabad |
|  | Mr Touqeer | Instructor GCT Layyah |
|  | Mujeeb ur Rahman | Lecturer, GTTTC, Peshawar |
|  | Basit Taj | Lecturer NUTECH, Isb |
|  | Tanveer Ahmed | Instructor GCT Attock |
|  | Rizwan Ghani | Instructor, GCT, Layyah |
|  | M. Shahzad Anwar Shah | Jr. Instructor GCT, Burewala |
|  | Arshad Hanif | Associate Professor,GCT Karachi |
|  | Engr. Abdul Maqsood Khan | Principal (Rtd)/DACUM, Mardan |
|  | Engr. Muhammad Aleem | AD(Curriculum)/DACUM NUTECH, Islamabad |
|  | Muhammad Aasim | Deputy Director, NAVTTC |
|  | Muhammad Ishaq | Deputy Director, NAVTTC |
|  | Umar Siddiq Baba | Advisor Qualification Development, GIZTVETSSP |
|  | Sabeel A. Kiani | Advisor Qualification Development, GIZTVETSSP |