Course / Subject Name ___NQ-Mech-272 METROLOGY__________________

- MCQs

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU 1-5 | LU 6-10 | LU 11-15 |
| - Which of the following instruments is commonly used for linear measurement? a) Micrometer b) Vernier caliper c) Depth gauge d) All of the above - What is the main function of a micrometer ? a) Measuring angles b) Measuring internal diameters c) Measuring external dimensions with high precision d) Measuring weight - What is the least count of Vernier caliper in mm? a) 0.01 mm b) 0.001 mm c) 0.1 mm d) 1 mm - Which tool is used to measure the internal diameter of a hole? a) Micrometer b) Vernier caliper c) Internal micrometer d) Depth gauge - What is the function of a sine bar in angle measurement? a) To measure the angle of surfaces indirectly b) To measure the length of a part c) To measure thread pitch d) To measure external diameters - Which of the following is NOT a method for measuring angles? a) Using a protractor b) Using a sine bar c) Using a depth gauge d) Using an angle gauge block - A slip gauge is used to measure which of the following? a) The thickness of thin sheets b) The angle between two surfaces c) Very small or precise measurements, like gauge blocks d) The depth of holes - What type of measuring tool is typically used to check the alignment of a surface? a) Micrometer b) Dial indicator c) Vernier caliper d) Depth gauge - what type of gauge is used to measure the external dimensions of cylindrical parts? a) Plug gauge b) Ring gauge c) Feeler gauge d) Caliper - Which of the following tools would be used to measure the flatness of a surface? a) Micrometer b) Dial indicator c) Depth gauge d) Protractor - What is the function of a universal surface gauge? a) Measuring temperature b) Scribing lines parallel to a reference surface c) Measuring angles in degrees d) Checking the thickness of materials - Snap gauges are most commonly used to measure which of the following? a) Internal bores b) Surface roughness c) Temperature d) External dimensions like diameters or thickness - What is use of a glass surface plate? a) Measuring angles b) Measuring dimensions directly c) Providing a flat reference surface for inspection and marking d) Checking the hardness of materials - A radius gauge is typically used to measure which of the following? a) Linear dimensions b) Radius of concave and convex surfaces c) Temperature of metals d) Surface roughness - What is the purpose of a feeler gauge? a) Measuring angles b) Measuring small gaps or clearances c) Checking the hardness of materials d) Measuring external dimensions | - Which component of a dial indicator displays the measurement? a) Gear wheel b) Dial face c) Plunger d) Spring - What is the least count of a dial gauge in mm? a) 0.1 mm b) 0.01 mm c) 1 mm d) 0.5 mm - Dial indicators are used for measuring: a) Length of an object b) Surface finish c) Small displacements or deviations d) Taper angle - Which of the following device used to measure the angle of a taper? a) Sine bar b) Micrometer c) Vernier caliper d) Height gauge - What principle does an optical comparator operate on? a) Reflection b) Refraction c) Magnification d) Interference - Which of the following measurements can a dial caliper perform? a) Inside, outside, depth, and step measurements b) Only outside measurements c) Only inside measurements d) Angle measurements - The accuracy of a standard dial caliper is within which range? a) ±0.1 mm b) ±0.02 mm c) ±0.5 mm d) ±1.0 mm - What are the two main components of a sine bar? a) A flat base and a protractor b) A graduated scale and a spindle c) A precision-ground bar and two cylinders d) A ruler and a clamp - The accuracy of a sine bar depends on which of the following factors? a) The material it is made of b) The precision of the cylinders and bar c) The number of holes in the bar d) The length of the sine bar - What type of materials are measured using a dial thickness gauge? a) Liquids and powders b) Large structural beams c) Electrical resistance materials d) Sheets of metal, paper, or plastic - What is accuracy range for a dial thickness gauge? a) ±0.5 mm b) ±0.01 mm c) ±1 mm d) ±0.1 mm - What is the purpose of instrument calibration? a) To improve the durability of the instrument b) To ensure the instrument provides accurate and reliable measurements c) To modify the instrument's design d) To measure the temperature of the instrument - What are controllable errors in measurement? a) Errors that occur due to unknown or unpredictable factors b) Errors caused by equipment failure c) Errors that can be identified and corrected by proper adjustments d) Errors caused by environmental factors - Which of the following is an example of a random error? a) Incorrect calibration of an instrument b) Misreading a scale due to parallax c) Zero error in a measuring instrument d) Fluctuations in temperature during an experiment - How can controllable errors be minimized? a) By taking repeated measurements b) By proper calibration, maintenance, and handling of equipment c) By relying on computer-generated measurements d) By ignoring environmental conditions | - Which tool is used for measuring thread pitch? a) Micrometer b) Pitch gauge c) Vernier caliper d) Sine bar - What is the name of the angle formed between the thread flanks? a) Pitch angle b) Flank angle c) Thread angle d) Root angle - Which instrument is used to measure the effective diameter of a thread? a) Screw thread micrometer b) Dial indicator c) Optical comparator d) Vernier scale - What is the formula for pitch in metric threads? a) Number of threads per inch b) 1 / Number of threads per mm c) Thread length / Number of threads d) None of the above - What does the term "module" refer to in gear measurement? a) Number of teeth b) Ratio of pitch diameter to the number of teeth c) Distance between teeth d) Thickness of the gear - Which tool is used to measure gear tooth thickness? a) Vernier caliper b) Gear tooth vernier c) Micrometer d) Profile projector - What is the purpose of a gear measuring machine? a) Measure gear alignment b) Check gear backlash c) Inspect gear profiles and parameters d) Determine gear lubrication levels - The term "backlash" in gears refers to: a) Clearance between meshing teeth b) Wear on gear teeth c) Excessive lubrication d) Surface roughness of teeth - Which of the following can be measured using a CMM? a) Gear profiles b) Thread pitch diameter c) Surface flatness d) All of the above - Gear tooth pitch is the distance between: a) Adjacent tooth roots b) Adjacent tooth flanks c) Corresponding points on adjacent teeth d) Two gear axes - What is the advantage of using digital instruments for measurement? a) They are less expensive than analog instruments b) They provide faster and more accurate readings c) They require less maintenance d) They are more robust in harsh environments - What is the function of a digital micrometer? a) Measuring angles b) Measuring the thickness of materials with high precision c) Measuring temperature variations d) Measuring surface roughness - Which of the following digital instruments is used for measuring length and internal dimensions? a) Digital thermometer b) Digital multimeter c) Digital micrometer d) Digital Vernier caliper - How can the measurement readings of a digital height gauge be adjusted? a) By turning a dial b) By adjusting the height with a screw mechanism c) By zeroing the instrument to a reference point d) By applying force to the measuring probe - What is the typical output format of data collected by a digital 3D scanner? a) A 2D image b) A 3D point cloud or mesh model c) A graph of surface roughness d) A list of measurements in millimeters |

- Limited Response Questions

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU 1-5 | LU 6-10 | LU 11-15 |
| - Enlist five linear measurement tools? - What is the purpose of a cast iron surface plate? - Enlist five measurement guages? - What is the use of a surface plate in linear measurement? - Enlist three adjustable meausring tools? - What are plug gauges used for? - Name a gauge used to check external thread dimensions. - What is a limit gauge? - Which tool is used for precise angle measurements ? - What is an adjustable measuring tool? | - Enlist five precision meausring tools? - What is inside micro-meter used for? - What is controllable error? - Enlist any three dial instruments? - What is instrument calliberation? - Where is sine bar used? - Defien taper? - Which device is used to measure small angles optically? - What is a comparator? - Which comparator operates using air pressure? | - Enlist five digital measuring instruments? - Define CMM? - Name a common digital instrument used for measuring length? - What are the main coordinate axes in a CMM? - What is the purpose of measuring gear backlash? - Which instrument is used to measure gear tooth thickness? - What is pitch? - Enlist types of threads? - What is the purpose of probe in CMM? - What is the least count of digital micrometers in mm? |

- Assessment Tasks

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU 1-5 | LU 6-10 | LU 11-15 |
| Perform measurement of the given object using linear , angular ,adjustable measuring tools and gauges. Performence Critiria - Identify measuring tools and gauges. - Pick measuring tools and gauges. - Take measurement through linear measuring tools - Take measurement through angular measuring tools - Take measurement through adjustable measuring tools - Take measurement through gauges. - Note all the measurements - Follow Safety Procedures - Adopt greening practices. | Perform measurement of the given object using dial instruments, taper measuring instruments, optical measuring devices and comparators by adopting accuracy in measurements Performence Critiria - Identify measuring tools and devices. - Pick measuring tools and devices. - Take measurement through dial instruments - Take measurement through taper measuring instruments - Take measurement through optical measuring instruments - Take measurement through comparators - Adopt accuracy in instruments - Note all the measurements - Follow Safety Procedures - Adopt greening practices. | Task 1: Perform Thread Measurements of the given object. Task 2: Perform Gear Measurements through CMM and gear testing machine Performence Critiria Task 1: Perform Thread Measurements - Identify thread type - Select correct thread measuring tool - Take measurement of thread outside and pitch diameter - Take measurement of thread angle - Take measurement of thread inside and pitch diameter - Follow Safety Procedures - Adopt greening practices. Task 2: Perform Gear Measurements through CMM and gear testing machine - Identify and picked tools and devices. - Prepare the object for measuring on CMM - Select a probe that's suitable for the part's material and geometry. - Calibrate the probe's needle to determine the centre of the ball stylus and the diameter of the ball. - Use fixtures or manual adjustments to ensure the part is aligned correctly. - Move the probe to the desired points on the part and recorded the coordinates and dimensions - Set gear testing machine. - Take measurements through gear testing machine - Follow Safety Procedures - Adopt greening practices. |