- National Vocational Certificate Level-2 in HVACR Technician (Domestic)

- Level-2 Equivalent to G-III

Competency Standards

National Vocational and Technical Training Commission (NAVTTC), Government of Pakistan

- Contents

1.	Introduction	3

2.	Purpose of the Qualification	4

3.	Date of Validation	4

4.	Code of Qualification	4

5.	Entry Requirements	5

6.	Qualifications Development Committee	5

7.	Qualifications Validation Committee	5

8.	Categorization and Levelling of the Competency Standards	6

9.	Duration of the Course	6

10.	Equivalency for G-I, G-II & G-III with NVQF Levels	7

11.	Details of Competencies Standards.	8

11.1	Maintain Workplace Safety	8

11.2	Maintain Tools and Equipment for HVAC operations	11

11.3	Perform Bench Work	15

11.4	Perform Basic Electrical Operations.	18

11.5	Develop basic communication Skills.	21

11.6	Install Domestic Air Conditioner	23

11.7	Maintain Domestic Air Conditioner	28

11.8	Repair / Service Domestic Refrigeration Units	33

11.9	Adopt Green Practices at Workplace	38

12.	List of Tools and Equipment	40

# Introduction

Pakistan is a developing country with 5th largest population in the world. More than 60% of our population is below 30 years of age which makes it second youngest country in South Asia. This “youth bulge” provides unique challenges as well as opportunities for the country’s social and economic development. To control the increasing un-employment, promoting entrepreneurship, alleviate poverty and provide skilled manpower for industrial/economic growth, Govt. of Pakistan has emphasized on Technical Vocational Education and Training (TVET) Sector.

The HVACR (Heating Ventilation Airconditioning and Refrigeration) Industry is a worldwide enterprise, having role including operation, maintenance, system design, construction, equipment manufacturing, sales, education and research. The HVACR industry is being regulated by the manufacturers of HVACR equipment, but organizations such as HARDI, ASHRAE, SMACNA, ACCA, etc. have been established to support the industry and to encourage high standards of achievements.

HVACR is a necessity of the day for personal comfort, medical health, food preservation, water supply and work productivity. In fact, all human activities rely on HVACR in one way or the other. This industry produces thousands of jobs in the market for its products.

The HVACR experts plan, install and maintain the climate control system that makes our environment more comfortable and functional. The areas mentioned above continuously upgrading existing system for economical cost and environment efficiency.

Homes, Office Buildings, Industries such as Chemical, Food Preservation, Medical & Textile, Airplanes, Railways, Vehicles, Mobile Refrigerating Units and Electronic Equipment, all rely on HVACR systems for their better working. Hence the HVACR technology/industry provides huge employment opportunities for HVACR professionals in the field of Designing, Manufacturing, Erection, Operation & Maintenance throughout Pakistan and abroad.

Therefore, this course is designed to uplift the employment opportunities for youth. This course aims to achieve the above highlighted objectives through hands on practical trainings, delivered by a team of dedicated professionals. Contrary to that, it is primarily aimed to equip the trainees to perform commercially in HVACR industry.

HVACR is designed to impart not only technical skills but also soft skills (communication skills and personal grooming etc.) as well as entrepreneurial skills. The course also seeks to inculcate work ethics to foster better citizenship in general and improve the image of Pakistani work force in particular.

Therefore, industry requirement for skilled workforce is increasing which can only be managed through setting relevant competency standards in collaboration with the leading industries. Being cognizant of this fact, National Vocational & Technical Training Commission (NAVTTC) developed competency standards for HVACR under National Vocational Qualifications Framework (NVQF). These competency standards have been developed by a Qualifications Development Committee (QDC) and validated by the Qualifications Validation Committee (QVC) having representatives from academia and industry.

# Purpose of the Qualification

The purpose of these qualifications is to set high professional standards for HVACR industry. The specific objectives of developing these qualifications are as under:

- Improve the professional competence of the trainees.

- Shift from informal and non-formal to formal technical and vocational training

- Provide opportunities for recognition of skills attained through non-formal or informal pathways.

- Improve the quality and effectiveness of training and assessment for HVACR industry.

# Date of Validation

The competency standard is validated by Qualification Validation Committee (QVC) on 20-22 May, 2023, Lahore and shall be reviewed after five years.

# Code of Qualification

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analysing cross-nationally comparable statistics on education and training. ISCED codes for these qualifications are assigned as follows.

| QUALIFICATION TITLE | CODE |
| --- | --- |
| National Vocational Certificate Level-2 in HVACR Domestic Technician | 0715A&R2 |

# Entry Requirements

The entry for National Vocational Certificate level 2, in HVACR Domestic Technician are given below:

| QUALIFICATION TITLE | ENTRY REQUIREMENTS |
| --- | --- |
| National Vocational Certificate Level-2 in HVACR Domestic Technician | The entry requirement for this qualification is minimum 8th Grade or equivalent. The entry for assessment of this qualification is not specified. |

# Qualifications Development Committee

The Qualifications Development Committee consisted of following members:

| Sr.# | Name | Designation & Organization |
| --- | --- | --- |
|  | Mr. Amjad Mehmood Baloch, | Deputy Manager (Operations) / DACUM Punjab TEVTA Facilitator |
|  | Engr. Zamir Ul Hassan Gardezi, | MEP Manager MIDJAC Construction Pvt. Ltd, Islamabad |
|  | Mr. Syed Shabbir Haider, | HVAC Expert Haier, Lahore Pakistan |
|  | Mr. Muhammad Haroon, | Senior Instructor HVAC Govt. College of Technology, Railway Road, Lahore |
|  | Mr. Muhammad Shahid Saeed, | HVAC Expert Govt. ATC, Township, Lahore |
|  | Mr. Azhar Waheed, | Instructor HVAC PVTC, Islamabad |
|  | Mr. Muhammad Aslam, | HVAC Expert Textronics, Phase-,1 Pakistan Town Islamabad |
|  | Mr. Asad Masood, | HVAC Supervisor Climate Control, Lahore |
|  | Mr. Muhammad Atif Latif, | Sr. Technician HVAC Pakistan Railway, Lahore. |
|  | Mr. Muhammad Awais Arshad, | HVAC Supervisor Climate Solution, Lahore |
|  | Mr. Farooq Saeed, | In charge HVAC Greaves Air-Conditioning, Lahore |
|  | Mr. Muhammad Shahbaz, | Senior Instructor HVAC Govt. College of Technology, Railway Road, Lahore |
|  | Mr. Shehzad Yousaf, | HVAC Expert Cool Care, Shalimar Garden, Lahore |
|  | Mr. Yasir Ali, | Senior Instructor HVAC Govt. College of Technology, Railway Road, Lahore |
|  | Dr. Zulfiqar Ali Cheema, | Deputy Director (VT) NAVTTC HQ, Islamabad |

# Qualifications Validation Committee

The Qualifications Validation Committee consisted of following members:

| Sr.# | Name | Designation & Organization |
| --- | --- | --- |
|  | Mr. Amjad Mehmood Baloch, | Deputy Manager (Operations) / DACUM Facilitator Punjab TEVTA |
|  | Mr. Muhammad Haroon, | Senior Instructor HVAC Govt. College of Technology, Railway Road, Lahore |
|  | Mr. Muhammad Shahid Saeed, | HVAC Expert Govt. ATC, Township, Lahore |
|  | Engr. Asad Mehmood Butt, | Representative from P. TEVTA, Lahore |
|  | Mr. Ghulam Rasool Rajput, | Representative from S. TEVTA, Karachi |
|  | Mr. Shoukat Ali, | Representative From KPK. TEVTA, Bannu |
|  | Mr. Saulat Saeed, | CEO (HVACR Expert) Air Comfort, Lahore. |
|  | Engr. Liaqat Ali Jamro, | Director Acad & Training S. TEVTA, Karachi |
|  | Mr. Saddam Anwar Rana | Research Officer PBTE, Lahore |
|  | Dr. Zulfiqar Ali Cheema, | Deputy Director (VT)NAVTTC HQ, Islamabad |

# Categorization and Levelling of the Competency Standards

| Code | Competency Standards | NVQF Level-2 | Credits | Category |
| --- | --- | --- | --- | --- |
| 0715A&R201 | Maintain Workplace Safety | 2 | 3 | Functional |
| 0715A&R202 | Maintain Tools and Equipment for HVAC Operations | 2 | 4 | Technical |
| 0715A&R203 | Perform Bench Work | 2 | 4 | Technical |
| 0715A&R204 | Perform Basic Electric Operations | 2 | 8 | Technical |
| 0715A&R205 | Develop basic communication Skills. | 2 | 3 | Generic |
| 0715A&R206 | Install Domestic Air Conditioner | 2 | 8 | Technical |
| 0715A&R207 | Maintain Domestic Air Conditioner | 2 | 10 | Technical |
| 0715A&R208 | Repair / Service of Domestic Refrigeration Units. | 2 | 18 | Technical |
| 0715A&R209 | Adopt Green practices at workplace | 2 | 2 | Generic |
|  | Total |  | 60 |  |

# Duration of the Course

Proposed course duration 	-	6 months

Estimated contact hours	-	600 hours

Estimated credit hours	-	30 credit

# Equivalency for G-I, G-II & G-III with NVQF Levels

NVQF Level-1 Equivalent to Short Courses

NVQF Level-2 Equivalent to G-III

NVQF Level-3 Equivalent to G-II

NVQF Level-4 Equivalent to G-I

# Details of Competencies Standards.

## Maintain Workplace Safety

Overview: This competency standard covers the skills and knowledge required to Adopt personal protective equipment (PPE), Maintain First-aid Box, Maintain Fire Extinguisher, Ensure Safety of Tools & Equipment, Adopt company policies & procedures and Respond to emergencies

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Ensure use of personal protective equipment (PPE) | P1. Arrange personal protective equipment as per requirements P2. Wear correct personal protective equipment P3. Store PPE at appropriate place after use |
| CU2. Maintain First-aid Box | P1. Identify first aid box P2. Check first aid box for requisite emergency items P3. Check expiry of medicines P4. Demonstrate first aid treatment against electric shocks P5. Demonstrate first aid treatment/bandages against minor injuries |
| CU3. Maintain Fire Extinguisher | P1. Check expiry of fire extinguisher P2. Operate fire extinguisher P3. Replace fire extinguisher |
| CU4. Ensure Safety of Tools & Equipment | P1. Ensure insulation of tools and equipment P2. Store tools and equipment safely P3. Clean tools on a regular basis before storing. |
| CU5. Adopt company policies & procedures | P1. Interpret company policy and procedures P2. Follow company procedures P3. Follow environmental regulations |
| CU6. Respond to emergencies | P1. Take emergency response training P2. Perform emergency exercise P3. Demonstrate first aid cardio respiratory, resuscitation and CPR P4. Follow emergency plan P5. Operate emergency equipment and supplies |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define physical hazards

- Define chemical hazards

- Define electrical hazards

- Define emergency plan.

- Describe Uses of Personal Protective Equipment (PPE).

- Knowledge and understanding of company policy and procedures.

- Describe use of First Aid

- Describe use of emergency equipment

- Knowledge of first-aid-box items.

- Know about the techniques for provision of first aid treatment.

- What is Fire Extinguisher?

- Types and Use of fire extinguisher

- Types of fire extinguishing materials.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate the use of at least one of the PPEs in front of assessor as per assessors’ directions

- Demonstrate first aid treatment against electric shock/minor injury.

- Operate fire extinguisher.

- Differentiate between safe and unsafe tools.

Tools and Equipment

- Safety gloves,

- Appropriate safety glasses,

- Breathing apparatus,

- De-electric boots and gloves for protection from electrical shock.

- Site emergency response plan,

- Fire extinguishers,

- Fire blankets,

- Respirators, masks,

- Fire hoses,

- First aid kits, stretchers,

## Maintain Tools and Equipment for HVAC operations

Overview: This competency standard covers the skills and knowledge required to Arrange Tools & Equipment, Maintain Tool Kit, Insulate Tools and Equipment, calibrate measuring instruments and Manage Inventory of tools and equipment.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Arrange Tools & Equipment for HVAC operations. | - Identify tools and equipment as per instructions - Prepare list of tools and equipment as per requirement - Check specifications of measuring Instruments - Collect tools and equipment from designated space |
| CU2. Maintain Tool Kit | P1. Check Physical Condition of Tools & Equipment before use P2. Perform preventive maintenance as per standards P3. Perform corrective maintenance (If required) P4. Clean Tools and equipment after use P5. Place tools and equipment at appropriate place |
| CU3. Maintain Inventory of tools and equipment. | P1. Check number of tools and equipment as per record P2. Report for faulty tools and equipment P3. Generate demand for replacement of defective tools and equipment P4. Maintain record of all tools and equipment. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe Types and Uses of different Tools

- Describe Calibration techniques

- Describe Inventory Management

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare list of the required tools

- Calibrate measuring instruments

- Storing of tools and equipment at appropriate place

- Manage Inventory of tools and equipment.

Tools and Equipment

- Personal Protective Equipment (PPE)

- Allen Key Set

- Diagonal Side Cutter

- Combination Plier

- Nose Plier Set

- Locking Plier

- Metal Drill Bit Set

- Masonry Drill Set

- File Set

- Rivet Gun / Plier

- Adjustable Screw Wrench

- Adjustable Pipe Wrench

- Ratchet Wrench

- Box Spanner Set

- Socket Set

- Open Ended Spanner Set

- Box Spanner Screw Drivers

- Steel Ruler

- Scissors

- Scriber

- Gas Welding Set with All Accessories

- Digital Pressure Gauges Set (High & Combine)

- Tube Cutter

- Digital Capacitor Analyzer

- Hand Electric Blower

- Micron Pressure Gauge

- Pinch-Off Plier

- Flaring and Swaging Tool Kit

- Vacuum Pump 2-Stage, 6cfm

- Tube Benders (Spring Type and Pulley Bender Type)

- Laser Temperature Measuring Device

- Electronic Leak Detector

- Digital Air Flow / Velocity Meter

- Portable Refrigerant Charging Station

- Fins Straightening Comb Set

- Water Pressure Gun For Service

- Hot Air Gun

- Digital Optical Tachometer

- Bearing Puller

- Manual Screw Driver Set

- Electric Screw Driver Set

- Soldering Iron

- Electric Hand Grinder

- Insulation Remover

- De-Soldering Tool

- Wire Stripper

- Digital Multi Meter

- Digital Clamp-On Ampere Meter

- Electric Hand Drills

- Hacksaw

- Measuring Tape

- Try Square

- Chisel Set

- Spirit Level

- HILTI Drill Machine (Piston Type)

- Megohmmeter (0 - 1000 Volts)

- Laser Distance Measuring Device

- Bench Vice

- Center Punch

- Hammer

- Mallet

- Tap and Die Set

- Nitrogen Gas Cylinder with Hose Pipe, Regulator and Flash Back Arrestor

- Pipe Cutter

- Pipe Vice

- Crimping Tool

- Digital Humidity Meter

- Digital Psychrometer (Hygrometer)

- Electric Soldering iron

- Plier Set

- Power Supply

- Electrician Knife (Alpha Cutter)

- AVO Meter (Multi Meter)

- Clamp on Meter

- Drill Machine

- Solder Wire

- Phase Tester

- Screw Driver Set

## Perform Bench Work

Overview: - These competency standards identify the competencies you need to perform bench work operations using different tools and equipment, in accordance with approved procedures. You will be expected to perform sawing, filing, threading and reaming using hand tools. You will be required to operate the tools and equipment safely by complying the organizational safety policy and approved procedures. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Carry-Out Sawing | - Select appropriate blade and set in hacksaw frame according to the job requirement - Select appropriate marking tool(s), mark the work piece and clamp it in the vice firmly as per standard practices - Adopt sawing methods and techniques that are safe and suitable to produce the work-piece as needed - Follow marked line during sawing of work piece to ensure accuracy |
| - File the Work-Piece | - Select appropriate file and marking tool(s) according to the job requirement - Mark the work-piece and clamp it in the vice firmly as per standard practices - Adopt filing method and technique which is safe and suitable to produce the work-piece as needed - Follow drawing dimensions and surface finish of filed work-piece to ensure accuracy and precision |
| - Carry out Drilling | - Setup drill machine for producing hole in the work- piece according to the job requirement - Select drill bit and marking tools according to the material and job requirement, respectively - Mark the work-piece according to the drawing and clamp it in the vice firmly as per standard practices - Adopt proper drilling method (manual/auto-feed, applying coolants) which is safe and suitable to produce the hole in work-piece - Follow drawing dimensions of drilled hole to ensure accuracy and precision |
| - Produce Threads on Work- Piece | - Select tap and die according to the type of thread to be produced on work-piece as per drawing - Clamp the work-piece in the clamping device firmly as per standard practices - Ensure the tap and die alignment as per prescribed standard - Make thread with die and follow appropriate sequence in case of using taps - Ensure the safety and dimensional accuracy of threads on work-piece as per drawing |
| - Perform Hand Reaming | - Select reamer according to the work-piece requirement - Clamp the work-piece in the clamping device firmly as per standard practices - Produce reamed hole by following safety and prescribed method - Ensure the accuracy and size of reamed hole of work-piece according to the drawing |
| - Perform Riveting | - Select Rivets. - Select Drill bit size - Drill holes in G.I. sheets - Cary out Riveting to fasten two GI sheets |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Usage of bench-work tools and equipment Interpret basic drawings

- Measurement systems

- Use of measuring and marking tools Usage of bench working tools

- Procedure of safe clamping the work-piece

- Personal Protective Equipment (PPEs) and workplace safety

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Utilization of tools (measuring, marking & cutting) equipment and their working method

- Produce a component containing the following operations marking, sawing & filing

- Produce a component containing the following operations with marking, drilling, threading & reaming

List of Tools and Equipment

- Hand Hacksaws with Blades, Complete Sets (Assorted Range) with Standard Accessories

- Bench Vices, Machine Vices, C-Clamps, U-Clamps, Universal Clamping Vices Swivel Vices

- Anvil & Hammers (Assorted Range)

- Personal Protective Equipment

- Work Bench & Stools

- Cabinets & Steel Almirah (Assorted Range)

- Measuring & Marking Tools

- First Aid Box

- Wooden Cabinets

- All Kind of Files

- Step Gauges Set

- Pillar Drilling Machines

- Drill Chuck with Key

- Drill Bits (Assorted Range)

- Reamers (Assorted Range)

- Plug Gauge (Assorted Range)

- Dies & Taps Set (Assorted Range)

- Center Drills (Assorted Range)

- Prick Punch (Assorted Range & Types)

## Perform Basic Electrical Operations.

Overview: This competency standard covers the skills and knowledge required to Measure Electrical Current and Resistance, Perform Voltage Measurement, Calculate Electrical Power, Perform Capacitance and Inductance measurement/Test, Perform Low voltage (Step-down) transformer test and Construct rectifier circuit and DC regulated power supply

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Measure Electrical Current and Resistance | P1. Arrange tools, material and equipment for measurement of electric current P2. Construct series arrangement of resistances in a closed loop circuit P3. Construct Parallel arrangement of resistances in a closed loop circuit P4. Perform measurement of Electrical resistance in a series / Parallel circuit P5: Perform measurement of Alternating current in a series P6: Perform measurement of Alternating current in a Parallel circuit P7. Perform measurement of Direct Current in a series P8. Perform measurement of Direct Current in a Parallel circuit |
| CU2. Measure Voltage | P1. Arrange tools, material and equipment for measurement of Voltage P2: Perform measurement of AC Voltage in a series / Parallel circuit P3. Perform measurement of DC Voltage in a series / Parallel circuit |
| CU3. Calculate Electrical Power | - Calculate Electrical Power for Parallel circuit - Calculate Electrical Power for series circuit |
| CU4. Prepare estimate | P1. Prepare estimate of material according to drawing P2. Calculate working hour according to given drawing for job completion. P3. Prepare estimate of labor. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define Voltage, Current, Resistance and Power

- Define AC and DC

- Define Ohm’s Law

- Understand voltmeter, Ampere-meter, Ohm meter, wattmeter, multi-meter

- Verify Ohm’s Law

- Understand Electrical Power and Energy

- Define Semiconductor Diode, Transistor

- Norms and standard formats of preparing estimates

- Factors effecting material cost

- Method of calculating labor cast.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Measure Electrical Current and Resistance

- Perform Voltage Measurement

- Perform Capacitor and Inductor measurement/Test

TOOLS AND EQUIPMENT

- Digital Volt Meter,

- Digital ampere meter,

- Digital watt meter,

- ohm meter,

- Phase tester,

- Combination plier,

- side cutter,

- long nose plier,

- insulation remover,

- tweezers,

- electrician knife,

- digital multi-meter,

- Soldering Gun,

- Soldering iron,

- Heat Gun

## Develop basic communication Skills.

Overview: This competency standard covers the skills and knowledge required to adopt effective Listening, Develop Nonverbal Communication, Develop verbal communication, and Develop Written Communication Skills.

| Competency Units | Performance Criteria |
| --- | --- |
| - Adopt effective listening skills | - Actively listens to others without interrupting and demonstrates patience and respect. - Ask questions to enhance understanding of the speaker's message. - Interprets information to confirm understanding. - Maintains eye contact and provides non-verbal cues (nodding, facial expressions) to show attention. - Limits distraction and focuses attention on the speaker during conversations or presentations. |
| - Develop Nonverbal Communication Skills | - Demonstrates appropriate body language, such as posture and gestures, to show confidence. - Adapts nonverbal cues to align with the machining environment's technical context and cultural norms. - Interprets and responds to nonverbal signals from colleagues and supervisors to enhance understanding and collaboration. |
| - Develop verbal communication Skills | - Speaks clearly and confidently when discussing machining tasks and procedures. - Uses technical terms and industry-specific language that are easy to understand for colleagues and supervisors. - Explain ideas and instructions in a logical and organized manner. - Listens actively and responds appropriately during conversations and meetings. - Engages in collaborative discussions to solve machining-related problems. |
| - Develop Written Communication Skills | - Writes clear and simple technical notes and reports related to machining tasks. - Uses understandable language and technical terms appropriate for machinists. - Includes diagrams or sketches to clarify written instructions or reports. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Effective Listening Techniques

- Nonverbal Communication

- Verbal and Written Communication

- Enlist various communication Medium.

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Participate in discussions, using technical language and clear speech.

- Display appropriate body language, eye contact, and facial expressions during interactions.

Tools and equipment Required

- Computer with accessories or Laptop

- Internet Connection

- Microsoft Office

- Printer

## Install Domestic Air Conditioner

Overview: - This Competency Standard identifies the competencies required to install different types of Window type / Split type Domestic Air conditioners skills at workplace in accordance with the organization’s / clients’ guidelines. This unit covers the knowledge regarding safety rules, Personal Protective Equipment (PPE), and international standards for installing Domestic Air conditioners to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Install Window Air Conditioner | - Select tools, equipment and related accessories according to job requirements - Mark the location on the wall where Window Air Conditioner to be installed according to Unit specifications and client requirements - Make opening at the marked area on the wall - Fix Iron / wooden frame in the opening firmly and insert in it the Air Conditioner cover according to the instructional manual and standards - Install the Air conditioner in the framed opening with standard slope - Cover / Seal side air gaps of opening with insulation material - Fix the fancy wooden border around the Air conditioner grill as per client’s requirement - Fix the Air Conditioner condensate drain pipe and put it into main sewerage line - Arrange power supply with circuit breaker near the Air Conditioner - Make sure that all packing materials - Cardboard, Styrofoam, Tape and Plastic Film, have been removed from the site after installation - Switch on the Air Conditioner and check Air Conditioner performance as per capacity and specifications |
| - Install Split Air Conditioner | - Select tools, equipment and related accessories according to job requirements - Select and mark the area on the wall where Indoor and Outdoor units are to be installed according to Unit specifications and client requirements - Perform physical inspection of indoor and outdoor unit according to unit specifications - Make opening for the refrigerant pipes, condensate pipe and control wires to pass through - Mount the Indoor unit wall mounting plate according to manufacturer specifications and install the Indoor unit on it - Prepare base for the fixing of Outdoor unit according to manufacturer specifications and fix the Outdoor unit there - Connect the refrigerant pipes amongst both indoor and outdoor units, supply and control wires according to manufacturer manual - Add additional refrigerant for additional piping according to manufacturer recommendations - Make oil trap in copper pipe as per site requirement - Perform leak test, evacuation procedure, charge refrigerant and open the service valves - Insulate the joints and refrigerant pipes according to standards and manufacturer installation manual - Make sure that all packing materials - Cardboard, Styrofoam, Tape and Plastic film, have been removed - Switch on the Air Conditioner and check performance as per capacity and specifications |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Basic load calculation for cooling / heating

- Fundamental knowledge of HVACR, Electric and Electronics

- Techniques for installation of Window / Split (DC Inverter)

- Technical Operations of all types of Split Air Conditioners

- Electrical / HVAC layout plans/wiring diagrams

- Type of Electrical wires and cables including underground cables, their ratings and applications

- Methods of Copper Tube Cutting / Reaming / Bending / Swaging / Flaring / Brazing / Jointing / Fixing

- Basic masonry and carpentry applications

- Gas welding (Soldering and Brazing)

- Types of insulation and their applications

- Compressor types and applications

- Methods of Pressurizing / Evacuations / Purging / Refrigerant Charging

- Types of Refrigerants, its properties, recycling, recovery and reclaiming

- Record Keeping and reporting

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- The candidate will demonstrate the following Installation skills in a simulated environment to provide evidence of competency:

  - Mark location according to specifications and standards

  - Perform electric connections to joint indoor unit and outdoor unit

  - Prepare the base for condensing unit

  - Install the indoor / outdoor unit according to HVAC standards

List Of Tools, Equipment and Machinery

- Personal Protective Equipment

- Metal Drill Bit Set

- Masonry Drill Set

- File Set

- Hacksaw

- Allen Key Set

- Hammer Set

- Mallet Set

- Diagonal Side Cutter

- Combination Plier

- Nose Plier Set

- Locking Plier

- Measuring Tape

- Adjustable Screw Wrench

- Adjustable Pipe Wrench

- Ratchet Wrench

- Box Spanner Set

- Socket Set

- Open Ended Spanner Set

- Box Spanner Screw Drivers

- Steel Ruler

- Scissors

- Scriber

- Try Square

- Chisel Set

- Gas Welding Set with All Accessories

- Nitrogen Gas Cylinder with Hose Pipe, Regulator and Back Arrestor

- Tube Cutter

- Electric Hand Grinder

- Digital Air Flow / Velocity Meter

- Manual Screw Driver Set

- Electric Screw Driver Set

- Spirit Level

- Wire Stripper

- Digital Multi Meter

- Digital Clamp-On Ampere Meter

- Electric Hand Drills

- Insulation Remover

- HILTI Drill Machine (Piston Type)

- Digital Optical Tacho Meter

- Megohmmeter (0 - 1000 Volts)

- Digital Capacitor Analyzer

- Digital Pressure Gauges Set (High & Combine) (High& Low)

- Fins Straightening Comb Set

- Flaring And Swaging Tool Kit

- Vacuum Pump 2-Stage, 6cfm

- Tube Benders (Spring Type and Pulley Bender Type)

- Laser Distance Measuring Device

- Laser Temperature Measuring Device

- Electronic Leak Detector

## Maintain Domestic Air Conditioner

Overview: - This Competency Standard covers the competencies required to diagnose / repair / service Domestic Air Conditioners at workplace in accordance with the manufacturer specifications / guidelines. This unit covers the knowledge regarding safety rules, Personal Protective Equipment, and international standards for repairing / servicing of Domestic Air Conditioners to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Diagnose Faults in Domestic Air Conditioner | - Check for visible problem to determine which component or system is causing the problem - Select tools, equipment and related accessories according to requirements and standards - Check power supply, electric wiring, glass fuse and electronic components as recommended by manufacturer, and record the results - Check evaporator filter and condenser coil as recommended by manufacturer, and record the results - Check refrigerant pressure as recommended by manufacturer, and record the results - Isolate and recheck the causes of the problem and rectify the fault |
| - Repair Window / Split Air Conditioner | - Select tools, equipment and related accessories according to job requirements - Disconnect the Air Conditioner from electric supply and follow the manual instructions for rectification - Rectify the diagnosed faults; repair / replace the components, as necessary - Switch on the Air Conditioner to check the performance of electrical / electronic and mechanical components as specified in the manufacturer manual and record the results |
| - Service Window Air Conditioner | - Select tools, equipment and related accessories according to job requirements - Start the Air Conditioner, check and record performance by using specified test instruments - Disconnect the Air Conditioner from electric supply and remove Air Conditioner from the cover - Secure the electric / electronic components with polythene sheet - Clean / wash all mechanical parts of Window Air conditioner with specified cleaning agents / detergent by using pressure pump - Fix the Air conditioner in the cover, connect with electric supply, check and record performance |
| - Service Split Air Conditioner | - Select tools, equipment and related accessories according to job requirements - Start the Air Conditioner, check and record performance by using specified test instruments - Pump down the split Air Conditioner and dismantle both indoor unit and condensing unit - Clean the components of Air conditioner with specified cleaning agents / tools and material - Re-Install the indoor and outdoor unit; connect with refrigerant pipes, control wires and evacuation; open the service valves and leak testing - Switch on the Air Conditioner, check and record performance |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Knowledge of American Society Of Heating, Refrigeration, And Air Conditioning Engineers (ASHRAE)

- Knowledge of Ozone Protection and Synthetic Greenhouse Gas Management Act 1989

- Basic load calculation for cooling / heating

- Fundamental knowledge of HVACR, Electric and Electronics

- Techniques for repairing of Window / Split Air Conditioners

- Technical Operations of Split Air Conditioners

- Electrical / copper piping layout plans/wiring diagrams

- Type of Electrical wires and cables including underground cables, their ratings and applications

- Techniques of diagnosing and troubleshooting of Domestic Air Conditioners

- Familiarity with Domestic Air Conditioner error codes and solution

- Types of motors used in Domestic Air Conditioners

- Types of lubricants and their properties

- Capable to replace PCB Card

- Compressor types / Specifications and applications

- Methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing / Jointing / fixing

- Gas welding (Soldering and Brazing)

- Types of Insulation and their applications

- Methods of Pressurizing / Evacuation / Purging / Refrigerant Charging

- Types of Refrigerants, its properties, recovery and reclaiming

- Record Keeping and reporting

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- The candidate will demonstrate the following repair / service skills in a simulated environment to provide evidence of competency:

- Diagnose faults of Air Conditioner by using specified tools and instruments

- Perform pump down operation in split type air conditioner

- Repair refrigerant leak in Air Conditioner

- Replace the compressor of Air conditioner

- Replace the printed circuit board (PCB) of split air conditioner

List Of Tools, Equipment and Machinery

- Personal Protective Equipment (PPE)

- Allen Key Set

- Diagonal Side Cutter

- Combination Plier

- Nose Plier Set

- Locking Plier

- Metal Drill Bit Set

- Masonry Drill Set

- File Set

- Hand Hacksaw Frame

- Hammer Set

- Mallet Set

- Rivet Gun / Plier

- Adjustable Screw Wrench

- Adjustable Pipe Wrench

- Ratchet Wrench

- Box Spanner Set

- Socket Set

- Open Ended Spanner Set

- Box Spanner Screw Drivers

- Steel Ruler

- Scissors

- Scriber

- Pulley Wheel Puller

- Gas Welding Set with All Accessories

- Nitrogen Gas Cylinder with Hose Pipe, Regulator and Back Arrestor

- Digital Pressure Gauges Set (High & Combine)

- Tube Cutter

- Digital Capacitor Analyzer

- Hand Electric Blower

- Micron Pressure Gauge

- Pinch-Off Plier

- Flaring and Swaging Tool Kit

- Vacuum Pump 2-Stage, 6cfm

- Tube Benders (Spring Type and Pulley Bender Type)

- Laser Temperature Measuring Device

- Electronic Leak Detector

- Digital Air Flow / Velocity Meter

- Portable Refrigerant Charging Station

- Fins Straightening Comb Set

- Water Pressure Gun For Service

- Hot Air Gun

- Digital Optical Tacho Meter

- Bearing Puller

- Manual Screw Driver Set

- Electric Screw Driver Set

- Soldering Iron

- Electric Hand Grinder

- Insulation Remover

- De-Soldering Tool

- Wire Stripper

- Digital Multi Meter

- Digital Clamp-On Ampere Meter

- Electric Hand Drills

## Repair / Service Domestic Refrigeration Units

Overview: - This Competency Standard covers the competencies required to diagnose / repair / service Domestic refrigeration units (Refrigerator / Deep freezer / Watercooler / Water dispenser) at workplace in accordance with the manufacturer specifications / guidelines. This unit covers the knowledge regarding safety rules, Personal Protective Equipment, and international standards for repairing / servicing of Domestic refrigeration units to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Diagnose Faults in Domestic Refrigeration Units | - Check for obvious problem to determine which component or system is causing the problem - Select tools, equipment and related accessories according to requirements and standards - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO Meter / Gauge manifold as recommended by manufacturer and record the results - Eliminate the causes of the problem according to the manufacturer manual and standards - Isolate and recheck the causes of the problem and rectify the fault - Start the refrigeration unit and recheck as specified in the manufacturer manual and record the results |
| - Repair / Service the Refrigerator / Freezer | - Select tools, equipment and related accessories according to job requirements - Disconnect the Refrigerator / Freezer from electric supply and follow the instructions in manufacture manual for rectification - Rectify the diagnosed faults; repair / replace the components, as necessary - Check, wash and restore to the actual condition Refrigerator / Freezer Body / Cabinets - Check, service, and replace, if necessary, the proper functioning of Thermostat / Door Gasket / Heaters - Switch on the Refrigerator / Freezer to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results |
| - Repair / Service Electric Water Cooler / Water Dispenser | - Select tools, equipment and related accessories according to job requirements - Disconnect the water cooler / dispenser from electric supply and follow the manual instructions for rectification - Rectify the diagnosed faults; repair / replace the components, as necessary - Check, wash and restore to actual condition Water Cooler / Dispenser Body / Mounts - Switch on water cooler / dispenser to check the performance of electrical / electronic and mechanical components as specified in the manufacturer manual and record the results |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Techniques of Copper Tube Cutting / Bending /Swaging / Flaring / Brazing / Jointing / Fixing

- Gas welding (Soldering and Brazing)

- Types of Refrigerants, its properties, recovery and reclaiming

- Knowledge and Understanding of American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE)

- Knowledge of Ozone Protection and Synthetic Greenhouse Gas Management Act 1989

- Fundamental knowledge of HVACR, Electric and Electronics

- Techniques for repairing of Refrigerators / Freezers / Water Coolers and Water Dispensers

- Technical Operations of Non-Frost refrigerators

- Types of electrical wires and cables, their ratings and applications

- Techniques for Diagnosing and Troubleshooting of Domestic Refrigerators / Freezers / Water Coolers and Water Dispensers

- Types of Lubricants and their properties

- Capable to replace PCB Card

- Compressor types/ Specifications and applications

- Condenser Types & Function

- Refrigerant Control Types & Function

- Evaporator Types & Function

- Methods of Pressurizing/ Evacuation / Purging / Refrigerant Charging

- Record keeping and reporting

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- The candidate will demonstrate the following repair / service skills in a simulated environment to provide evidence of competency:

- Diagnose faults of Non-Frost Refrigerator by using specified tools and instruments

- Replace condenser fan motor in Electric water cooler

- Charge the refrigerant in refrigerator / freezer

- Replace the thermostat in Electric water dispenser

List Of Tools, Equipment and Machinery

- Personal Protective Equipment

- Allen Key Set

- Bench Vice

- Center Punch

- File Set

- Hand Hacksaw Frame with Blade

- Metal Drill Bit Set

- Hammer

- Mallet

- Diagonal Side Cutter

- Combination Plier

- Nose Plier Set

- Locking Plier

- Rivet Gun / Plier

- Adjustable Screw Wrench

- Adjustable Pipe Wrench

- Ratchet Wrench

- Box Spanner Set

- Socket Set

- Open Ended Spanner Set

- Box Spanner Screw Drivers

- Steel Ruler

- Scissors

- Scriber

- Tap and Die Set

- Try Square

- Chisel Set

- Pulley Wheel Puller

- Gas Welding Set with All Accessories

- Nitrogen Gas Cylinder with Hose Pipe, Regulator and Flash Back Arrestor

- Pipe Cutter

- Pipe Vice

- Manual Screw Driver Set

- Electric Screw Driver Set

- Electric Hand Grinder

- Scissors

- Soldering Iron

- Crimping Tool

- Insulation Remover

- Wire Stripper

- Digital Multi Meter

- Digital Clamp-On Ampere Meter

- Electric Hand Drills

- Hot Air Gun

- Digital Capacitor Analyzer

- Hand Electric Blower

- Digital Humidity Meter

- Digital Psychrometer (Hygrometer)

- Tube Cutter

- Digital Optical Tacho Meter

- Micron Pressure Gauge

- Digital Pressure Gauges Set (Low & High)

- Pinch-Off Plier

- Flaring And Swaging Tool Kit

- Vacuum Pump 2-Stage, 6cfm

- Tube Benders (Spring Type and Pulley Bender Type)

- Megohmmeter (0 - 1000 Volts)

- Laser Temperature Measuring Device

- Electronic Leak Detector

- Water Pressure Gun For Service

- Digital Air Flow / Velocity Meter

- Portable Refrigerant Charging Station

## Adopt Green Practices at Workplace

Overview: - This competency standard covers the skills and knowledge required to ensure adopt green practices at workplace. Overall, the HVACR Technician can play an important role in conserving resources by implementing sustainable practices, selecting environmentally friendly materials, and ensuring that equipment is used efficiently.

| Competency Units | Performance Criteria |
| --- | --- |
| - Identify types of waste | - Identify the following wastes: - General waste (everyday waste produced in the workplace e.g. paper, cardboard, and non-hazardous materials). - Construction and demolition waste (produced during construction and demolition activities e.g. concrete, bricks, wood). - Hazardous waste (which poses a threat to human health and the environment, e.g. chemicals, batteries). - Industrial waste (produced through industrial processes e.g. manufacturing, mining, and oil and gas operations). - Handle types of wastes identified during operation as per Standard Operating Procedures according to company policy. - Dispose off wastes as per the Standard Operating Procedures according to company policy. |
| - Implement waste reduction strategies | - Identify techniques to reduce waste as per the Standard Operating Procedures. - Implement strategies of waste reduction: - Reuse the material from generated waste at the work place. - Arrange a designated place /waste bin for the materials to be recycled. - Send the recycling materials to the designated place/waste - Reduce the use of environmental adversely affecting materials |
| - Conserve Resources | - Identify techniques to conserve resource as per the Standard Operating Procedures according to company policy. - Implement resource of conservation techniques as per the Standard Operating Procedures. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Identification of various types of waste.

- Importance of waste reduction strategies.

- Identification of Environment adversely affecting materials

- Principles of six R’s in greening

- Waste reduction techniques

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Enlist types of wastes.

- Handle at least one type of waste.

- Identify Environment adversely affecting materials

- Dispose-off one type of waste.

- Explain different waste reduction techniques.

- Explain resource conservation techniques.

Tool and Equipment

- Personal Protective Equipment (PPEs).

- Waste handling SOP of the organization.

- Waste bins/brooms/dustpans/garbage bags.

- Shovels (assorted range).

- Waste handling toolkits.

- Trolley/lifters for handling waste.

- Waste recycling equipment (if applicable to relevant industry).

# List of Tools and Equipment

(For a class of 25 Students)

| S No. | Name | Qty | Unit |
| --- | --- | --- | --- |
|  | Personal Protective Equipment (PPE) | 25 | No. |
|  | Allen Key Set | 25 | No. |
|  | Diagonal Side Cutter | 05 | No. |
|  | Combination Plier | 25 | No. |
|  | Nose Plier Set | 25 | No. |
|  | Locking Plier | 25 | No. |
|  | Metal Drill Bit Set | 25 | No. |
|  | Masonry Drill Set | 05 | No. |
|  | File Set | 05 | No. |
|  | Rivet Gun / Plier | 05 | No. |
|  | Adjustable Screw Wrench | 05 | No. |
|  | Adjustable Pipe Wrench | 05 | No. |
|  | Ratchet Wrench | 25 | No. |
|  | Box Spanner Set | 05 | No. |
|  | Socket Set | 05 | No. |
|  | Open Ended Spanner Set | 25 | No. |
|  | Box Spanner Screw Drivers | 25 | Set |
|  | Steel Ruler | 25 | No. |
|  | Scissors | 25 | No. |
|  | Scriber | 25 | No. |
|  | Gas Welding Set with All Accessories | 02 | Set |
|  | Digital Pressure Gauges Set (High & Combine) | 25 | Set |
|  | Tube Cutter | 25 | No. |
|  | Digital Capacitor Analyzer | 05 | No. |
|  | Hand Electric Blower | 05 | No. |
|  | Micron Pressure Gauge | 05 | No. |
|  | Pinch-Off Plier | 05 | No. |
|  | Flaring and Swaging Tool Kit | 05 | No. |
|  | Vacuum Pump 2-Stage, 6cfm | 02 | No. |
|  | Tube Benders (Spring Type and Pulley Bender Type) | 02 | No. |
|  | Laser Temperature Measuring Device | 05 | No. |
|  | Electronic Leak Detector | 02 | No. |
|  | Digital Air Flow / Velocity Meter | 02 | No. |
|  | Portable Refrigerant Charging Station | 02 | No. |
|  | Fins Straightening Comb Set | 05 | Set |
|  | Water Pressure Gun for Service | 02 | No. |
|  | Hot Air Gun | 02 | No. |
|  | Digital Optical Tachometer | 05 | No. |
|  | Bearing Puller | 05 | No. |
|  | Manual Screw Driver Set | 25 | Set |
|  | Electric Screw Driver Set | 25 | Set |
|  | Soldering Iron | 25 | No. |
|  | Electric Hand Grinder | 05 | No. |
|  | Insulation Remover | 25 | No. |
|  | De-Soldering Tool | 25 | No. |
|  | Wire Stripper | 25 | No. |
|  | Digital Multi Meter | 25 | No. |
|  | Digital Clamp-On Ampere Meter | 25 | No. |
|  | Electric Hand Drills | 05 | No. |
|  | Hacksaw | 25 | No. |
|  | Measuring Tape | 25 | No. |
|  | Try Square | 25 | No. |
|  | Chisel Set | 25 | Set |
|  | Spirit Level | 25 | No. |
|  | HILTI Drill Machine (Piston Type) | 02 | No. |
|  | Megohmmeter (0 - 1000 Volts) | 25 | No. |
|  | Laser Distance Measuring Device | 25 | No. |
|  | Bench Vice | 25 | No. |
|  | Center Punch | 25 | No. |
|  | Hammer | 25 | No. |
|  | Mallet | 25 | No. |
|  | Tap and Die Set | 25 | No. |
|  | Nitrogen Gas Cylinder with Hose Pipe, Regulator and Flash Back Arrestor | 02 | No. |
|  | Pipe Cutter | 25 | No. |
|  | Pipe Vice | 25 | No. |
|  | Crimping Tool | 25 | No. |
|  | Digital Humidity Meter | 25 | No. |
|  | Digital Psychrometer (Hygrometer) | 25 | No. |
|  | Electric Soldering iron | 25 | No. |
|  | Plier Set | 25 | Set |
|  | Power Supply | 25 | No. |
|  | Electrician Knife (Alpha Cutter) | 25 | No. |
|  | AVO Meter (Multi Meter) | 25 | No. |
|  | Clamp on Meter | 25 | No. |
|  | Drill Machine | 05 | No. |
|  | Phase Tester | 25 | No. |
|  | Screw Driver Set | 25 | Set |