List of Tools and Equipment

| Name of Trade |  | HAVCR Technician (Domestic) Level-2 |  |  |
| --- | --- | --- | --- | --- |
| Duration of Course |  | 6 Months |  |  |
| S # | Description |  | Qty | Unit |
|  | Personal Protective Equipment (PPE) |  | 25 | No. |
|  | Allen Key Set |  | 25 | No. |
|  | Diagonal Side Cutter |  | 05 | No. |
|  | Combination Plier |  | 25 | No. |
|  | Nose Plier Set |  | 25 | No. |
|  | Locking Plier |  | 25 | No. |
|  | Metal Drill Bit Set |  | 25 | No. |
|  | Masonry Drill Set |  | 05 | No. |
|  | File Set |  | 05 | No. |
|  | Rivet Gun / Plier |  | 05 | No. |
|  | Adjustable Screw Wrench |  | 05 | No. |
|  | Adjustable Pipe Wrench |  | 05 | No. |
|  | Ratchet Wrench |  | 25 | No. |
|  | Box Spanner Set |  | 05 | No. |
|  | Socket Set |  | 05 | No. |
|  | Open Ended Spanner Set |  | 25 | No. |
|  | Box Spanner Screw Drivers |  | 25 | Set |
|  | Steel Ruler |  | 25 | No. |
|  | Scissors |  | 25 | No. |
|  | Scriber |  | 25 | No. |
|  | Gas Welding Set with All Accessories |  | 02 | Set |
|  | Digital Pressure Gauges Set (High & Combine) |  | 25 | Set |
|  | Tube Cutter |  | 25 | No. |
|  | Digital Capacitor Analyzer |  | 05 | No. |
|  | Hand Electric Blower |  | 05 | No. |
|  | Micron Pressure Gauge |  | 05 | No. |
|  | Pinch-Off Plier |  | 05 | No. |
|  | Flaring and Swaging Tool Kit |  | 05 | No. |
|  | Vacuum Pump 2-Stage, 6cfm |  | 02 | No. |
|  | Tube Benders (Spring Type and Pulley Bender Type) |  | 02 | No. |
|  | Laser Temperature Measuring Device |  | 05 | No. |
|  | Electronic Leak Detector |  | 02 | No. |
|  | Digital Air Flow / Velocity Meter |  | 02 | No. |
|  | Portable Refrigerant Charging Station |  | 02 | No. |
|  | Fins Straightening Comb Set |  | 05 | Set |
|  | Water Pressure Gun for Service |  | 02 | No. |
|  | Hot Air Gun |  | 02 | No. |
|  | Digital Optical Tachometer |  | 05 | No. |
|  | Bearing Puller |  | 05 | No. |
|  | Manual Screw Driver Set |  | 25 | Set |
|  | Electric Screw Driver Set |  | 25 | Set |
|  | Soldering Iron |  | 25 | No. |
|  | Electric Hand Grinder |  | 05 | No. |
|  | Insulation Remover |  | 25 | No. |
|  | De-Soldering Tool |  | 25 | No. |
|  | Wire Stripper |  | 25 | No. |
|  | Digital Multi Meter |  | 25 | No. |
|  | Digital Clamp-On Ampere Meter |  | 25 | No. |
|  | Electric Hand Drills |  | 05 | No. |
|  | Hacksaw |  | 25 | No. |
|  | Measuring Tape |  | 25 | No. |
|  | Try Square |  | 25 | No. |
|  | Chisel Set |  | 25 | Set |
|  | Spirit Level |  | 25 | No. |
|  | HILTI Drill Machine (Piston Type) |  | 02 | No. |
|  | Megohmmeter (0 - 1000 Volts) |  | 25 | No. |
|  | Laser Distance Measuring Device |  | 25 | No. |
|  | Bench Vice |  | 25 | No. |
|  | Center Punch |  | 25 | No. |
|  | Hammer |  | 25 | No. |
|  | Mallet |  | 25 | No. |
|  | Tap and Die Set |  | 25 | No. |
|  | Nitrogen Gas Cylinder with Hose Pipe, Regulator and Flash Back Arrestor |  | 02 | No. |
|  | Pipe Cutter |  | 25 | No. |
|  | Pipe Vice |  | 25 | No. |
|  | Crimping Tool |  | 25 | No. |
|  | Digital Humidity Meter |  | 25 | No. |
|  | Digital Psychrometer (Hygrometer) |  | 25 | No. |
|  | Electric Soldering iron |  | 25 | No. |
|  | Plier Set |  | 25 | Set |
|  | Power Supply |  | 25 | No. |
|  | Electrician Knife (Alpha Cutter) |  | 25 | No. |
|  | AVO Meter (Multi Meter) |  | 25 | No. |
|  | Clamp on Meter |  | 25 | No. |
|  | Drill Machine |  | 05 | No. |
|  | Phase Tester |  | 25 | No. |
|  | Screw Driver Set |  | 25 | Set |

List of Consumables

| Sr. # | Consumable | Quantity |
| --- | --- | --- |
|  | ERT Form | 100 Nos |
|  | Checklist | 100 Nos |
|  | Masks | 500 Nos |
|  | Hand gloves | 50 Nos |
|  | Bandage kit | 1 Set |
|  | Tags | 100 Nos |
|  | Cleaning materials | 5 Set |
|  | Waste Containers | 1 Set |
|  | Polytene Bags | 25 Nos |
|  | Daily Log Sheet | 100 Nos |
|  | Tools maintenance checklist | 100 Nos |
|  | PPE’S Equipment checklist | 100 Nos |
|  | Hacksaw Blades | 50 Nos |
|  | Marking materials | 1 Set |
|  | Cutting materials | 1 Set |
|  | Drill bit sets | 10 Set |
|  | Tap & Die sets | 10 Set |
|  | Switches 2 way | 50 Nos |
|  | Rivets | 1000 Nos |
|  | Iron/GI Sheet | 25 Sq ft |
|  | Electric Wires | 5 Coil |
|  | Switches Single pole | 100 Nos |
|  | Sockets | 100 Nos |
|  | Fuse | 50 Nos |
|  | Electric Wires Flexible | 2 coil |
|  | Lamp Holder | 50 Nos |
|  | Lamp | 50 Nos |
|  | Amp. Volt Meter | 5 Each |
|  | Thimbles | 500 Nos |
|  | Insulation Tape | 10 Nos |
|  | Carbon Resistance | 100 Nos |
|  | Diode | 50 Nos |
|  | PCB | 25 Nos |
|  | Transistor | 50 Nos |
|  | Capacitor DC | 50 Nos |
|  | Infrared Light | 25 Nos |
|  | Paper | 100 Nos |
|  | Pencil | 25 Nos |
|  | Eraser | 25 Nos |
|  | Sharpener | 25 Nos |
|  | Drain Pipe | 10 Nos |
|  | Wooden Border | 50 ft |
|  | Pipe Clump | 200 Nos |
|  | Rawal Bolt | 100 Nos |
|  | Pipe Insulation | 10 Nos |
|  | Arrow Flex | 10 Nos |
|  | Wrapping Tape | 10 Nos |
|  | Plaster of Paris | 5 Kg |
|  | Refrigerant R 22 R 410 | 5 Cylinder |
|  | PVC Tape | 10 Nos |
|  | Nitrogen Gas | 2 Cylinder |
|  | Fuse | 25 Nos |
|  | Capacitor | 25 Nos |
|  | Temperature Sensor | 25 Nos |
|  | Copper Pipe | 50 ft |
|  | Breaker | 5 Nos |
|  | Compressor Oil | 5 Ltr |
|  | Rubber O Ring for Service valve | 50 Nos |
|  | Teflon Tape | 10 Nos |
|  | Flare Nut | 100 Nos |
|  | Union | 25 Nos |
|  | External/ Internal Solvents | 5 Kg |
|  | Detergent | 5 Kg |
|  | Brush | 5 Nos |
|  | Waste cloth | 20 Kg |
|  | Pin Valve | 5 Nos |
|  | Over load | 5 Nos |
|  | Relay | 5 Nos |
|  | Thermal Disk | 5 Nos |
|  | Bi-Metal Strip | 5 Nos |
|  | PCB Card | 5 Nos |
|  | Defrosting/Heater Timer | 5 Nos |
|  | Door Switch | 5 Nos |
|  | Lamp for Cabinet | 5 Nos |