- National Vocational Certificate Level-3 in HVACR Technician (Commercial)

- Level-3 Equivalent to G-II

Competency Standards

National Vocational and Technical Training Commission (NAVTTC), Government of Pakistan

- Contents

1.	Introduction	3

2.	Purpose Of the Qualification	4

3.	Date Of Validation	4

4.	Code Of Qualification	4

5.	Entry Requirements	4

6.	Qualifications Development Committee	4

7.	Qualifications Validation Committee	5

8.	Categorization and Levelling of the Competency Standards	6

9.	Duration of the Course	6

10.	Equivalency for G-I, G-II & G-III With NVQF Levels	6

11.	Details of Competencies Standards.	7

0715A&R301	Perform Basic Computer Operations	7

0715A&R302	Construct Basic Drawings and Symbols	8

0715A&R303	Install Commercial Refrigeration Units	10

0715A&R304	Maintain Commercial Refrigeration Units	14

0715A&R305	Install Commercial Air Conditioning Systems	17

0715A&R306	Maintain Commercial Air Conditioning System	22

12.	List of Tools, Equipment and Machinery	25

13.	List of Consumables	27

# Introduction

Pakistan is a developing country with 5th largest population in the world. More than 60% of our population is below 30 years of age which makes it second youngest country in South Asia. This “youth bulge” provides unique challenges as well as opportunities for the country’s social and economic development. To control the increasing un-employment, promoting entrepreneurship, alleviate poverty and provide skilled manpower for industrial/economic growth, Govt. of Pakistan has emphasized on Technical Vocational Education and Training (TVET) Sector.

The HVACR (Heating Ventilation Airconditioning and Refrigeration) Industry is a worldwide enterprise, having role including operation, maintenance, system design, construction, equipment manufacturing, sales, education and research. The HVACR industry is being regulated by the manufacturers of HVACR equipment, but organizations such as HARDI, ASHRAE, SMACNA, ACCA, etc. have been established to support the industry and to encourage high standards of achievements.

HVACR is a necessity of the day for personal comfort, medical health, food preservation, water supply and work productivity. In fact, all human activities rely on HVACR in one way or the other. This industry produces thousands of jobs in the market for its products.

The HVACR experts plan, install and maintain the climate control system that makes our environment more comfortable and functional. The areas mentioned above continuously upgrading existing system for economical cost and environment efficiency.

Homes, Office Buildings, Industries such as Chemical, Food Preservation, Medical & Textile, Airplanes, Railways, Vehicles, Mobile Refrigerating Units and Electronic Equipment, all rely on HVACR systems for their better working. Hence the HVACR technology/industry provides huge employment opportunities for HVACR professionals in the field of Designing, Manufacturing, Erection, Operation & Maintenance throughout Pakistan and abroad.

Therefore, this course is designed to uplift the employment opportunities for youth. This course aims to achieve the above highlighted objectives through hands on practical trainings, delivered by a team of dedicated professionals. Contrary to that, it is primarily aimed to equip the trainees to perform commercially in HVACR industry.

HVACR is designed to impart not only technical skills but also soft skills (communication skills and personal grooming etc.) as well as entrepreneurial skills. The course also seeks to inculcate work ethics to foster better citizenship in general and improve the image of Pakistani work force in particular.

Therefore, industry requirement for skilled workforce is increasing which can only be managed through setting relevant competency standards in collaboration with the leading industries. Being cognizant of this fact, National Vocational & Technical Training Commission (NAVTTC) developed competency standards for HVACR under National Vocational Qualifications Framework (NVQF). These competency standards have been developed by a Qualifications Development Committee (QDC) and validated by the Qualifications Validation Committee (QVC) having representatives from academia and industry.

# Purpose Of the Qualification

The purpose of these qualifications is to set high professional standards for HVACR industry. The specific objectives of developing these qualifications are as under:

- Improve the professional competence of the trainees.

- Shift from informal and non-formal to formal technical and vocational training

- Provide opportunities for recognition of skills attained through non-formal or informal pathways.

- Improve the quality and effectiveness of training and assessment for HVACR industry.

# Date Of Validation

The competency standard is validated by Qualification Validation Committee (QVC) on 20-22 May, 2019, Lahore and shall be reviewed after five years.

# Code Of Qualification

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analysing cross-nationally comparable statistics on education and training. ISCED codes for these qualifications are assigned as follows.

| Qualification Title | Code |
| --- | --- |
| National Vocational Certificate Level-3 in HVACR Technician (Commercial) | 0715A&R3 |

# Entry Requirements

The entry for National Vocational Certificate level 2, in HVACR Technician are given below:

| Qualification Title | Entry Requirements |
| --- | --- |
| National Vocational Certificate Level-3 in HVACR Technician (Commercial) | The entry requirement for this qualification is Level-2 HVACR Technician (Domestic) |

# Qualifications Development Committee

The Qualifications Development Committee consisted of following members:

| Sr.# | Name | Designation & Organization |
| --- | --- | --- |
|  | Mr. Amjad Mehmood Baloch, | Deputy Manager (Operations) / DACUM Punjab TEVTA Facilitator |
|  | Engr. Zamir Ul Hassan Gardezi, | MEP Manager MIDJAC Construction Pvt. Ltd, Islamabad |
|  | Mr. Syed Shabbir Haider, | HVAC Expert Haier, Lahore Pakistan |
|  | Mr. Muhammad Haroon, | Senior Instructor HVAC Govt. College of Technology, Railway Road, Lahore |
|  | Mr. Muhammad Shahid Saeed, | HVAC Expert Govt. ATC, Township, Lahore |
|  | Mr. Azhar Waheed, | Instructor HVAC PVTC, Islamabad |
|  | Mr. Muhammad Aslam, | HVAC Expert Textronics, Phase-,1 Pakistan Town Islamabad |
|  | Mr. Asad Masood, | HVAC Supervisor Climate Control, Lahore |
|  | Mr. Muhammad Atif Latif, | Sr. Technician HVAC Pakistan Railway, Lahore. |
|  | Mr. Muhammad Awais Arshad, | HVAC Supervisor Climate Solution, Lahore |
|  | Mr. Farooq Saeed, | In charge HVAC Greaves Air-Conditioning, Lahore |
|  | Mr. Muhammad Shahbaz, | Senior Instructor HVAC Govt. College of Technology, Railway Road, Lahore |
|  | Mr. Shehzad Yousaf, | HVAC Expert Cool Care, Shalimar Garden, Lahore |
|  | Mr. Yasir Ali, | Senior Instructor HVAC Govt. College of Technology, Railway Road, Lahore |
|  | Dr. Zulfiqar Ali Cheema, | Deputy Director (VT)NAVTTC HQ, Islamabad |

# Qualifications Validation Committee

The Qualifications Validation Committee consisted of following members:

| Sr.# | Name | Designation & Organization |
| --- | --- | --- |
|  | Mr. Amjad Mehmood Baloch, | Deputy Manager (Operations) / DACUM Facilitator Punjab TEVTA |
|  | Mr. Muhammad Haroon, | Senior Instructor HVAC Govt. College of Technology, Railway Road, Lahore |
|  | Mr. Muhammad Shahid Saeed, | HVAC Expert Govt. ATC, Township, Lahore |
|  | Engr. Asad Mehmood Butt, | Representative from P. TEVTA, Lahore |
|  | Mr. Ghulam Rasool Rajput, | Representative from S. TEVTA, Karachi |
|  | Mr. Shoukat Ali, | Representative From KPK. TEVTA, Bannu |
|  | Mr. Saulat Saeed, | CEO (HVACR Expert) Air Comfort, Lahore. |
|  | Engr. Liaqat Ali Jamro, | Director Acad & Training S. TEVTA, Karachi |
|  | Mr. Saddam Anwar Rana | Research Officer PBTE, Lahore |
|  | Dr. Zulfiqar Ali Cheema, | Deputy Director (VT)NAVTTC HQ, Islamabad |

# Categorization and Levelling of the Competency Standards

| Code | Competency Standards | NVQF Level-3 | Credits | Category |
| --- | --- | --- | --- | --- |
|  | Perform Basic Computer Operations | 3 | 8 | Digital Skills |
|  | Construct Basic Drawings and symbols | 3 | 6 | Technical |
|  | Install Commercial Refrigeration Unit | 3 | 12 | Technical |
|  | Maintain Commercial Refrigeration Unit | 3 | 12 | Technical |
|  | Install Commercial Air Conditioning Systems | 3 | 12 | Technical |
|  | Maintain Commercial Air Conditioning System | 3 | 10 | Technical |
|  | Total |  | 60 |  |

# Duration of the Course

Proposed course duration 	-	6 months

Estimated contact hours	-	600 hours

Estimated credit hours	-	30 credits

# Equivalency for G-I, G-II & G-III With NVQF Levels

NVQF Level-1 Equivalent to Short Courses

NVQF Level-2 Equivalent to G-III

NVQF Level-3 Equivalent to G-II

NVQF Level-4 Equivalent to G-I

# Details of Competencies Standards.

## Perform Basic Computer Operations

Overview: - This competency standard covers the skills and knowledge required to Operate MS word, Operate MS Excel, Operate MS Power Point, Perform Browsing and Print Document.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Operate MS word | P1. Perform Microsoft basic commands in MS word P2. Open File P3. Format a file - Font (Type/size/bold/Italic) - Header Footer - Page number - Insert pics / table/hyperlink P4. Save a File P5. Save a folder |
| CU2. Operate MS Excel | P1. Perform basic commands in Microsoft MS Excel P2. Open a worksheet P3. Sum functions P4. IF functions P5. Basic calculations P6. Table and graphs P7. Save a worksheet/folder |
| CU3. Operate MS Power Point | P1. Prepare Microsoft power point presentation with basic commands P2. Make a power point file P3. Insert pics/table/hyperlink P4. Design a theme for slides P5. Save a power point file |
| CU4. Perform Browsing | P1. Perform browsing on the internet as per needs P2. Perform search online on new trends in the market with the help of internet. P3. Create Email Account P4. Compose Email |
| CU5. Print Document | - Select Printer - Select page setup - Print relevant pages |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define Basic parts of computers

- Describe the Importance and uses of MS Word

- Describe the Importance and uses of MS Excel

- Describe the Importance and uses of MS Power Point

- Describe the importance of Internet.

- Use of various search engines like Google, U-tube etc.

- Describe Printing Procedure.

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Operate MS word

- Operate MS Excel

- Operate MS Power Point

Tools & Equipment

- Computer sets

- Multimedia

- Computer Tables

- Chairs

- Printer.

- Internet facility.

## Construct Basic Drawings and Symbols

Overview: - This competency standard identifies the competencies required to construct basic drawings and symbols. This will include to draw single stroke capital vertical lettering, draw single stroke capital inclined lettering, draw horizontal, vertical and inclined lines, draw circles, half circles, radius with compass, draw various types of Lines, as per instructions, and draw basic electrical symbols as per instructions. Your underpinning knowledge regarding estimation skills will be sufficient to provide the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| Draw single stroke capital vertical lettering. | - Prepare Drawing sheet. - Select the tools as per drawing. - Select Proper pencil for lettering with holding techniques. - Draw Boundaries lines as per standards. - Make title bar - Draw upper and lower lines for lettering according to standards. P7. Start Writing Vertical Lettering with different style like Gothic, Roman and free hand lettering. |
| Draw single stroke capital inclined lettering. | - Prepare Drawing sheet. - Select the tools as per drawing sheet. - Draw Boundaries lines as per standards. - Make title bar - Draw upper and lower lines for lettering according to standards. P6. Start Writing inclined Lettering with different style like Roman and free hand lettering. |
| Draw horizontal, vertical and inclined lines. | - Prepare Drawing sheet. - Select the tools as per drawing sheet. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. P6. Draw lines at 30, 45, 60,90and 120 angles. |
| Draw circles, half circles, radius with compass. | - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. P6. Make different diameters circles and half circles. |
| Draw various types of Lines, as per instructions | - Prepare Drawing sheet. - Select the tools as per drawing sheet. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw Center lines, - Draw parallel-lines, - Draw perpendicular & bisects line, - Draw equal division of lines |
| Draw basic electrical Symbols as per instructions | - Draw Electrical symbols - Draw Electronics symbols - Draw Refrigeration symbols |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Drawing Pencil, their grading, sharpening and using techniques.

- Style of letters.

- General rules for lettering

- Basic lines

- Importance of lines

- Common Types of lines and correct line weightage.

- Application of lines.

- Introduction to geometry

- Introduction to sketching techniques.

- Introduction to geometry

- Introduction to sketching techniques.

- Techniques of sketching straight lines in different directions.

- Electrical, Electronics and HVACR symbols

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Draw different Lines

- Draw Electrical and Electronics Symbols

- Draw HVACR Symbols

Tool & Equipment

- Graph and drawing sheet.

- Drawing Board/Table.

- T-Square

- Set Square.

- Templates.

- Geometry Box.

- Tee-square and compass.

## Install Commercial Refrigeration Units

Overview: - This Competency Standard covers the competencies required to install different types and sizes of walk-in coolers & freezers, ice making machines, chilled water tanks, along with their accessories and allied components at the workplace in accordance with the given supplier/manufacture’s guidelines. This unit covers the knowledge regarding safety rules, personal protective equipment, and international standards.

| Competency Units | Performance Criteria |
| --- | --- |
| Install Walk-in Cooler / Freezer | - Mark the location for (walk-in cooler/freezer) installation. - Select tools, equipment, and accessories as per job requirement. - Interpret the drawing and layout plans required to install the unit (walk-in cooler/freezer). - Prepare an insulated room for preserving the food. - Prepare steel / concrete foundation / frame for installation of condensing unit following manufacturer’s guidelines. - Prepare and level the place to fix the evaporator and condensing unit firmly, according to manufacturer’s specifications and as per drawing. - Layout piping and control wiring from indoor to outdoor unit according to installation guide. - Perform leak test, evacuation and charge the refrigerant. - Connect the electric supply and operate the unit to check the performance according to unit specifications. - Record all the parameters of the unit. |
| Install Ice Making Machine | - Mark the location for ice making machine installation. - Select tools, equipment, and accessories as per job requirement. - Fix the machine on potable water supply as per specifications. - Provide clearance on each side to meet the standards. - Make water supply and drain connections as per the given standard. - Install a shut-off valve on water supply near the machine according to unit specifications. - Make electric supply “switched ON” and check performance according to machine specification by using specific instruments |
| Install Chilled Water Tank | - Select tools, equipment, and accessories as per job requirement. - Fix the chilled water tank with the Refrigeration system. - Provide clearance on each side to meet the standards. - Make water supply and drain connections as per the given standard. - Install shut-off valve and non-return valve at the main water supply line of the tank for safety purpose. - Fix minimum water level protection and interlocking with refrigeration unit to prevent empty freezing such as float valve. - Make power supply as per manual instructions. |
| Install HVACR Allied Components for commercial refrigeration unit | P1. Select tools, equipment, and related allied components according to job requirements. P2. Install filter drier according to manufacturer’s specifications. P3. Install Sight Glass according to manufacturer’s specifications. P4. Install Vibration Absorber according to manufacturer’s specifications. P5. Install Liquid Receiver as per manufacturer’s specifications. P6. Install Service Valves as per manufacturer’s specifications. P7. Install Heat Exchanger by following manufacturer’s specifications. P8. Install Solenoid Valve according to manufacturer’s specifications. P9. Install Oil Separator by following manufacturer’s specifications. P10. Record the results. |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks/competency units covered in this competency standard. This includes:

- Fundamental knowledge of refrigeration

- Layout plans, drawing including HVAC symbols, and manufacturer’s specifications.

- Type of pipes, pipe fittings and their applications.

- Methods of pipe cutting / welding / jointing / fixing / sealing etc.

- Preparation of hanging supportive structures for piping.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- The candidate will demonstrate the following Installation skills in a simulated environment to provide evidence of competency:

- Install plumbing assembly with Electric Water Cooler / Chilled Water Tank

- Make water drain connections for the installation of Ice Making Machine

- Install any accessory or component related to refrigerating equipment.

- Appropriate use of personal protective equipment

List Of Tools, Equipment and Machinery

- Personal Protective Equipment

- Allen Key Set

- Bench Vice

- Center Punch

- Pedestal Drill Machine

- Digital Vernier Caliper

- Metal Drill Bit Set

- Masonry Drill Set

- File Set

- Hand Hacksaw Frame

- Hand Saw

- Hammer Set

- Mallet Set

- Diagonal Side Cutter

- Combination Plier

- Nose Plier Set

- Locking Plier

- Measuring Tape

- Rivet Gun / Plier

- Adjustable Screw Wrench

- Adjustable Pipe Wrench

- Ratchet Wrench

- Box Spanner Set

- Socket Set

- Open Ended Spanner Set

- Box Spanner Screw Drivers

- Steel Ruler

- Scissors

- Scriber

- Tap and Die Set

- Try Square

- Chisel Set

- Pulley Wheel Puller

- Gas Welding Set with All Accessories

- Nitrogen Gas Cylinder with Hose Pipe, Regulator and Back Arrestor

- Pipe Cutter

- Pipe Vice

- Bearing Puller

- Manual Screw Driver Set

- Electric Screw Driver Set

- Spirit Level

- Electric Hand Grinder

- Wire Stripper

- Digital Multi Meter

- Digital Clamp-On Ampere Meter

- Electric Hand Drills

- Hot Air Gun

- HILTI Drill Machine (Piston Type)

- Digital Optical Tachometer

- Mega meter (0 - 1000 Volts)

- De-Soldering Tool (Solder Sucker)

- Soldering Iron

- Crimping Tool

- Insulation Remover

- Digital Capacitor Analyzer

- Tube Cutter

- Micron Pressure Gauge

- Digital Pressure Gauges Set (High & Combine)

- Pinch-Off Plier

- Flaring and Swaging Tool Kit

- Vacuum Pump 2-Stage, 6cfm

- Tube Benders (Spring Type and Pulley Bender Type)

- Laser Distance Measuring Device

- Laser Temperature Measuring Device

- Electronic Leak Detector

- Manometer

- Digital Air Flow / Velocity Meter

- Portable Refrigerant Charging Station

- Fins Straightening Comb Set

## Maintain Commercial Refrigeration Units

Overview: - This Competency Standard covers the competencies required to diagnose / repair / service commercial refrigeration units at workplace in accordance with the manufacturer specifications / guidelines. This unit covers the knowledge regarding safety rules, personal protective equipment, and international standards.

| Competency Units | Performance Criteria |
| --- | --- |
| Troubleshoot faults in commercial refrigeration unit | - Disconnect the power supply to check the fault in the unit where required. - Follow operational manual to diagnose the fault. - Interpret the error codes. - Select tools, equipment, and related accessories according to the job requirements. - Rectify the causes of the fault. - Start the refrigeration unit and recheck the parameters of the unit as specified by the manufacturer in the manual. - Record all the parameters as per standard. |
| Repair Commercial Refrigeration Units | - Diagnose the fault with the help of given operation manual. - Follow operational manual to diagnose the fault. - Select tools, equipment, and related accessories according to the requirements and standard. - Rectify the diagnosed fault by repairing the components. - Rectify the diagnosed fault by replacing the components. - Switch ON the unit and recheck the performance after repair / replacement. - Record all the parameters as per standard. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Fundamental knowledge of standards by American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE)

- Fundamental knowledge of Electrical and Electronics equipment

- Electrical / Copper Piping layout plans / wiring diagrams related to the commercial refrigeration unit.

- Techniques for diagnosing and troubleshooting of commercial Refrigeration Units

- Familiarity with Refrigeration Units, their error codes, and solutions

- Methods of Copper Tube Cutting / Bending / Swaging / Flaring / Brazing / Jointing / Fixing

- Types of relevant Lubricants, their properties, and use.

- Compressor types and applications

- Types of refrigerants and its properties

- Methods of Pressurizing / Evacuation / Purging / Refrigerant Charging

- Appropriate use of personal protective equipment

- Record keeping and reporting.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- The candidate will demonstrate the following repairing/replacement skills in a simulated environment to provide evidence of competency:

- Diagnose problems in a refrigeration unit.

- Repair leak in refrigeration unit.

- Replace the compressor.

- Replace the thermostat.

- Repair/Replace PCB Card.

List of Tools, Equipment and Machinery

- Personal Protective Equipment

- Allen Key Set

- Bench Vice

- Center Punch

- Pedestal Drill Machine

- Digital Vernier Caliper

- Metal Drill Bit Set

- Masonry Drill Set

- File Set

- Hacksaw Frame

- Hand Saw

- Hammer

- Mallet

- Digital Micro Meter

- Diagonal Side Cutter

- Combination Plier

- Nose Plier Set

- Locking Plier

- Measuring Tape

- Rivet Gun / Plier

- Adjustable Screw Wrench

- Adjustable Pipe Wrench

- Ratchet Wrench

- Box Spanner Set

- Socket Set

- Open Ended Spanner Set

- Box Spanner Screw Drivers

- Steel Ruler

- Scissors

- Scriber

- Tap and Die Set

- Try Square

- Chisel Set

- Gas Welding Set with All Accessories

- Nitrogen Gas Cylinder with Hose Pipe, Regulator and Flash Back Arrestor

- Pipe Cutter

- Pipe Vice

- Bearing Puller

- Manual Screw Driver Set

- Electric Screw Driver Set

- Spirit Level

- Electric Hand Grinder

- De-Soldering Tool

- Soldering Iron

- Crimping Tool

- Insulation Remover

- Wire Stripper

- Digital Multi Meter

- Digital Clamp-On Ampere Meter

- Electric Hand Drills

- Hot Air Gun

- Digital Optical Tacho Meter

- Mega meter (0 - 1000 Volts)

- Water Pressure Gun for Service

- Digital Capacitor Analyzer

- Hand Electric Blower

- Tube Cutter

- Micron Pressure Gauge

- Digital Pressure Gauge Set

- Pinch-Off Plier

- Flaring and Swaging Tool Kit

- Vacuum Pump 2-Stage, 6cfm

- Tube Benders (Spring Type and Pulley Bender Type)

- Laser Temperature Measuring Device

- Electronic Leak Detector

- Manometer

- Digital Air Flow / Velocity Meter

- Portable Refrigerant Charging Station

- Fins Straightening Comb Set

## Install Commercial Air Conditioning Systems

Overview: - This Competency Standard identifies the competencies required to install commercial air conditioning units which include Packaged unit, VRF / VRV, Air/Water-cooled Chiller, Air Handling Unit (AHU)/ Fan Coil Unit (FCU), Cooling Towers and Pumps, along with their accessories at the workplace in accordance with the organizational or customers’ requirements. The installation will be performed under the supervision of HVAC Engineer. This unit covers the knowledge regarding safety rules, personal protective equipment, and international standards.

| Competency Units | Performance Criteria |
| --- | --- |
| Install Packaged unit | - Mark the location to install Packaged unit. - Select tools, equipment, and accessories according to the job requirements. - Prepare foundation as per given drawing. - Fix anchor bolts with isolators. - Adjust and level the Packaged unit by following safety precautions. - Connect Packaged unit with supply, return, and fresh air ducts through flexible connections as per given drawing. - Insulate the supply and return air ducts as per drawings. - Connect the electric power supply and control wire with the unit. - Switch ON the power supply and check the performance according to the given standards. |
| Install Variable Refrigerant Flow (VRF) / Variable Refrigerant Volume (VRV) System | - Mark the locations to install both indoor and outdoor units of VRF / VRV system. - Select tools, equipment, and accessories according to the given job requirements. - Place, adjust and level the outdoor unit on the given foundation. - Install indoor units according to given layout diagrams, client requirements and manufacturer instruction manual - Cut the copper tube using tube cutter as per given sizes. - Rim the copper tubing after cutting. - Swedge the copper tube for soldering / brazing. - Prepare piping, weld / braze by passing the nitrogen though the tubes. - Connect copper tubes from indoor to outdoor unit. - Fix Shut-off valves with service ports on every indoor unit as per manufacture’s recommendation. - Check leaks by applying nitrogen pressure / soapy method before the joints’ insulation. - Repair leakages (if any) after the removal of nitrogen pressure. - Insulate the copper pipe joints according to the given manufacturer instructions and standards. - Evacuate the system. - Switch ON the system and charge the refrigerant as per requirement. |
| Install Air/Water-cooled Chiller | - Mark the location to install Air/Water-cooled chiller. - Select tools, equipment, and accessories according to the given job requirements. - Prepare foundation as per given drawing. - Fix anchors on foundation with vibration isolators. - Place, adjust and level the chiller on isolators. |
| Install Air Handling Units (AHU) / Fan Coil Unit (FCU) | - Mark the location of AHU/FCU as per drawing - Drill the slab for fixing of rod for FCU. - Install FCU with hanging rod with drop-in anchor. - Place AHU on the given foundation as per manufacture’s standard. - Fix anchors on foundation with vibration isolators. - Install AHU on isolators. - Connect duct connection with supply, return and fresh air points of the unit. - Connect pipes for supply, return and drain connections. - Insulate insulation on ducts and pipes. - Establish electric power and control connections. |
| Install water circulating pump | - Mark location to install the pump. - Mount vibration isolators between pump base and foundation. - Fix the pump with chemical anchor bolts. - Level and align the pump as per standard. |
| Install Cooling Tower | - Mark the location for cooling tower installation as per drawing. - Bifurcate cooling tower section/parts for its assembly. - Assemble sump base and fix it with anchor blots on foundation. - Fix all sides panels on sump base as per manufacturer’s drawing. - Fix water distribution sump, fan hub, fix fan and motor with allied components. - Install PVC fills in cooling tower as per manufacturer’s guidelines. |
| Carry out Commissioning | - Select tools, equipment and related accessories according to the given job requirements. - Switch ON power supply of condenser and chilled water pump for water circulation in the system - Start the chiller and take reading of all parameters regarding temperature / pressure and electric power, check and remove unusual vibrations / noises etc. from unit, if any - Perform Air Balancing, and water balancing to check the air / water distribution according to the given design requirements. - Check the system performance as per given design criteria. - Record the results. |
| Install HVAC Accessories for commercial Air Conditioning Systems | P1. Select tools, equipment, and related allied components according to job requirements. P2. Install filter drier according to manufacturer’s specifications. P3. Install Sight Glass according to manufacturer’s specifications. P4. Install Vibration Absorber according to manufacturer’s specifications. P5. Install Liquid Receiver as per manufacturer’s specifications. P6. Install Service Valves as per manufacturer’s specifications. P7. Install Heat Exchanger by following manufacturer’s specifications. P8. Install Solenoid Valve according to manufacturer’s specifications. P9. Install Oil Separator by following manufacturer’s specifications. P10. Switch ON commercial air conditioning unit and check the performance. P11. Record the results. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Knowledge of the standards of American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE)

- Ozone Protection and Synthetic Greenhouse Gas Management Act 1989

- Fundamental knowledge of HVACR, Electric and Electronics

- Techniques for installation of commercial Air conditioners

- Fundamental and Technical Operations of VRF / VRV system

- Electrical / HVACR layout plans/wiring diagrams

- Types of electrical control wires, cables, including underground cables, their ratings, and its applications

- Methods of Copper Tube Cutting / Bending /Swedging / Flaring / Brazing / Y-Jointing / Fixing.

- Gas welding types and techniques

- Types of Insulation and their applications

- Types of AHUs, FCU, Chillers and Cooling Towers, Compressor, Condenser and pump types and their applications

- Types of refrigerants, its properties, recovery, and reclaiming

- Procedure regarding commissioning the central HVACR systems

- Record keeping and reporting

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- The candidate will demonstrate the following Installation skills in a simulated environment to provide evidence of competency:

  - Mark location according to specifications and standards

  - Perform electric connections to joint indoor unit and outdoor unit

  - Install the indoor / outdoor unit according to the given HVACR standards

  - Balancing the system (Air / Water)

  - Appropriate use of personal protective equipment

List of Tools, Equipment and Machinery

- Personal Protective Equipment

- Allen Key Set

- Bench Vice

- Center Punch

- Pedestal Drill Machine

- Digital Vernier Caliper

- Metal Drill Bit Set

- Masonry Drill Set

- File Set

- Hand Hacksaw Frame

- Hammer Set

- Mallet Set

- Digital Micro Meter

- Diagonal Side Cutter

- Combination Plier

- Nose Plier Set

- Locking Plier

- Measuring Tape

- Rivet Gun / Plier

- Adjustable Screw Wrench

- Adjustable Pipe Wrench

- Ratchet Wrench

- Box Spanner Set

- Socket Set

- Open Ended Spanner Set

- Box Spanner Screw Drivers

- Steel Ruler

- Scissors

- Scriber

- Tap and Die Set

- Try Square

- Chisel Set

- Pulley Wheel Puller

- Gas Welding Set with All Accessories

- Nitrogen Gas Cylinder with Hose Pipe, Regulator and Back Arrestor

- Pipe Cutter

- Pipe Vice

- Manual Screw Driver Set

- Electric Screw Driver Set

- Spirit Level

- Electric Hand Grinder

- Soldering Iron

- Crimping Tool

- Insulation Remover

- De-Soldering Tool

- LCR Meter

- Wire Stripper

- Digital Multi Meter

- Digital Clamp-On Ampere Meter

- Electric Hand Drills

- Hot Air Gun

- HILTI Drill Machine (Piston Type)

- Digital Optical Tacho Meter

- Megohmmeter (0 - 1000 Volts)

- Digital Capacitor Analyzer

- Hand Electric Blower

- Tube Cutter

- Micron Pressure Gauge

- Digital Pressure Gauges Set (High & Combine)

- Pinch-Off Plier

- Flaring and Swaging Tool Kit

- Vacuum Pump 2-Stage, 6cfm

- Tube Benders (Spring Type and Pulley Bender Type)

- Laser Distance Measuring Device

- Laser Temperature Measuring Device

- Electronic Leak Detector

- Manometer

- Digital Air Flow / Velocity Meter

- Portable Refrigerant Charging Station

- Fins Straightening Comb Set

- Digital Humidity Meter

- Digital Psychrometer (Hygrometer)

## Maintain Commercial Air Conditioning System

Overview: - This Competency Standard covers the competencies required to maintain commercial air conditioning system at workplace in accordance with the given manufacturer specifications / guidelines. This unit covers the knowledge regarding basic safety rules, Personal Protective Equipment and international standards for repairing / servicing of commercial air conditioning units to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| Troubleshoot the Fault in Commercial Air Conditioning System | P1. Disconnect the power supply to check the fault in the unit where required. P2. Follow operational manual to diagnose the fault. P3. Interpret the error codes. P4. Select tools, equipment, and related accessories according to the job requirements. P5. Rectify the causes of the fault. P6. Start the air conditioning unit and recheck the parameters of the unit as specified by the manufacturer in the manual. P7. Record all the parameters as per standard. |
| Repair Chiller | - Shutdown the chiller and follow the instructions given in the manual for rectification. - Select required tools, equipment and related accessories according to the given job requirements. - Rectify the diagnosed faults; repair / replace the faulty components, as necessary. - Switch ON the system to check the performance of electrical / mechanical components as specified in the given manufacturer manual and record the output results. |
| Repair of Air Handling Unit / Fan Coil Unit | P1. Shutdown the unit as per the job requirement. P2. Check each component of the unit. P3. Follow operational manual to diagnose the fault. P4. Select tools, equipment, and related accessories according to the requirements and standard. P5. Rectify the diagnosed fault by repairing / replacing the components. P6. Switch ON the unit and recheck the performance after repair. P7. Record all the parameters as per standard. |
| Repair Pumps and Cooling Tower | - Detect and diagnose the fault(s) with the help of given manufacturer manual. - Shut down the system and follow the instructions given in manufacturer manual for rectification. - Select required tools, equipment and related accessories according to the job requirements. - Check water level (with the help of water level indicator) of cooling tower. - Check the fan assembly, to check the bearings and motor abnormalities according to the given manufacturer specifications and HVAC standards. - Check the float valves and strainers to maintain water level. - Perform chemical treatment to prevent sludge / scaling problems according to the given manufacturer specifications and HVAC standards. - Start water circulating pump and check the performance according to their given specifications; service / repair, if necessary - Start water circulating pump and check the performance according to their given specifications; service / replacement, if necessary - Clean the sprinkler assembly water pan from leaves, mud, and scale, if any - Rectify the fault and restart the cooling tower and pumps. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Understanding of regulations and standards of American Society Of Heating, Refrigeration, And Air Conditioning Engineers (ASHRAE)

- Ozone Protection and Synthetic Greenhouse Gas Management Act 1989

- Fundamental knowledge of HVACR and Electrical / Electronic components

- Technical Operations of Chillers, Cooling Tower, Pumps, AHUs & FCUs

- Types of electrical controls, wires and cables, including underground cables, their ratings and its applications

- Techniques for Diagnosing and Troubleshooting of commercial Air conditioning systems

- Copper Tube Cutting / Bending /Swaging / Flaring / Brazing / Jointing / Fixing

- Familiarity with commercial Air conditioners error codes and solution

- Types of Motors used in commercial Air conditioners.

- Types of controls and their functions used in commercial air conditioning systems

- Capability to use and handle the micron gauge for deep vacuum measuring

- Gas welding (Soldering and Brazing)

- Types of Insulation and their applications

- Compressor, Condenser, Evaporator types and applications

- Types of Refrigerants, its properties, recovery and reclaiming

- Record keeping and reporting.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- The candidate will demonstrate the following repair / service skills in a simulated environment to provide evidence of competency:

- Diagnose faults of central Air Conditioning Systems by using specified tools and instruments

- Repair refrigerant leaks

- Replace the Condenser motor

- Replace the control

- Replace water pump

- Replace motorized actuators

# List of Tools, Equipment and Machinery

(For a Class Of 25 Students)

| S.# | Description | Quantity |
| --- | --- | --- |
|  | Adjustable Pipe Wrench 10”,12”,14” | 25 Nos |
|  | Adjustable Screw Wrench 8”,10”,12” | 25 Nos |
|  | Allen Key Set | 25 Sets |
|  | Bearing Puller | 25 Nos |
|  | Bench Vice | 25 Nos |
|  | Box Spanner Screw Drivers | 25 Nos |
|  | Box Spanner Set | 25 Sets |
|  | Center Punch | 25 Nos |
|  | Chisel Set | 25 Nos |
|  | Combination Plier 10” | 25 Nos |
|  | Crimping Tool | 25 Nos |
|  | De-Soldering Tool | 25 Nos |
|  | De-Soldering Tool (Solder Sucker) | 25 Nos |
|  | Diagonal Side Cutter | 25 Nos |
|  | Digital Air Flow / Velocity Meter | 25 Nos |
|  | Digital Capacitor Analyzer | 25 Nos |
|  | Digital Clamp-On Ampere Meter | 25 Nos |
|  | Digital Humidity Meter | 25 Nos |
|  | Digital Micro Meter | 25 Nos |
|  | Digital Multi Meter | 25 Nos |
|  | Digital Optical Tachometer | 25 Nos |
|  | Digital Pressure Gauges Set (High & Combine) (High& Low) | 25 Sets |
|  | Digital Psychrometer (Hygrometer) | 25 Nos |
|  | Digital Vernier Caliper | 25 Nos |
|  | Electric Hand Drills | 05 Nos |
|  | Electric Hand Grinder | 05 Nos |
|  | Electric Screw Driver Set (Star, Flat) | 25 Nos |
|  | Electronic Leak Detector | 25 Nos |
|  | File Set | 25 Nos |
|  | Fins Straightening Comb Set | 25 Nos |
|  | Flaring and Swaging Tool Kit | 25 Nos |
|  | Gas Welding Set with Table and All Accessories | 05 Nos |
|  | Hacksaw Frame | 25 Nos |
|  | Hammer Set | 25 Sets |
|  | Hand Electric Blower | 05 Nos |
|  | HILTI Drill Machine (Piston Type) | 05 Nos |
|  | Hot Air Gun | 25 Nos |
|  | Insulation Remover | 25 Nos |
|  | Laser Distance Measuring Device | 25 Nos |
|  | Laser Temperature Measuring Device | 25 Nos |
|  | LCR Meter | 25 Nos |
|  | Locking Plier | 25 Nos |
|  | Mallet Set | 25 Nos |
|  | Manometer | 25 Nos |
|  | Manual Screw Driver Set (Star, Flat) | 25 Sets |
|  | Masonry Drill Set | 25 Sets |
|  | Measuring Tape 5 Meter | 25 Nos |
|  | Mega meter (0 - 1000 Volts) | 05 Nos |
|  | Megohmmeter (0 - 1000 Volts) | 05 Nos |
|  | Metal Drill Bit Set | 25 Sets |
|  | Micron Pressure Gauge | 25 Nos |
|  | Nitrogen Gas Cylinder with Hose Pipe, Regulator and Flash Back Arrestor | 05 Sets |
|  | Nose Plier Set | 25 Nos |
|  | Open Ended Spanner Set | 25 Sets |
|  | Pedestal Drill Machine | 02 Nos |
|  | Personal Protective Equipment (PPE) | 25 Nos |
|  | Pinch-Off Plier | 25 Nos |
|  | Pipe Cutter | 25 Nos |
|  | Pipe Vice | 25 Nos |
|  | Portable Refrigerant Charging Station | 05 Nos |
|  | Pulley Wheel Puller | 25 Nos |
|  | Ratchet Wrench | 25 Nos |
|  | Rivet Gun / Plier | 25 Nos |
|  | Scissors 10” | 25 Nos |
|  | Scriber | 25 Nos |
|  | Socket Set | 25 Sets |
|  | Soldering Iron 120 WATT | 25 Nos |
|  | Spirit Level 12” | 25 Nos |
|  | Steel Ruler 12” | 25 Nos |
|  | Tap and Die Set | 25 Nos |
|  | Try Square | 25 Nos |
|  | Tube Benders (Spring Type and Pulley Bender Type) | 05 Nos each |
|  | Tube Cutter | 25 Nos |
|  | Vacuum Pump 2-Stage, 6cfm | 02 Nos |
|  | Water Pressure Gun for Service | 25 Nos |
|  | Wire Stripper | 25 Nos |

# List of Consumables

| Sr. No. | Consumable | Quantity |
| --- | --- | --- |
|  | Printing Paper A4 size | 1000 Papers |
|  | Graph and drawing sheet | 50 Nos |
|  | Lead Pencils | 50 Nos |
|  | Eraser | 25 Nos |
|  | Sharpener | 25 Nos |
|  | Sand | 500 Kg |
|  | Cement | 50 Kg |
|  | Electric Wires | 5 Coil |
|  | Iron bar | 100 Kg |
|  | Bricks | 1000 Nos |
|  | Copper pipes | 5 Coil |
|  | MS Pipes | 100 ft |
|  | Refrigerant R-22 | 5 Cylinder |
|  | Refrigerant R-407 | 5 Cylinder |
|  | Refrigerant R-32 | 5 Cylinder |
|  | Refrigerant R-600 | 2 Cylinder |
|  | Refrigerant R-410 | 5 Cylinder |
|  | Refrigerant R-134a | 2 Cylinder |
|  | Welding Rods | 2 Kg |
|  | Arrow flex | 50 Nos |
|  | Polyurethane Chemical | 25 Kg |
|  | Nitrogen gas | 5 Cylinder |
|  | Installation Drawings. | As per Requirement |
|  | Welding Electrode | 5 Kg |
|  | MS Sheet | 10 sg ft |
|  | Duct Fittings | As per drawing |
|  | Duct Tee | 5 nos |
|  | Duct Diffuser | 5 Nos |
|  | Duct Grill | 5 Nos |
|  | Duct Elbow | 5 Nos |
|  | Duct Reducer | 5 Nos |
|  | Duct Jointer Sleeve | 5 Nos |
|  | Duct Sealant | 5 Nos |
|  | Duct End cap | 5 Nos |
|  | Duct Dampers | 5 Nos |
|  | Duct Connector | 5 Nos |
|  | Glue | 5 Kg |
|  | Canvas Cloth | 100 sq ft |
|  | Glass wool | 10 kg |
|  | Rawal Bolt | 200 Nos |
|  | Electric Wires | 10 coil |
|  | Silicon | 10 Nos |
|  | Lubricants (Grease) | 2 Kg |
|  | PH paper | 5 Set |
|  | Belts | 25 nos |
|  | Filters | 25 Nos |
|  | Coupling | 25 Nos |
|  | PVC Fins | 100 Nos |
|  | De-Scaler | 25 Kg |
|  | Water Softener | 25 Kg |
|  | Ball Bearing | 50 Nos |