National Vocational Certificate Level-2, HVACR Technician (Domestic)

Curriculum

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level-2 “HAVCR Technician (Domestic)”. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	5

1.1 Date of Development	5

1.2. Date of Review and Validation	5

1.3. Entry Requirement	5

1.4. Minimum qualification for teachers	5

1.5. Medium of instruction	5

1.6. Duration of Course	5

1.7. Overall objectives of training program	5

2.	Scheme of Studies	6

3.	Overview of the Curriculum for HAVCR Technician (Domestic)	6

4.	Detail of Modules.	8

0715A&R201	Maintain Safety at Workplace	8

0715A&R202	Maintain Tools and Equipment for HVAC Operations	10

0715A&R203	Perform Bench Work	12

0715A&R204	Perform Basic Electrical & Electronics Operations	15

0715A&R205	Develop basic communication Skills	19

0715A&R206	Install Domestic Air Conditioner	22

0715A&R207	Maintain Domestic Air Conditioner	25

0715A&R208	Repair / Service Domestic Refrigeration Units	30

0715A&R209	Adopt Green Practices at Workplace	36

5.	List of Tools and Equipment	38

6.	List of Consumables	41

7.	Members of Qualification Development Committee	44

# Introduction

HVACR is an acronym for Heating, Ventilation, Air Conditioning, and Refrigeration. It refers to the integrated systems and technologies used in residential, commercial, and industrial settings to control indoor temperature, humidity, and air quality for comfort, safety, and the preservation of perishables. The addition of "R" for refrigeration signifies the systems' capacity to handle applications beyond simple heating and cooling, such as commercial freezers and cold storage units.

| ## 1.1 Date of Development | 25 to 29 August 25, 2025 |
| --- | --- |
| - Date of Review and Validation |  |
| ## 1.3. Entry Requirement | At least middle or Grade 8 |
| ## 1.4. Minimum qualification for teachers | - Should have completed intermediate or equivalent qualifications and must be a holder of G-II certificate in HVACR OR. - Three years DAE in HVACR/Mechanical Technology. - Must be able to communicate effectively. - Must have at least 4 years teaching experience. |
| ## 1.5. Medium of instruction | Urdu, local language, English |
| ## 1.6. Duration of Course | 6 Months |

  - Overall objectives of training program

The HAVCR Technician (Domestic) qualification of Level-2 consists of 20 % Theory and 80 % Practical and having the following Modules. Details are as follows:

- Maintain Workplace Safety

- Maintain Tools and Equipment for HVAC Operations

- Perform Bench Work

- Perform Basic Electric Operations

- Develop basic communication Skills.

- Install Domestic Air Conditioner

- Maintain Domestic Air Conditioner

- Repair / Service of Domestic Refrigeration Units.

- Adopt Green practices at workplace

# Scheme of Studies

| Module Code | Name of Competency | NVQF Level | Category | Contact Hour |  |  | Credit | Periods per week |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  | Th. | Pr. | Total |
|  | Maintain Workplace Safety | 2 | Functional | 10 | 21 | 31 | 2.1 | 0.6 | 1.3 | 1.9 |
|  | Maintain Tools and Equipment of HVACR | 2 | Technical | 6 | 21 | 27 | 1.7 | 0.4 | 1.3 | 1.7 |
|  | Perform Bench Work | 2 | Technical | 24 | 51 | 75 | 5.0 | 1.5 | 3.2 | 4.7 |
|  | Perform Basic Electric Operations | 2 | Technical | 20 | 51 | 71 | 4.6 | 1.3 | 3.2 | 4.4 |
|  | Develop basic communication Skills. | 2 | Generic | 2 | 6 | 8 | 0.5 | 0.1 | 0.4 | 0.5 |
|  | Install Domestic Air Conditioner | 2 | Technical | 12 | 42 | 54 | 3.3 | 0.8 | 2.6 | 3.4 |
|  | Maintain Domestic Air Conditioner | 2 | Technical | 20 | 48 | 68 | 4.4 | 1.3 | 3.0 | 4.3 |
|  | Repair / Service of Domestic Refrigeration Units. | 2 | Technical | 24 | 54 | 78 | 5.1 | 1.5 | 3.4 | 4.9 |
|  | Adopt Green practices at workplace | 2 | Generic | 2 | 6 | 8 | 0.5 | 0.1 | 0.4 | 0.5 |
|  | On Job Training (OJT) |  |  | 0 | 180 | 180 | 4.5 |  |  |  |
| Total |  |  |  | 120 | 480 | 600 | 27 | 7.5 | 18.8 | 26.3 |

# Overview of the Curriculum for HAVCR Technician (Domestic)

| Module Title | Learning Units | Theory hours | Workplace hours | Timeframe of modules |
| --- | --- | --- | --- | --- |
| Maintain Workplace Safety | LU1: Ensure use of personal protective equipment (PPE) LU2: Maintain First-aid Box LU3: Maintain Fire Extinguisher LU4: Ensure Safety of Tools & Equipment LU5: Adopt Company Policies & Procedures LU6: Respond to Emergencies | 10 | 21 | 31 |
| Maintain Tools and Equipment for HVAC Operations | LU1: Arrange Tools & Equipment for HVAC operations LU2: Maintain Tool Kit LU3: Maintain Inventory of tools and equipment | 6 | 21 | 27 |
| Perform Bench Work | LU1: Perform Measuring LU2: Basic Drawing Operations LU3: Mark the Work piece LU4: Carry-Out Sawing LU5: File the Work-Piece LU6: Carry out Drilling LU7: Produce Threads on Work- Piece LU8: Perform Hand Reaming LU9: Perform Riveting LU10: Perform Plumbing Work LU11: Basic Welding Operations | 24 | 51 | 75 |
| Perform Basic Electric Operations | LU1: Measure Electrical Properties in Circuit (Current, Volt and Resistance) LU2: Construct Electrical Circuits LU3: Calculate Electrical Power and Energy LU4: Operate Electric Motors LU5: Make Basic Electronics Operations LU6: Prepare Estimate | 20 | 51 | 71 |
| Develop basic communication Skills. | LU1: Adopt effective Listening LU2: Perform basic Nonverbal Communication Skill LU3: Develop basic verbal communication Skill LU4: Develop Basic Written Communication Skills | 2 | 6 | 8 |
| Install Domestic Air Conditioner | LU1: Install Window Air Conditioner LU2: Install Split Air Conditioner | 12 | 45 | 57 |
| Maintain Domestic Air Conditioner | LU1: Diagnose Faults in Domestic Air Conditioner LU2: Repair Window / Split Air Conditioner LU3: Service Window Air Conditioner LU4: Service Split Air Conditioner | 20 | 48 | 68 |
| Repair / Service of Domestic Refrigeration Units. | LU1: Diagnose Faults in Domestic Refrigeration Units LU2: Repair / Service the Refrigerator LU3: Repair / Service of Non-Frost Refrigerator LU4: Repair Service of Freezer LU5: Repair / Service Electric Water Cooler / Water Dispenser | 24 | 51 | 75 |
| Adopt Green practices at workplace | LU1: Identify types of waste LU2: Implement waste reduction strategies LU3: Conserve Resources | 2 | 6 | 8 |
|  | On Job Training (OJT) | 0 | 180 | 180 |
| Total |  | 120 | 480 | 600 |

# Detail of Modules.

## Maintain Safety at Workplace

Objective: This module covers the skills and knowledge required to Adopt personal protective equipment (PPE), Maintain First-aid Box, Maintain Fire Extinguisher, Ensure Safety of Tools & Equipment, adopt company policies & procedures and respond to emergencies

| Theory: 10 hours | Practical: 21 hours |  | Duration: 31 hours |
| --- | --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Ensure use of personal protective equipment (PPE) | - Arrange personal protective equipment as per requirements - Wear corrects personal protective equipment - Store PPE at appropriate place after use | - Define Safety - Introduction to Hazards - Potential Hazards at Workplace - Practical Hazards at Work - Prevention of Accidents - Personal Protective Equipment (PPE`s) Practical Activity: - Identify the Cause of Accident by Missing of PPE’s - Wear PPE’s as per standard | Theory:2hrs Practical:3hrs Total:5hrs | - ERT Form - Checklist - Masks - Hand gloves | Class Rooms Work shop |
| LU2: Maintain First-aid Box | - Identify first aid box - Check first aid box for requisite emergency items - Check expiry of medicines - Demonstrate first aid treatment against electric shocks - Demonstrate first aid treatment/bandages against minor injuries | - Define First Aid - Describe First Aid Box - First Aid for Electric Shock - First Aid for Minor Injuries - First Aid for Fire Practical Activity: - Demonstrate First Aid for Electric Shock - Demonstrate First Aid for Minor Injuries - Demonstrate First Aid for Fire | Theory:1hrs Practical:3hrs Total:4hrs | - Bandage kit - Checklist | Class Rooms Work shop |
| LU3: Maintain Fire Extinguisher | - Check expiry of fire extinguisher - Operate fire extinguisher - Replace fire extinguisher | - Define Fire - Types / Classes of Fire - Define Fire Fighting - Types and Uses of Fire extinguisher - Water Hydrants and its Uses Practical Activity: - Eliminate Fire by Use of Fire Extinguisher - Check Expiry Date on Register/Tagging | Theory:2hrs Practical:3hrs Total:5hrs | - Checklist - Tagging | Class Rooms Work shop |
| LU4: Ensure Safety of Tools & Equipment | - Ensure insulation of tools and equipment - Store tools and equipment safely - Clean tools on a regular basis before storing | - Define Tools and Their Types - Precautions in use of Tools - Storing Method of Tools Practical Activity: - Store and Record Tools in Tool Box - Clean Before & After Tools at workplace | Theory:1hr Practical:3hrs Total:4hrs | - Checklist - Tagging - Cleaning materials | Class Rooms Work shop |
| LU5: Adopt Company Policies & Procedures | - Interpret company policy and procedures - Follow company procedures - Follow environmental regulations | - Define Company Policies - Understand Company Policies - Describe Company Procedures - Environmental Regulations Practical Activity: - Enlist some company policies from Manual | Theory:1hrs Practical:3hrs Total:4hrs | - Checklist - Tagging - ERT Forms - Waste Containers - Polytene Bags | Class Rooms Work shop |
| LU6: Respond to Emergencies | - Take emergency response training - Perform emergency exercise - Demonstrate first aid cardio respiratory, resuscitation and CPR - Follow emergency plan - Operate emergency equipment and supplies | - Define and Identify Emergencies - Emergency Respond Training - Cardio Respiratory, Resuscitation CPR - Emergency Response Plan Practical Activity: - Demonstrate Emergency Response in case of Alarm - Use of Accident Reporting form | Theory:3hrs Practical:6hrs Total:9hrs | - Checklist - Tagging - ERT Forms - Waste Containers - Polytene Bags - Emergency Reporting forms | Class Rooms Work shop |

## Maintain Tools and Equipment for HVAC Operations

Objective: This module covers the skills and knowledge required to Arrange Tools & Equipment, Maintain Tool Kit, Insulate Tools and Equipment, calibrate measuring instruments and Manage Inventory of tools and equipment.

| Theory: 6 hours | Practical: 21 hours |  | Duration: 27 hours |
| --- | --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Arrange Tools & Equipment for HVAC operations | - Identify tools and equipment as per instructions - Prepare list of tools and equipment as per requirement - Check specifications of measuring Instruments - Collect tools and equipment from designated space | - Tools and Their Types - Identity and Use of Tools - Identity and Use of Equipment - Enlist Tools separately Practical Activity: - Select & Identify General Tools - Select & Identify Special Tools - Identify and Enlist Tools according to use | Theory:2hrs Practical:6hrs Total:08hrs | - Daily Log Sheet - Tools maintenance checklist | Class Rooms Work shop |
| LU2: Maintain Tool Kit | - Check Physical Condition of Tools & Equipment before use - Perform preventive maintenance as per standards - Perform corrective maintenance (If required) - Clean Tools and equipment after use - Place tools and equipment at appropriate place | - Tool Maintenance - Hand Tools - Power Tools Practical Activity: - Keep Tool Safely after cleaning and maintenance | Theory:2hrs Practical:6hrs Total:08hrs | - Tools maintenance checklist - PPE’S Equipment checklist | Class Rooms Work shop |
| LU3: Maintain Inventory of tools and equipment | - Check number of tools and equipment as per record - Report on faulty tools and equipment - Generate demand for replacement of defective tools and equipment - Maintain records of all tools and equipment. | - Missing Tools - Track Inventory of Tools - Categorize Tool and Equipment - Tagging - Track Tools Usage - Track Repair and Warranty - Broken Tools - Determine Optimum Utilization - Asset Management System - Equipment Usage Accountability Practical Activity: - Prepare a demand for replacement of Tools & Material, and record new tools in inventory | Theory:2hrs Practical:9hrs Total:11hrs | - Log sheets - Tools Record keeping Forms - Writing Material | Class Rooms Work shop |

## Perform Bench Work

Objective: This module covers the identity of the competencies you need to perform bench work operations using different tools and equipment, in accordance with approved procedures. You will be expected to perform sawing, filing, threading and reaming using hand tools. You will be required to operate the tools and equipment safely by complying the organizational safety policy and approved procedures. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Theory: 24 hours | Practical: 51 hours |  | Duration: 75 hours |
| --- | --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Carry Out Sawing | - Select appropriate blade and set in hacksaw frame according to the job requirement - Select appropriate marking tool(s), mark the work piece and clamp it in the vice firmly as per standard practices - Adopt sawing methods and techniques that are safe and suitable to produce the work-piece as needed - Follow marked line during sawing of work piece to - ensure accuracy | - Usage of bench-work tools and equipment Interpret basic drawings - Measurement systems - Use of measuring and marking tools Usage of bench working tools - Procedure of safe clamping the work-piece - Personal Protective Equipment (PPEs) and workplace safety Practical Activity: - Measure by Steal Rule - Measure by Measuring Tape - Measure by Vernier Caliper - Measure by Micrometer - Use of Different Gauges | Theory:4hrs Practical:6hrs Total:10hrs | - Hacksaw Blades - Marking materials | Class Rooms Work shop |
| LU2: File the Work-Piece | - Select appropriate file and marking tool(s) according to the job requirement - Mark the work-piece and clamp it in the vice firmly as per standard practices - Adopt filing method and technique which is safe and suitable to produce the work-piece as needed - Follow drawing dimensions and surface finish of filed - work-piece to ensure accuracy and precision | - Introduction to Drawing - Drawing instruments - Line And its Types - Types of Drawing - Basic Geometrical Figures - Sketches - Symbols Practical Activity: - Draw Simple Drawings - Interpret Different Drawings | Theory:4hrs Practical:9hrs Total:13hrs | - Marking materials - Cutting materials | Class Rooms Work shop |
| LU3: Carry out Drilling | - Select and Use PPE`s - Setup drill machine for producing hole in the work-piece according to the job requirement - Select drill bit and marking tools according to the material and job requirement, respectively - Mark the work-piece according to the drawing and clamp it in the vice firmly as per standard practices - Adopt proper drilling method (manual/auto-feed, applying coolants) which is safe and suitable to produce the hole in work-piece - Follow drawing dimensions of drilled hole to ensure accuracy and precision | - Safety Precautions for Drilling - Define Drilling - Parts of Drill - Operations of Drill Machine - Drill Machine and its Types - Cutting Speed and Feed for Drilling - Process for Drilling Practical Activity: - Drilling Counter Boring, Counter Sinking, Spot Facing, Machine Reaming | Theory:4hrs Practical:12hrs Total:16hrs | - Marking materials - Cutting materials - Drill bit sets | Class Rooms Work shop |
| LU4: Produce Threads on Work- Piece | - Select and Use PPE`s - Select tap and die according to the type of thread to be produced on work-piece as per drawing - Clamp the work-piece in the clamping device firmly as per standard practices - Ensure the tap and die alignment as per prescribed standard - Make thread with die and follow appropriate sequence in case of using taps - Ensure the safety and dimensional accuracy of threads on work-piece as per drawing | - Threading - Safety Precautions for Tap and Die - Types of Threading - Thread Accuracy - Threading Process Practical Activity: - Cut Internal Threads - Make External Threads | Theory:4hrs Practical:9hrs Total:13hrs | - Marking materials - Cutting materials - Mose sets - Tap and Die set | Class Rooms Work shop |
| LU5: Perform Hand Reaming | - Select and Use PPE`s - Select reamer according to the work-piece requirement - Clamp the work-piece in the clamping device firmly as per standard practices - Produce reamed hole by following safety and prescribed method - Ensure the accuracy and size of reamed hole of work-piece according to the drawing | - Safety Precaution for Reaming - Define Reaming - Reaming Process - Types of Reamers - Cutting Margin for Reaming - Reaming Process Practical Activity: - Perform Drilling and Reaming according to Drawing | Theory:4hrs Practical:6hrs Total:10hrs | - Marking materials - Cutting materials | Class Rooms Work shop |
| LU6: Perform Riveting | - Select and Use PPE`s - Select Rivets. - Select Drill bit size - Drill holes in G.I. sheets - Cary out Riveting to fasten two GI sheets | - Rivets and its Types - Riveting Procedure - Types of Riveted Joints - Tools Used for Riveting - Selection of Rivets Practical Activity: - Make a Joint of Sheet as shown with help of Rivets | Theory:4hrs Practical:9hrs Total:13hrs | - Marking materials - Cutting materials - Rivets - Iron/GI Sheet | Class Rooms Work shop |

## Perform Basic Electrical & Electronics Operations

Objective: This module covers the skills and knowledge required to Measure Electrical Current and Resistance, Perform Voltage Measurement, Calculate Electrical Power, Perform Capacitance and Inductance measurement/Test, Perform Low voltage (Step-down) transformer test and Construct rectifier circuit and DC regulated power supply. This competency standard also covers the hand on skills to construct different circuits and fundamentals of repairing of PCB Kit for different applications.

Theory: 20 hours						Practical: 51 hours 				Duration: 71 hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Measure Electrical Properties in Circuit (Current, Volt and Resistance) | - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace - Select and Use Proper tools and material for Electric Circuit - Select and Use Proper Equipment to measure Electrical Properties in Electric Circuit (Voltmeter, Ampere Meter, Ohm Meter, Watt Meter AVO Meter & Clamp On Meter) - Test Continuity in Circuit - Perform measurement of Electrical Properties in Electrical Circuit | - Safety Precautions for Electrical Works - PPE`s used for Electrical Works - Tools and equipment Used in Electrical Works - Introduction to Electricity - Fundamentals of Electricity - Instruments used in electricity Practical Activity: - Measure Volt, Current and Resistance with Multi meter - Measure Volt, Current and Resistance with Multi meter - Check Continuity of Circuit / Equipment - Measure Volts by Volt Meter - Measure Current By Amp Meter - Measure Resistance by Ohm Meter - Measure Power by Watt Meter | Theory:4hrs Practical:9hrs Total:13hrs | - ERT Form - Checklist - Masks - Hand gloves - Electric wires | Class Rooms Work shop |
| LU2: Construct Electrical Circuits | - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace - Select and Use Proper tools, Equipment and material for Electric Circuit - Make Joints of Electric Cable - Interpret Drawings of Circuit - Construct Circuit according to Drawing - Install Transformer in Circuit - Connect Capacitor in Circuit - Calculate Capacitance of Capacitor - Test a Capacitor | - Circuit - Condition of Circuit - Types of Circuit - Transformer, its Construction and Types - Capacitor, its Construction and Types Practical Activity: - Make Joints of Electric Cable - Construct series arrangement of resistances in a closed loop circuit - Construct Parallel arrangement of resistances in a closed loop circuit - Construct Staircase Circuit - Construct Series Parallel Test Board Circuit - Install Transformer in Circuit - Measure Primary and Secondary Volts of Transformer - Connect Capacitor in Circuit - Calculate Capacitance of Capacitor - Test a Capacitor | Theory:4hrs Practical:09hrs Total:13hrs | - Switches - Sockets - Fuse - Electric Wires - Lamp Holder - Lamp - Amp. Volt Meter - Circuit Diagram | Class Rooms Work shop |
| LU3: Calculate Electrical Power and Energy | - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace - Calculate Electrical Power for Parallel circuit - Calculate Electrical Power for series circuit - Calculate Electrical Energy of a Circuit | - Ohm`s Law - Introduction to Electric Power and Energy - Unit of Power - Method to Measure Power and Energy Practical Activity: - Measure and Calculate Electric Power and Energy and Record it | Theory:4hrs Practical:09hrs Total:13hrs | - Electric Wires - Powe Log Sheet | Class Rooms Work shop |
| LU4: Operate Electric Motors | - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace - Identify Electric Motor Parts - Find out Electric Motor Terminals - Test Insulation of Electric Motor - Make Connections of Electric Motor | - Definition - Kinds of Motor - AC Motor - Types of AC Motor - Working Principal of AC Motor - Types of DC Motor - Universal Motor Practical Activity: - Identify Electric Motor Parts - Find out Electric Motor Terminals - Test Insulation of Electric Motor - Make Connections of Electric Motor | Theory:2hrs Practical:9hrs Total:11hrs | - Electric Wires - Thimbles - Insulation Tape | Class Rooms Work shop |
| LU5: Make Basic Electronics Operations | - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace and Use PPE`s - Select and Use Proper tools and Equipment for Electronics - Identify PCB and its Components - Identify and Select Resistance with Color Code Guide - Test and Connect Components of PCB - Measure Electric Inductor Coil - Test a Remote Control | - Tools and Instruments for Electronics Works - Introduction to Electronics - PCB and its Components - Carbon Resistance - Semiconductor and its Types - Inductive Coil - Diode and its Types - Transistor and Its Types - Sensor and its Types Practical Activity: - Select and Use Proper tools and Equipment for Electronics - Soldering Exercise - Identify PCB and its Components - Identify and Select Resistance with Color Code Guide - Test and Connect a Carbon Resistance - Test and Connect a Semi-Conductor - Test and Connect a Diode - Measure Electric Inductor Coil - Test a Remote Control | Theory:5hrs Practical:12hrs Total:17hrs | - Carbon Resistance - Diode - PCB - Transistor - Capacitor - Infrared Light | Class Rooms Work shop |
| LU6: Prepare Estimate | - Prepare estimate of material according to drawing - Calculate working hour according to given drawing for job completion. - Prepare estimate of labour. | - Tools and Material for Estimation - Norms in Interacting & Negotiating with Customers/Clients - Norms and Standard Formats of Preparing Estimates - Record Keeping and Reporting - Material Cost - Labour Cost - Contingencies - Overhead Charges - Supervision Charges - Contractor Profit - Cost Estimation Practical Activity: - Prepare Estimation of Material Cost according to Drawing - Calculate the Man Hours for Work as per Drawing - Make the Cost Estimate of Labour as per Requirement | Theory:1hr Practical:3hrs Total:4hrs | - Paper - Pencil - Eraser - Sharpener | Class Rooms Work shop |

## Develop basic communication Skills

Objective: This module covers the skills and knowledge required to adopt effective Listening, Develop Nonverbal Communication, Develop verbal communication, and Develop Written Communication Skills.

Theory: 2 hours						Practical: 6 hours 					Duration: 8 hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Adopt effective Listening | - Actively listens to others without interrupting and demonstrates patience and respect. - Ask questions to enhance understanding of the speaker's message. - Interprets information to confirm understanding. - Maintains eye contact and provides non-verbal cues (nodding, facial expressions) to show attention. - Limits distraction and focuses attention on the speaker during conversations or presentations. | - Effective listening skills - Principles of effective and interactive communication. - 7 C’s of communication - Procedure engages fully with the speaker - Avoiding Interruptions - After ending the class switch off the lights and fans. Practical Activity Mock Interview between Trainees | Theory:0.5hrs Practical:1.5hrs Total:02hrs | Chairs and table | Class Room |
| LU2: Perform basic Nonverbal Communication Skill | - Demonstrates appropriate body language, such as posture and gestures, to show confidence. - Adapts nonverbal cues to align with the machining environment's technical context and cultural norms. - Interprets and responds to nonverbal signals from colleagues and supervisors to enhance understanding and collaboration. | - Body Language - Practice and Self-Awareness - Be aware of cultural differences - After ending the class and workshop switch off the lights and fans. - After ending the sessions save the signs chart in cabinet. Practical Activity - Perform some safety signals. | Theory:0.5hrs Practical:1.5hrs Total:02hrs | Different Safety signs charts | Class Room or workshop |
| LU3: Develop basic verbal communication Skill | - Speaks clearly and confidently when discussing machining tasks and procedures. - Adapt technical terms and industry-specific language that are easy to understand for colleagues and supervisors. - Follow ideas and instructions in a logical and organized manner. - Listens actively and responds appropriately during conversations and meetings. - Engages in collaborative discussions to solve machining-related problems. | - verbal communication - Effective negotiation skills. - Conflict resolution strategies. - After ending the class switch off the lights and fans. Practical activity: Demonstrate communication methods. | Theory:0.5hrs Practical:1.5hrs Total:02hrs | 4 size paper 01 No for each trainee. Dice 01 Nos | Class Room |
| LU4: Develop Basic Written Communication Skills | - Writes clear and simple technical notes and reports related to machining tasks. - Adapt understandable language and technical terms appropriate for machinists. - Includes diagrams or ketches to clarify written instructions or reports. | - Practice writing technical reports logs - Create and interpret technical drawings. - After ending the class switch off the lights and fans. - After ending the session set your chairs and tables Practical activity: Write down communication methods. | Theory:0.5hrs Practical:1.5hrs Total:02hrs | A4 size paper 01 No for each trainee. | Class Room |

## Install Domestic Air Conditioner

Objective: This module covers the skills and knowledge required to Install Window Air Conditioner and Install Split Air Conditioner.

Theory:12 Hours				      	Practical: 42 Hours 					Duration: 54 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Install Window Air Conditioner | - Select tools, equipment and related accessories according to job requirements - Mark the location on the wall where Window Air conditioner to be installed according to Unit specifications and client requirements. - Make opening at marked area on the wall - Fix Iron / wooden frame in the opening firmly and Air conditioner cover insert in it according to the instructional manual and standards - Install the Air conditioner in the framed opening with standard slope so that condensate water dropped out side. - Cover / Seal side air gaps of opening with insulation material - Fix the fancy wooden border around the Air conditioner grill as per client’s requirement - Fix the Air conditioner condensate drain pipe and put into main sewerage line. - Arrange power supply with circuit breaker near the Air conditioner - Make sure that all packing materials - including Cardboard, Styrofoam, Tape, and Plastic Film have been removed from the site after installation - Switch on the Air conditioner and check Air conditioner’s performance as per capacity and specifications. | - Fundamental knowledge of HVACR, Electric and Electronics - Techniques for installation of Window - Electrical / HVAC layout plans/wiring diagrams - Type of Electrical wires and cables including underground cables, their ratings and applications - Methods of Copper Tube Cutting / Reaming / Bending / Swaging / Flaring - / Brazing / Jointing / Fixing - Basic masonry and carpentry applications - Gas welding (Soldering and Brazing) - Types of insulation and their applications - Compressor types and applications - Methods of Pressurizing / Evacuations - / Purging / Refrigerant Charging - Types of Refrigerants, its properties, recycling, recovery and reclaiming - Record Keeping and reporting Practical Activity: Install a Window AC | Theory:06Hrs Practice: 21Hrs Total: 27Hrs | - Drain Pipe - Wooden Border - Insulating Material - Electric Wire - Pipe Clump - Plaster of Paris | Class room Work Shop |
| LU2: Install Split Air Conditioner | - Select tools, equipment and related accessories according to job requirements - Select and mark the area on the wall where Indoor and Outdoor units are to be installed according to Unit specifications and client requirements. - Perform physical inspection of indoor and outdoor unit according to unit specifications. - Make opening for the refrigerant pipes, Condensate pipe and control wires to pass through - Mount the Indoor unit wall mounting plate according to manufacturer’s specifications and install the indoor unit on it - Prepare the base for fixing of Outdoor according to manufacturer’s specifications and fix on it - Connect the refrigerant pipes amongst both indoor and outdoor units, supply and control wires according to manufacturer’s manual - Add additional refrigerant for additional piping according to manufacturer’s recommendations. - Make oil trap in copper pipe as per site requirement. - Perform leak test, evacuation procedure, charge refrigerant and open the service valves - Insulate the joints and refrigerant pipes according to standards and manufacturer’s installation manual - Make sure that all packing materials - including Cardboard, Styrofoam, Tape, and Plastic film have been removed - Switch on the Air conditioner and check performance as per capacity and specifications. | - Basic load calculation for cooling / heating - Fundamental knowledge of HVACR, Electric and Electronics - Techniques for installation of Split (DC Inverter) - Technical Operations of all types of Split Air Conditioners - Electrical / HVAC layout plans/wiring diagrams - Type of Electrical wires and cables including underground cables, their ratings and applications - Methods of Copper Tube Cutting / Reaming / Bending / Swaging / Flaring - / Brazing / Jointing / Fixing - Types of insulation and their applications - Compressor types and applications - Methods of Pressurizing / Evacuations - / Purging / Refrigerant Charging - Types of Refrigerants, its properties, recycling, recovery and reclaiming - Record Keeping and reporting Practical Activities: - Install DC Inverter Split Air Conditioner | Theory:06Hrs Practice:21Hrs Total:27Hrs | - Electric Wire - Rawal Bolt - Drain Pipe - Pipe Insulation - Arrow Flex - Copper Pipe - Flair Nut - Union - Wrapping Tape - Plaster of Paris - Soapy Solution - Refrigerant - PVC Tape | Class room Work shop |

## Maintain Domestic Air Conditioner

Objective: This module covers the skills and knowledge required to diagnose / repair / service Domestic Air Conditioners at workplace in accordance with the manufacturer specifications / guidelines. This unit covers the knowledge regarding safety rules, Personal Protective Equipment, and international standards for repairing / servicing of Domestic Air Conditioners to provide you the basis for your work.

| Theory: 20 hours | Practical: 48 hours |  | Duration: 68 hours |
| --- | --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Diagnose Faults in Domestic Air Conditioner | - Check for visible problem to determine which component or system is causing the problem - Select tools, equipment and related accessories according to requirements and standards - Check power supply, electric wiring, glass fuse and electronic components as recommended by manufacturer, and record the results - Check evaporator filter and condenser coil as recommended by manufacturer, and record the results - Check refrigerant pressure as recommended by manufacturer, and record the results - Isolate and recheck the causes of the problem and rectify the fault | - Fundamental knowledge of HVACR, Electric and Electronics - Understand Refrigeration Cycle - Compressor types and applications - Condenser types and applications - Refrigerant Control types and applications - Evaporator types and applications - Types of Refrigerants, its properties, recycling, recovery and reclaiming - Domestic HVACR Systems - Techniques of diagnosing and troubleshooting of Domestic Air Conditioners - Technical Operations of all types of Air Conditioners - Electrical / HVAC layout plans/wiring diagrams - Electric Controls use in Domestic Air Conditioning Systems - Familiarity with Domestic Air Conditioner error codes and solution - Types of motors used in Domestic Air Conditioners - Types of lubricants and their properties - Capable to replace PCB Card - Record Keeping and reporting Practical Activity: - Check air conditioning unit, rectify its fault and make its report on design format. | Theory:5hrs Practical:12hrs Total:17hrs | - Electric Wire - Nitrogen Gas - Refrigerant - Fuse - Capacitor - Senser | Class Rooms Work shop |
| LU2: Repair Window / Split Air Conditioner | - Select tools, equipment and related accessories according to job requirements - Disconnect the Air Conditioner from electric supply and follow the manual instructions for rectification - Rectify the diagnosed faults; repair / replace the components, as necessary - Switch on the Air Conditioner to check the performance of electrical / electronic and mechanical components as specified in the manufacturer manual and record the results | - Techniques of Repairing and troubleshooting of Domestic Air Conditioners - Methods of Copper Tube Cutting / Reaming / Bending / Swaging / Flaring / Brazing / Jointing / Fixing - Gas welding (Soldering and Brazing) - Types of insulation and their applications - Methods of Pressurizing / Evacuations / Purging / Refrigerant Charging Practical Activity: - Check problem in AC Unit & determine which component or system is causing the problem, check Electric Wiring and Replace Faulty Parts, run unit and its parameters - Check and install Selector Switch in Window Air Conditioner - Re Fixing and Fixing of Blower Motor in Window Air Conditioner - Check and Replace Capacitor - Checking and Installation of Starting kit (Potential Relay and Starting Capacitor) in Air Conditioner - Replace PCB Kit in Split Air Conditioner - Check and Replace Sensors in Split Air Conditioner / DC Inverter - Check and replace Components in PCB - Find Terminals of Compressor - Start a compressor (Without Relay/Capacitor & With Relay / Capacitor) - Repair a damaged Flare - Check Refrigerant Pressure and Leaks - Repair Leaks - Evacuate System of Air Conditioner - Charge Refrigerant in Air Conditioner - Switch on the Air Conditioner to check the performance of electrical / electronic and mechanical components as specified in the manufacturer manual and record the results - Interpret the error codes in Split Air Conditioner / DC Inverter - Rectify Problems according to Error Codes - Retrofit in Domestic Air Conditioner - Recycling of Refrigerant - Repair / Replace Solenoid Valve of DC Inverter Air Conditioner - Troubleshooting in Domestic Air Conditioner - Convert DC Inverter Air Conditioner from Cooling to Heating Mode | Theory:5hrs Practical:12hrs Total:17hrs | - Electric Wire - Nitrogen Gas - Refrigerant - Fuse - Capacitor - Senser - Copper Pipe - Breaker - Compressor Oil - Soapy Solution - Rubber O Ring for Service valve - Teflon Tape - Flare Nut - Union | Class Rooms Work shop |
| LU3: Service Window Air Conditioner | - Select tools, equipment and related accessories according to job requirements - Start the Air Conditioner, check and record performance by using specified test instruments - Disconnect the Air Conditioner from electric supply and remove Air Conditioner from the cover - Secure the electric / electronic components with polythene sheet - Clean / wash all mechanical parts of Window Air conditioner with specified cleaning agents / detergent by using pressure pump - Fix the Air conditioner in the cover, connect with electric supply, check and record performance | - Techniques of Servicing of Window Air Conditioners Practical Activity: - Service a Window Air Conditioner and Straight its fins | Theory:5hrs Practical:12hrs Total:17hrs | - External/ Internal Solvents - Detergent - Brush - Waste cloth - Refrigerant | Class Rooms Work shop |
| LU4: Service Split Air Conditioner | - Select tools, equipment and related accessories according to job requirements - Start the Air Conditioner, check and record performance by using specified test instruments - Pump down the split Air Conditioner and dismantle both indoor unit and condensing unit - Clean the components of Air conditioner with specified cleaning agents / tools and material - Re-Install the indoor and outdoor unit; connect with refrigerant pipes, control wires and evacuation; open the service valves and leak testing - Switch on the Air Conditioner, check and record performance | - Techniques of Servicing of Split Air Conditioner - Pump Down Practical Activity: - Pump Down Split Air Conditioner - Service a Split Air Conditioner | Theory:5hrs Practical:12hrs Total:17hrs | - External/ Internal Solvents - Detergent - Brush - Waste cloth - Refrigerant | Class Rooms Work shop |

## Repair / Service Domestic Refrigeration Units

Objective: This module covers the skills and knowledge required to diagnose / repair / service Domestic refrigeration units (Refrigerator / Deep freezer / Watercooler / Water dispenser) at workplace in accordance with the manufacturer specifications / guidelines. This unit covers the knowledge regarding safety rules, Personal Protective Equipment, and international standards for repairing / servicing of Domestic refrigeration units to provide you the basis for your work.

| Theory: 24 hours | Practical: 54 hours |  | Duration: 78 hours |
| --- | --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Diagnose Faults in Domestic Refrigeration Units | - Check for obvious problem to determine which component or system is causing the problem - Select tools, equipment and related accessories according to requirements and standards - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO Meter / Gauge manifold as recommended by manufacturer and record the results - Eliminate the causes of the problem according to the manufacturer manual and standards - Isolate and recheck the causes of the problem and rectify the fault - Start the refrigeration unit and recheck as specified in the manufacturer manual and record the results | - Fundamental knowledge of HVACR, Domestic units Electric and Electronics - Understand Refrigeration Cycle - Compressor types and applications - Condenser types and applications - Refrigerant types and applications - Evaporator types and applications - Types of Refrigerants, its properties, recycling, recovery and reclaiming - Domestic HVACR Systems - Techniques of diagnosing and troubleshooting of Domestic Refrigeration Units - Technical Operations of all types of Refrigeration Units - Electrical / HVAC layout plans/wiring diagrams - Methods of Copper Tube Cutting / Reaming / Bending / Swaging / Flaring / Brazing / Jointing / Fixing - Gas welding (Soldering and Brazing) - Types of insulation and their applications - Methods of Pressurizing / Evacuations / Purging / Refrigerant Charging - Electric Controls use in Domestic Refrigeration Units - Types of motors used in Domestic Refrigeration Units - Types of lubricants and their properties - PCB Card, its Components and replacement method - Record Keeping and reporting Practical Activity: - Check for visible problem to determine which component or system is causing the problem - Check and Record Volts at Various Points - Check and Report Starting Relay - Check and Report Overload - Check and Report Thermostat - Check and Report Compressor - Understand and Check Electric Wiring - Check and Report Pressure in System | Theory:8hrs Practical:18hrs Total:26hrs | - Electric Wire - Capacitor - Thermostat - Lamp - Door Switch - Defrosting Heater/ Timer - Bi-metal strip - Thermal Disk - Sensor - PCB card - Relay - Over Load - Refrigerant - Pin Valve - Thimble | Class Rooms Work shop |
| LU2: Repair/Service Residential Refrigerator/Freezer | - Select tools, equipment and related accessories according to job requirements - Disconnect the Refrigerator / Freezer from electric supply and follow the instructions in manufacture manual for rectification - Rectify the diagnosed faults; repair / replace the components, as necessary - Check, wash and restore to the actual condition Refrigerator / Freezer Body / Cabinets - Check, service, and replace, if necessary, the proper functioning of Thermostat / Door Gasket / Heaters - Switch on the Refrigerator / Freezer to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results | - Techniques of diagnosing and troubleshooting of Domestic Refrigerator - Safety Precautions about servicing Practical Activity: - Install Refrigerator - Service Refrigerator - Check and Replace Overload - Check and Replace Relay (Current Relay, PTC Relay) - Check and Replace Thermostat - Check and Replace Capacitor - Test Compressor (Electrical, Mechanical) - Complete Electric Wiring of Refrigerator - Check and Replace Door Gas Kit of Refrigerator - Install Compressor in Refrigerator - Drain oil and charge new oil in Compressor - Find Terminals of Compressor - Start a compressor (Without Relay/Capacitor & With Relay Capacitor) - Start a jam Compressor - Cut the Copper Pipe of Required length - Make Flare on Copper Pipe - Make Swage on Copper Pipe - Connect Two Copper Pipes with Brass Fittings - Connect Two Copper Pipe with Gas Welding (Soldering & Brazing) - Bend Copper Tubes at Required Angle (By Spring Bender & Lever Bender) - Service the Condenser - Flush the Refrigeration System - Replace Leak Condenser with New one - Replace Compressor of Refrigerator - Pressurize Refrigeration System, find and Rectify Leaks - Evacuate Refrigeration System of Refrigerator - Charge Refrigerant in Refrigerator - Switch on the Refrigerator to check the performance of electrical and mechanical components as specified in the manufacturer manual and record the results - Eliminate Chock in Refrigeration System - Defrost Refrigerator Evaporator - Retrofit in Domestic Refrigerator - Troubleshooting in Refrigerator | Theory:8hrs Practical:18hrs Total:26hrs | - Electric Wire - Capacitor - Thermostat - Lamp - Door Switch - Defrosting Heater/ Timer - Bi-metal strip - Thermal Disk - Sensor - PCB card - Relay - Over Load - Refrigerant - Pin Valve - Thimble - Condenser fan - Fan Motor | Class Rooms Work shop |
| LU3: Repair/Service Electric Water Cooler/Water Dispenser | - Select tools, equipment and related accessories according to job requirements - Disconnect the water cooler / dispenser from electric supply and follow the manual instructions for rectification - Rectify the diagnosed faults; repair / replace the components, as necessary - Check, wash and restore to actual condition Water Cooler / Dispenser Body / Mounts - Switch on water cooler / dispenser to check the performance of electrical / electronic and mechanical components as specified in the manufacturer manual and record the results | - Technical Operation of Non-Frost Refrigerator - Refrigeration Cycle for Non-Frost Refrigerator - Components of Non-Frost Refrigerator - Techniques of diagnosing and troubleshooting of Non-Frost Refrigerator - Electrical / HVACR layout plans/wiring diagrams for Non-Frost Refrigerator Practical Activity: - Service of Non-Frost Refrigerator - Check for visible problem to determine which component or system is causing the problem - Check and Install Perishable Compartment Switch - Check and Install Thermostat - Check and Install Defrost Timer - Check and Install Heater Eliminator Switch (Thermal Disc) - Check and Install Heaters - Replace Evaporator Fan Motor - Check and Replace Door Switch - Replace PCB Kit in Non-Frost Refrigerator - Check and Replace Sensors in Non-Frost Refrigerator - Gas Charging in Non-Frost Refrigerator - Check and replace components in PCB - Troubleshooting in Non-Frost Refrigerator | Theory:8hrs Practical:18hrs Total:26hrs | - Electric Wire - Capacitor - Thermostat - Lamp - Door Switch - Defrosting Heater/ Timer - Bi-metal strip - Thermal Disk - Sensor - PCB card - Relay - Over Load - Refrigerant - Pin Valve - Thimble - Nitrogen gas - Welding Rod - Flex - Soapy Solution - External Cleaning Solvents - Waste Cloth - Emeri Paper | Class Rooms Work shop |

## Adopt Green Practices at Workplace

Objective: This module covers the skills and knowledge required to ensure adopt green practices at workplace. Overall, the HVACR Technician can play an important role in conserving resources by implementing sustainable practices, selecting environmentally friendly materials, and ensuring that equipment is used efficiently.

| Theory: 2 hours | Practical: 6 hours |  | Duration: 8 hours |
| --- | --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Identify types of waste | - Identify the following wastes: - General waste (everyday waste produced in the workplace e.g. paper, cardboard, and non-hazardous materials). - Construction and demolition waste (produced during construction and demolition activities e.g. concrete, bricks, wood,). - Hazardous waste (which poses a threat to human health and the environment, e.g. chemicals, batteries). - Industrial waste (produced through industrial processes e.g. manufacturing, mining, and oil and gas operations). - Handle types of wastes identified during operation as per Standard Operating Procedures according to company policy. - Dispose off wastes as per the Standard Operating Procedures according to company policy. | - Define Waste - Types of Waste - Waste Disposal Methods Practical Activity: - Identify & Collect Different Types of Waste | Theory:1hr Practical:3hrs Total:4hrs | - Safety gloves & Helmets - Appropriate safety glasses, - Breathing apparatus, Body Harness & High-resolution reflective Jacket - De-electric boots and gloves for protection from electrical shock and Mechanical Damages & coverall, apron etc. - Mask - Waste Bin - Polythene Bag | Class Rooms Work shop |
| LU2: Implement waste reduction strategies | - Identify techniques to reduce waste as per the Standard Operating Procedures. - Implement strategies of waste reduction: - Reuse the material from generated waste at the work place. - Arrange a designated place /waste bin for the materials to be recycled. - Send the recycling materials to the designated place/waste - Reduce the use of environmental adversely affecting materials | - Define SOP`s - Identify Materials - Importance of Waste Reduction Techniques - Collection of Waste - Strategy of Waste Reduction Practical Activity: - Collect Waste and Dispose off Safely | Theory:0.5hrs Practical:1.5hrs Total:2hrs | - Safety gloves & Helmets - Appropriate safety glasses, - Breathing apparatus, Body Harness & High-resolution reflective Jacket - De-electric boots and gloves for protection from electrical shock and Mechanical Damages & coverall, apron etc. - Mask - Waste Bin - Polythene Bag | Class Rooms Work shop |
| LU3: Conserve Resources | - Identify techniques to conserve resource as per the Standard Operating Procedures according to company policy. - Implement resource of conservation techniques as per the Standard Operating Procedures. | - Conserve Resources - Standard Operating Procedures for Conservation of Resources - Principles of Greening - Waste Reduction Techniques | Theory:0.5hrs Practical:1.5hrs Total:2hrs | - Safety gloves & Helmets - Appropriate safety glasses, - Breathing apparatus, Body Harness & High-resolution reflective Jacket - De-electric boots and gloves for protection from electrical shock and Mechanical Damages & coverall, apron - Mask, Waste Bin - Polythene Bag | Class Rooms Work shop |

# List of Tools and Equipment

| Name of Trade |  | HAVCR Technician (Domestic) Level-2 |  |  |
| --- | --- | --- | --- | --- |
| Duration of Course |  | 6 Months |  |  |
| S # | Description |  | Qty | Unit |
|  | Personal Protective Equipment (PPE) |  | 25 | No. |
|  | Allen Key Set |  | 25 | No. |
|  | Diagonal Side Cutter |  | 05 | No. |
|  | Combination Plier |  | 25 | No. |
|  | Nose Plier Set |  | 25 | No. |
|  | Locking Plier |  | 25 | No. |
|  | Metal Drill Bit Set |  | 25 | No. |
|  | Masonry Drill Set |  | 05 | No. |
|  | File Set |  | 05 | No. |
|  | Rivet Gun / Plier |  | 05 | No. |
|  | Adjustable Screw Wrench |  | 05 | No. |
|  | Adjustable Pipe Wrench |  | 05 | No. |
|  | Ratchet Wrench |  | 25 | No. |
|  | Box Spanner Set |  | 05 | No. |
|  | Socket Set |  | 05 | No. |
|  | Open Ended Spanner Set |  | 25 | No. |
|  | Box Spanner Screw Drivers |  | 25 | Set |
|  | Steel Ruler |  | 25 | No. |
|  | Scissors |  | 25 | No. |
|  | Scriber |  | 25 | No. |
|  | Gas Welding Set with All Accessories |  | 02 | Set |
|  | Digital Pressure Gauges Set (High & Combine) |  | 25 | Set |
|  | Tube Cutter |  | 25 | No. |
|  | Digital Capacitor Analyzer |  | 05 | No. |
|  | Hand Electric Blower |  | 05 | No. |
|  | Micron Pressure Gauge |  | 05 | No. |
|  | Pinch-Off Plier |  | 05 | No. |
|  | Flaring and Swaging Tool Kit |  | 05 | No. |
|  | Vacuum Pump 2-Stage, 6cfm |  | 02 | No. |
|  | Tube Benders (Spring Type and Pulley Bender Type) |  | 02 | No. |
|  | Laser Temperature Measuring Device |  | 05 | No. |
|  | Electronic Leak Detector |  | 02 | No. |
|  | Digital Air Flow / Velocity Meter |  | 02 | No. |
|  | Portable Refrigerant Charging Station |  | 02 | No. |
|  | Fins Straightening Comb Set |  | 05 | Set |
|  | Water Pressure Gun for Service |  | 02 | No. |
|  | Hot Air Gun |  | 02 | No. |
|  | Digital Optical Tachometer |  | 05 | No. |
|  | Bearing Puller |  | 05 | No. |
|  | Manual Screw Driver Set |  | 25 | Set |
|  | Electric Screw Driver Set |  | 25 | Set |
|  | Soldering Iron |  | 25 | No. |
|  | Electric Hand Grinder |  | 05 | No. |
|  | Insulation Remover |  | 25 | No. |
|  | De-Soldering Tool |  | 25 | No. |
|  | Wire Stripper |  | 25 | No. |
|  | Digital Multi Meter |  | 25 | No. |
|  | Digital Clamp-On Ampere Meter |  | 25 | No. |
|  | Electric Hand Drills |  | 05 | No. |
|  | Hacksaw |  | 25 | No. |
|  | Measuring Tape |  | 25 | No. |
|  | Try Square |  | 25 | No. |
|  | Chisel Set |  | 25 | Set |
|  | Spirit Level |  | 25 | No. |
|  | HILTI Drill Machine (Piston Type) |  | 02 | No. |
|  | Megohmmeter (0 - 1000 Volts) |  | 25 | No. |
|  | Laser Distance Measuring Device |  | 25 | No. |
|  | Bench Vice |  | 25 | No. |
|  | Center Punch |  | 25 | No. |
|  | Hammer |  | 25 | No. |
|  | Mallet |  | 25 | No. |
|  | Tap and Die Set |  | 25 | No. |
|  | Nitrogen Gas Cylinder with Hose Pipe, Regulator and Flash Back Arrestor |  | 02 | No. |
|  | Pipe Cutter |  | 25 | No. |
|  | Pipe Vice |  | 25 | No. |
|  | Crimping Tool |  | 25 | No. |
|  | Digital Humidity Meter |  | 25 | No. |
|  | Digital Psychrometer (Hygrometer) |  | 25 | No. |
|  | Electric Soldering iron |  | 25 | No. |
|  | Plier Set |  | 25 | Set |
|  | Power Supply |  | 25 | No. |
|  | Electrician Knife (Alpha Cutter) |  | 25 | No. |
|  | AVO Meter (Multi Meter) |  | 25 | No. |
|  | Clamp on Meter |  | 25 | No. |
|  | Drill Machine |  | 05 | No. |
|  | Phase Tester |  | 25 | No. |
|  | Screw Driver Set |  | 25 | Set |

# List of Consumables

| Sr. # | Consumable | Quantity |
| --- | --- | --- |
|  | ERT Form | 100 Nos |
|  | Checklist | 100 Nos |
|  | Masks | 500 Nos |
|  | Hand gloves | 50 Nos |
|  | Bandage kit | 1 Set |
|  | Tags | 100 Nos |
|  | Cleaning materials | 5 Set |
|  | Waste Containers | 1 Set |
|  | Polytene Bags | 25 Nos |
|  | Daily Log Sheet | 100 Nos |
|  | Tools maintenance checklist | 100 Nos |
|  | PPE’S Equipment checklist | 100 Nos |
|  | Hacksaw Blades | 50 Nos |
|  | Marking materials | 1 Set |
|  | Cutting materials | 1 Set |
|  | Drill bit sets | 10 Set |
|  | Tap & Die sets | 10 Set |
|  | Switches 2 way | 50 Nos |
|  | Rivets | 1000 Nos |
|  | Iron/GI Sheet | 25 Sq ft |
|  | Electric Wires | 5 Coil |
|  | Switches Single pole | 100 Nos |
|  | Sockets | 100 Nos |
|  | Fuse | 50 Nos |
|  | Electric Wires Flexible | 2 coil |
|  | Lamp Holder | 50 Nos |
|  | Lamp | 50 Nos |
|  | Amp. Volt Meter | 5 Each |
|  | Thimbles | 500 Nos |
|  | Insulation Tape | 10 Nos |
|  | Carbon Resistance | 100 Nos |
|  | Diode | 50 Nos |
|  | PCB | 25 Nos |
|  | Transistor | 50 Nos |
|  | Capacitor DC | 50 Nos |
|  | Infrared Light | 25 Nos |
|  | Paper | 100 Nos |
|  | Pencil | 25 Nos |
|  | Eraser | 25 Nos |
|  | Sharpener | 25 Nos |
|  | Drain Pipe | 10 Nos |
|  | Wooden Border | 50 ft |
|  | Pipe Clump | 200 Nos |
|  | Rawal Bolt | 100 Nos |
|  | Pipe Insulation | 10 Nos |
|  | Arrow Flex | 10 Nos |
|  | Wrapping Tape | 10 Nos |
|  | Plaster of Paris | 5 Kg |
|  | Refrigerant R 22 R 410 | 5 Cylinder |
|  | PVC Tape | 10 Nos |
|  | Nitrogen Gas | 2 Cylinder |
|  | Fuse | 25 Nos |
|  | Capacitor | 25 Nos |
|  | Temperature Sensor | 25 Nos |
|  | Copper Pipe | 50 ft |
|  | Breaker | 5 Nos |
|  | Compressor Oil | 5 Ltr |
|  | Rubber O Ring for Service valve | 50 Nos |
|  | Teflon Tape | 10 Nos |
|  | Flare Nut | 100 Nos |
|  | Union | 25 Nos |
|  | External/ Internal Solvents | 5 Kg |
|  | Detergent | 5 Kg |
|  | Brush | 5 Nos |
|  | Waste cloth | 20 Kg |
|  | Pin Valve | 5 Nos |
|  | Over load | 5 Nos |
|  | Relay | 5 Nos |
|  | Thermal Disk | 5 Nos |
|  | Bi-Metal Strip | 5 Nos |
|  | PCB Card | 5 Nos |
|  | Defrosting/Heater Timer | 5 Nos |
|  | Door Switch | 5 Nos |
|  | Lamp for Cabinet | 5 Nos |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of following members:

| S. # | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Muhammad Shahid Saeed | Senior Instructor | GATC Lahore |
| 2 | Azhar Waheed | Instructor | VTI Rawalpindi |
| 3 | Naveed Sajid | Manager Technical Training | Haier Pakistan |
| 4 | Yasir Ali | Instructor HVACR | GCT Railway Road Lahore |
| 5 | Amanat Ali | Instructor HVACR | GTTI Gulberg Lahore |
| 6 | Engr. Inayat ur Rehman | DACUM Facilitator | Islamabad |
| 7 | Muhammad Ishaq | Deputy Director | NAVTTC HQ Islamabad |
| 8 | Muhammad Asim | Deputy Director | NAVTTC HQ Islamabad |