National Vocational Certificate Level-3, HVACR Technician (Commercial)

Curriculum

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level-3 “HAVCR Technician (Commercial)”. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	5

1.1 Date of Development	5

1.2. Date of Review and Validation	5

1.3. Entry Requirement	5

1.4. Minimum qualification for teachers	5

1.5. Medium of instruction	5

1.6. Duration of Course	5

1.7. Overall objectives of training program	5

2.	Scheme of Studies	6

3.	Overview of the Curriculum for Level-3 HAVCR Technician (Commercial)	6

4.	Detail of Modules.	8

0715A&R301	Perform Basic Computer Operations	8

0715A&R302	Construct Basic Drawings and Symbols	9

0715A&R303	Install Commercial Refrigeration Units	13

0715A&R304	Maintain Commercial Refrigeration Units	19

0715A&R305	Install Commercial Air Conditioning Systems	23

0715A&R306	Maintain Commercial Air Conditioning System	34

5.	List of Tools and Equipment	41

6.	List of Consumables	44

7.	Members of Qualification Development Committee	45

# Introduction

HVACR is an acronym for Heating, Ventilation, Air Conditioning, and Refrigeration. It refers to the integrated systems and technologies used in residential, commercial, and industrial settings to control indoor temperature, humidity, and air quality for comfort, safety, and the preservation of perishables. The addition of "R" for refrigeration signifies the systems' capacity to handle applications beyond simple heating and cooling, such as commercial freezers and cold storage units.

| ## 1.1 Date of Development | 25 to 29 August 25, 2025 |
| --- | --- |
| - Date of Review and Validation |  |
| ## 1.3. Entry Requirement | HVACR Technician (Domestic) Level-2 |
| ## 1.4. Minimum qualification for teachers | - Should have completed intermediate or equivalent qualifications and must be a holder of G-II certificate in HVACR OR. - Three years DAE in HVACR/Mechanical Technology. - Must be able to communicate effectively. - Must have at least 4 years teaching experience. |
| ## 1.5. Medium of instruction | Urdu, local language, English |
| ## 1.6. Duration of Course | 6 Months |

  - Overall objectives of training program

The HAVCR Technician (Commercial) qualification of Level-3 consists of 20 % Theory and 80 % Practical and having the following Modules. Details are as follows:

- Perform Basic Computer Operations

- Construct Basic Drawings and symbols

- Install Commercial Refrigeration Unit

- Maintain Commercial Refrigeration Unit

- Install Commercial Air Conditioning Systems

- Maintain Commercial Air Conditioning System

# Scheme of Studies

| Module Code | Name of Competency | NVQF Level | Category | Contact Hour |  |  | Credit | Periods per week |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  | Th. | Pr. | Total |  |
|  | Perform Basic Computer Operations | 3 | Technical | 15 | 24 | 39 | 2.7 | 0.9 | 1.5 | 2.4 |
|  | Construct Basic Drawings and symbols | 3 | Technical | 15 | 24 | 39 | 2.7 | 0.9 | 1.5 | 2.4 |
|  | Install Commercial Refrigeration Unit | 3 | Technical | 25 | 72 | 97 | 6.1 | 1.6 | 4.5 | 6.1 |
|  | Maintain Commercial Refrigeration Unit | 3 | Technical | 20 | 54 | 74 | 4.7 | 1.3 | 3.4 | 4.6 |
|  | Install Commercial Air Conditioning Systems | 3 | Technical | 25 | 72 | 97 | 6.1 | 1.6 | 4.5 | 6.1 |
|  | Maintain Commercial Air Conditioning System | 3 | Technical | 20 | 54 | 74 | 4.7 | 1.3 | 3.4 | 4.6 |
|  | On Job Training (OJT) |  |  | 0 | 180 | 180 | 4.5 |  |  |  |  |
| Total |  |  |  | 120 | 480 | 600 | 31.5 | 7.5 | 18.8 | 26.3 |  |

# Overview of the Curriculum for Level-3 HAVCR Technician (Commercial)

| Module Title | Learning Units | Theory hours | Workplace hours | Timeframe of modules |
| --- | --- | --- | --- | --- |
| Perform Basic Computer Operations | - Operate MS word - Operate MS Excel - Operate MS Power Point - Perform Browsing - Print Document | 15 | 24 | 39 |
| Construct Basic Drawings and symbols | - Draw single stroke capital vertical lettering. - Draw single stroke capital inclined lettering. - Draw horizontal, vertical and inclined lines. - Draw circles, half circles, radius with compass. - Draw various types of Lines, as per instructions - Draw basic electrical Symbols as per instructions | 15 | 24 | 39 |
| Install Commercial Refrigeration Unit | - Install Walk-in Cooler / Freezer - Install Ice Making Machine - Install Chilled Water Tank - Install HVACR Allied Components for commercial refrigeration unit | 25 | 72 | 97 |
| Maintain Commercial Refrigeration Unit | - Troubleshoot faults in commercial refrigeration unit - Repair Commercial Refrigeration Units | 20 | 54 | 74 |
| Install Commercial Air Conditioning Systems | - Install Packaged unit - Install Variable Refrigerant Flow (VRF) / Variable Refrigerant Volume (VRV) System - Install Air/Water-cooled Chiller - Install Air Handling Units (AHU) / Fan Coil Unit (FCU) - Install water circulating pump - Install Cooling Tower - Carry out Commissioning - Install HVAC Accessories for commercial Air Conditioning Systems | 25 | 72 | 97 |
| Maintain Commercial Air Conditioning System | - Troubleshoot the Fault in Commercial Air Conditioning System - Repair Chiller - Repair of Air Handling Unit / Fan Coil Unit - Repair Pumps and Cooling Tower | 20 | 54 | 74 |
|  | On Job Training (OJT) | 0 | 180 | 180 |
| Total |  | 120 | 480 | 600 |

# Detail of Modules.

## Perform Basic Computer Operations

Objective: This module covers the skills and knowledge required to Operate MS word, Operate MS Excel, Operate MS Power Point, Perform Browsing and Print Document.

Theory: 15 Hours						Practice: 24 Hours`	 				Duration: 39 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Operate MS word | - Perform Microsoft basic commands in MS word - Open File - Format a file - Font (Type/size/bold/Italic) - Header Footer - Page number - Insert pics / table/hyperlink - Save a File - Save a folder | - Computer & its Basic parts of computers - Operating System & its types - Importance and uses of MS Word Practical Activity - Typing Practice - Tab knowledge (Draw tables, formatting, Design, Layout Documents) | Theory-03Hrs Practical-06Hrs Total- 09Hrs |  | Class Room / Lab |
| Operate MS Excel | - Perform basic commands in Microsoft MS Excel - Open a worksheet - Sum functions - IF functions - Basic calculations - Table and graphs - Save a worksheet/folder | - Importance and uses of MS Excel Practical Activity - Marksheet Design - Calculation formulas - Make table with all formulas master sheet | Theory-03Hrs Practical-09Hrs Total- 12Hrs |  | Class Room / Lab |
| Operate MS Power Point | - Prepare Microsoft power point presentation with basic commands - Make a power point file - Insert pics/table/hyperlink - Design a theme for slides - Save a power point file | - Importance and uses of MS Power Point Practical activity: - Design sheets - Insert and Delete Sheet - Design profile for organization and make PPT - Make PPT with proper video and theme. | Theory-03Hrs Practical-03Hrs Total- 06Hrs |  | Class Room / Lab |
| Perform Browsing | - Perform browsing on the internet as per needs - Perform search online on new trends in the market with the help of internet. - Creating Email Account - Compose Email | - importance of Internet. - Use of various search engines like Google, U-tube etc. Practical activity: - Internet browsing methodology - Make Account on social media and create ID’S & compose email | Theory-03Hrs Practical-03Hrs Total- 06Hrs |  | Class Room / Lab |
| Print Document | - Select Printer - Select page setup - Print relevant pages | - Printing Procedure. Practical activity: - Print Document | Theory-03Hrs Practical-03Hrs Total- 06Hrs |  | Lab |

## Construct Basic Drawings and Symbols

Objective: This module identifies the competencies required to construct basic drawings and symbols. This will include to draw single stroke capital vertical lettering, draw single stroke capital inclined lettering, draw horizontal, vertical and inclined lines, draw circles, half circles, radius with compass, draw various types of Lines, as per instructions, and draw basic electrical symbols as per instructions. Your underpinning knowledge regarding estimation skills will be sufficient to provide the basis for your work.

Theory:    15 Hours   				Practical:  24 Hours 						Duration:  39 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1 Draw single stroke capital vertical lettering. | - Prepare Drawing sheet. - Select the tools as per drawing. - Select Proper pencil for lettering with holding techniques. - Draw Boundaries lines as per standards. - Make title bar - Draw upper and lower lines for lettering according to standards. - Start Writing Vertical Lettering with different style like Gothic, Roman and free hand lettering. | - Drawing Pencil, their grading, sharpening and using techniques. - Style of letters. - General rules for lettering - Basic lines - Importance of lines - Common Types of lines and correct line weightage. - Application of lines. - techniques. - Introduction to geometry - Introduction to sketching techniques. - Techniques of sketching straight lines in different directions. Practical Activities: - Use different drawing instruments to draw a drawing | Theory-02Hrs Practical-03Hrs Total- 05Hrs | - Graph and drawing sheet. - Lead Pencils | Drawing Hall |
| LU-2 Draw single stroke capital inclined lettering. | - Prepare Drawing sheet. - Select the tools as per drawing sheet. - Draw Boundaries lines as per standards. - Make title bar - Draw upper and lower lines for lettering according to standards. - Start Writing inclined Lettering with different style like Roman and free hand lettering. | - Lettering in drawing - importance of lettering - methods of lettering Practical Activities: - Write specifications in drawing using lettering | Theory-02Hrs Practical-03Hrs Total- 05Hrs | - Graph and drawing sheet. - Lead Pencils | Drawing Hall |
| LU-3 Draw horizontal, vertical and inclined lines. | - Prepare Drawing sheet. - Select the tools as per drawing sheet. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw lines at 30, 45, 60,90and 120 angles. | - Lines & its Types - Parallel lines - Inclined Lines - Horizontal Lines Practical Activities: Draw tow lines in parallel and horizontal direction | Theory-03Hrs Practical-03Hrs Total- 06Hrs | - Graph and drawing sheet. - Lead Pencils | Drawing Hall |
| LU-4 Draw circles, half circles, radius with compass. | - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Make different diameters circles and half circles. | - Circle &its parts - Basic Requirements to draw circle Practical Activities: - Draw circle of different Radius & Diameter | Theory-03Hrs Practical-06Hrs Total- 09Hrs | - Graph and drawing sheet. - Lead Pencils | Drawing Hall |
| LU-5 Draw various types of Lines, as per instructions | - Prepare Drawing sheet. - Select the tools as per drawing sheet. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw Center lines, - Draw parallel-lines, - Draw perpendicular & bisects line, - Draw equal division of lines | - Line & its Types - Purposes of different lines - importance of lines Practical Activity: Make a sketch using different lines | Theory-02Hrs Practical-03Hrs Total- 05Hrs | - Graph and drawing sheet. - Lead Pencils | Drawing Hall |
| LU-6 Draw basic electrical Symbols as per instructions | - Draw Electrical symbols - Draw Electronics symbols - Draw Refrigeration symbols | - symbols & its types - importance of symbols Practical Activity: Draw Electrical Symbols | Theory-03Hrs Practical-06Hrs Total- 09Hrs | - Graph, drawing sheet. - Pencils | Drawing Hall |

## Install Commercial Refrigeration Units

Objective: This module covers the competencies required to install different types and sizes of walk-in coolers & freezers, ice making machines, chilled water tanks, along with their accessories and allied components at the workplace in accordance with the given supplier/manufacture’s guidelines. This unit covers the knowledge regarding safety rules, personal protective equipment, and international standards.

Theory:    25 Hours   					Practical:  72 Hours 					Duration:  97 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1 Install Walk in Cooler / Freezer | - Mark the location for (walk-in cooler/freezer) installation. - Select tools, equipment, and accessories as per job requirement. - Interpret the drawing and layout plans required to install the unit (walk-in cooler/freezer). - Prepare an insulated room for preserving the food. - Prepare steel / concrete foundation / frame for installation of condensing unit following manufacturer’s guidelines. - Prepare and level the place to fix the evaporator and condensing unit firmly, according to manufacturer’s specifications and as per drawing. - Layout piping and control wiring from indoor to outdoor unit according to installation guide. - Perform leak test, evacuation and charge the refrigerant. - Connect the electric supply and operate the unit to check the performance according to unit specifications. - Record all the parameters of the unit. | - Knowledge for Sheet Metal & Air Conditioning Contractors’ National Association (SMACNA) - Layout plans, drawing and manufacturer’s specifications, and HVAC symbols etc., - Type of Pipes, Pipe fittings and their applications - Methods of Pipe cutting / Welding / Jointing / fixing / sealing - Preparation of hanging supportive structures for piping - Types of Insulation and their applications - Techniques for installation of Pipes by using specified test instruments - Techniques for installation of commercial refrigeration units - Walk in Cooler/Freezer - Methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing / Jointing / fixing - Types of Refrigerants, its properties, recovery and reclaiming - Basic Masonry and Carpentry applications - Gas welding (Soldering and Brazing) - Methods of Pressurizing/ Evacuation / Purging / Refrigerant charging by using specified instruments - Record keeping and reporting Practical Activities: - Install condensing unit on the frame firmly - Connect the control wires between evaporator and condensing unit - Charge / Makeup refrigerant in walk in cooler & Record pressure & temperature measurements | Theory-07Hrs Practical-18Hrs Total- 25Hrs | - Sand - Cement - Wires - Iron bar - Bricks - Copper pipes - MS Pipes - Refrigerant - Welding Rods - Arrow flex - Polyurethane chemical - Nitrogen gas - Installation Drawings. | Class Room / Actual Site |
| LU-2 Install Ice Making Machine | - Mark the location for ice making machine installation. - Select tools, equipment, and accessories as per job requirement. - Fix the machine on potable water supply as per specifications. - Provide clearance on each side to meet the standards. - Make water supply and drain connections as per the given standard. - Install a shut-off valve on water supply near the machine according to unit specifications. - Make electric supply “switched ON” and check performance according to machine specification by using specific instruments | - Layout plans, drawing and manufacturer’s specifications, and HVACR symbols etc., - Type of Pipes, Pipe fittings and their applications - Methods of Pipe cutting / Welding / Jointing / fixing / sealing - Preparation of hanging supportive structures for piping - Types of Insulation and their application - Techniques for installation of Pipes by using specified test instruments - Types of electrical wires and cables, including underground cables, their ratings and its applications - Techniques for installation of refrigeration units - Methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing / Jointing / fixing - Types of Refrigerants, its properties and recovery - Basic Masonry and Carpentry applications - Gas welding (Soldering and Brazing) - Compressor types and their functions - Methods of Pressurizing/ Evacuation / Purging / Refrigerant charging by using specified instruments - Record keeping and reporting - Ice Making Machine Practical Activities: - Fix the machine on potable water supply & Install shut of valve on water supply | Theory-06Hrs Practical-18Hrs Total- 24Hrs | - Sand - Cement - Wires - Iron bar - Bricks - Copper pipes - MS Pipes - Refrigerant - Welding Rods - Arrow flex - Polyurethane chemical - Nitrogen gas - Installation Drawings. | Class Room / Actual Site |
| LU-3 Install Chilled Water Tank | - Select tools, equipment and related accessories according to job requirements. - Fix the cooler / tank on potable water supply by following manufacturer’s specifications and client requirements. - Measure the clearance on each side to be sure it meets the standards set by the manufacturer - Make water drain connections adjacent to the water supply as per manual instructions / location - Install shut off valve and no return valve at water supply line. - Fix minimum water level protection & interlocking with refrigeration unit to prevent empty freezing - Make power supply as per manual instructions. | - Layout plans, drawing and manufacturer’s specifications, and HVACR symbols etc., - Type of Pipes, Pipe fittings and their applications - Methods of Pipe cutting / Welding / Jointing / fixing / sealing - Preparation of hanging supportive structures for piping - Types of Insulation and their application - Techniques for installation of Pipes by using specified test instruments - Types of electrical wires and cables, including underground cables, their ratings and its applications - Techniques for installation of refrigeration units - Methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing / Jointing / fixing - Types of Refrigerants, its properties, recovery and reclaiming - Basic Masonry and Carpentry applications - Gas welding (Soldering and Brazing) - Compressor types and their functions - Methods of Pressurizing/ Evacuation / Purging / Refrigerant charging by using specified instruments - Record keeping and reporting - Chilled Water Tank Practical Activities: - Fix the machine on potable water supply, Install No-return valve on water supply & fix minimum water level protection to prevent empty freezing | Theory-06Hrs Practical-18Hrs Total- 24Hrs | - Sand - Cement - Wires - Iron bar - Bricks - Copper pipes - MS Pipes - Refrigerant - Welding Rods - Arrow flex - Polyurethane chemical - Nitrogen gas - Installation Drawings. | Class Room / Actual Site |
| LU-4 Install HVACR Allied Components for Commercial Refrigeration Units | - Select tools, equipment, and related allied components according to job requirements. - Install filter drier according to manufacturer’s specifications. - Install Sight Glass according to manufacturer’s specifications. - Install Vibration Absorber according to manufacturer’s specifications. - Install Liquid Receiver as per manufacturer’s specifications. - Install Service Valves as per manufacturer’s specifications. - Install Heat Exchanger by following manufacturer’s specifications. - Install Solenoid Valve according to manufacturer’s specifications. - Install Oil Separator by following manufacturer’s specifications. - Record the results | - Knowledge for Sheet Metal & Air Conditioning - Layout plans, drawing and manufacturer’s specifications, and HVAC symbols etc., - Type of Pipes, Pipe fittings and their applications - Methods of Pipe cutting / Welding / Jointing / fixing / sealing - Preparation of hanging supportive structures for piping - Replacement techniques for installation of HVACR Allied Components Practical Activities: - Install HVACR Allied Components as instructed by instructor, perform leakage test & note or Record Allied Components operation procedure as per instruction manual | Theory-06Hrs Practical-18Hrs Total- 24Hrs | - Copper pipes - MS Pipes - Refrigerant - Welding Rods - Arrow flex - Polyurethane chemical - Nitrogen gas - Installation Drawings. | Class Room / Actual Site |

- Maintain Commercial Refrigeration Units

Objective: This module covers the competencies required to diagnose / repair / service commercial refrigeration units at workplace in accordance with the manufacturer specifications / guidelines. This unit covers the knowledge regarding safety rules, personal protective equipment, and international standards.

Theory:    20 Hours   				Practical:  54Hours 						Duration:  74 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1 Troubleshoot faults in commercial refrigeration unit | - Disconnect the power supply to check the fault in the unit where required. - Follow operational manual to diagnose the fault. - Interpret the error codes. - Select tools, equipment, and related accessories according to the job requirements. - Rectify the causes of the fault. - Start the refrigeration unit and recheck the parameters of the unit as specified by the manufacturer in the manual. - Record all the parameters as per standard. | - Fundamental knowledge of standards by American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE) - Fundamental knowledge of Electrical and Electronics equipment - Electrical / Copper Piping layout plans / wiring diagrams related to the commercial refrigeration unit. - Techniques for diagnosing and troubleshooting of commercial Refrigeration Units - Familiarity with Refrigeration Units, their error codes, and solutions - Methods of Copper Tube Cutting / Bending / Swaging / Flaring / Brazing / Jointing / Fixing - Types of relevant Lubricants, their properties, and use. - Compressor types and applications - Types of refrigerants and its properties - Methods of Pressurizing / Evacuation / Purging / Refrigerant Charging - Appropriate use of personal protective equipment - Record keeping and reporting. Practical Activities: - Diagnose faults of chilled water tank by using specified tools and instruments - Charge the refrigerant in commercial refrigeration unit | Theory-10Hrs Practical-27Hrs Total- 37Hrs | - Nitrogen gas - Welding electrode - Electric wires | Workshop / actual Site |
| LU-2 Repair Commercial Refrigeration Units | - Diagnose the fault with the help of given operation manual. - Follow operational manual to diagnose the fault. - Select tools, equipment, and related accessories according to the requirements and standard. - Rectify the diagnosed fault by repairing the components. - Rectify the diagnosed fault by replacing the components. - Switch ON the unit and recheck the performance after repair / replacement. - Record all the parameters as per standard. | - Types of electrical wires and cables, including underground cables, their ratings and its applications - Methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing / Jointing / fixing - Types of Lubricants and their properties - Methods of Pressurizing/ Evacuation / Purging / Refrigerant charging - Record keeping and reporting Practical Activities: - Recover the refrigerant from commercial refrigeration unit with the help of recovery unit & locate and repair leakage from refrigeration unit | Theory-10Hrs Practical-27Hrs Total- 37Hrs | - Nitrogen gas - Welding electrode - Electric wires - Refrigerants - Copper pipe - MS pipe | Class Room / Actual Site |

- Install Commercial Air Conditioning Systems

Objective: This module identifies the competencies required to install commercial air conditioning units which include Packaged unit, VRF / VRV, Air/Water-cooled Chiller, Air Handling Unit (AHU)/ Fan Coil Unit (FCU), Cooling Towers and Pumps, along with their accessories at the workplace in accordance with the organizational or customers’ requirements. The installation will be performed under the supervision of HVAC Engineer. This unit covers the knowledge regarding safety rules, personal protective equipment, and international standards.

Theory:    25 Hours						Practical:  72 Hours 				Duration:  97 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1 Install Package Unit | - Mark the location to install Packaged unit. - Select tools, equipment, and accessories according to the job requirements. - Prepare foundation as per given drawing. - Fix anchor bolts with isolators. - Adjust and level the Packaged unit by following safety precautions. - Connect Packaged unit with supply, return, and fresh air ducts through flexible connections as per given drawing. - Insulate the supply and return air ducts as per drawings. - Connect the electric power supply and control wire with the unit. - Switch ON the power supply and check the performance according to the given standards. | - Knowledge of American Society Of Heating, Refrigeration, And Air Conditioning Engineers (ASHRAE) Standards - Knowledge of Ozone Protection and Synthetic Greenhouse Gas Management Act - Fundamental knowledge of HVACR, Electrical and Electronics - Techniques for installation of central Air conditioners - Electrical / HVAC layout plans/wiring diagrams. - Types of electrical control wires, cables, including underground cables, their ratings and its applications - Methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing / fixing - Basic Masonry and Carpentry applications - Welding types and techniques - Types of Insulation and their applications - Types of AHU, FCU, Chillers & Cooling towers, Compressor, Condenser and pump types and their functions - Types of Refrigerants, its properties, recovery and reclaiming - Record keeping and reporting Practical Activities: - Connect fresh air duct with package type unit as per given drawing | Theory-04Hrs Practical-09Hrs Total- 13Hrs | - Nitrogen gas - Welding electrode - Electric wires - Refrigerants - Copper pipe - MS pipe - MS sheet - Duct fittings - Sand - Bricks - Cement - Iron Bar - Insulating materials - Polyurethane chemicals | Workshop / actual Site |
| LU-2 Install Variable Refrigerant Flow (VRF) / Variable Refrigerant Volume (VRV) System | - Mark the locations to install both indoor and outdoor units of VRF / VRV system. - Select tools, equipment, and accessories according to the given job requirements. - Place, adjust and level the outdoor unit on the given foundation. - Install indoor units according to given layout diagrams, client requirements and manufacturer instruction manual - Cut the copper tube using tube cutter as per given sizes. - Rim the copper tubing after cutting. - Swedge the copper tube for soldering / brazing. - Prepare piping, weld / braze by passing the nitrogen though the tubes. - Connect copper tubes from indoor to outdoor unit. - Fix Shut-off valves with service ports on every indoor unit as per manufacture’s recommendation. - Check leaks by applying nitrogen pressure / soapy method before the joints’ insulation. - Repair leakages (if any) after the removal of nitrogen pressure. - Insulate the copper pipe joints according to the given manufacturer instructions and standards. - Evacuate the system. - Switch ON the system and charge the refrigerant as per requirement. | - Knowledge of American Society Of Heating, Refrigeration, And Air Conditioning Engineers (ASHRAE) Standards - Knowledge of Ozone Protection and Synthetic Greenhouse Gas Management Act - Techniques for installation of central Air conditioners - Fundamental and Technical Operations of VRF / VRV system - Electrical / HVAC layout plans/wiring diagrams. - Types of electrical control wires, cables, including underground cables, their ratings and its applications - Methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing / Y-Jointing / fixing - Basic Masonry and Carpentry applications - Welding types and techniques - Types of Insulation and their applications - Types of AHU, FCU, Chillers & Cooling towers - Compressor, Condenser and pump types and their applications - Types of Refrigerants, its properties and recovery - Record keeping and reporting Practical Activities: Interpret drawing and install Y branches and assigned master sleeve circuit. | Theory-03Hrs Practical-09Hrs Total-12Hrs | - Nitrogen gas - Welding electrode - Electric wires - Refrigerants - Copper pipe - MS pipe - MS sheet - Duct fittings - Sand - Bricks - Cement - Iron Bar - Insulating materials - Polyurethane chemicals | Workshop/ Actual site |
| LU-3 Install Air/Water-cooled Chiller | - Mark the location to install Air/Water-cooled chiller. - Select tools, equipment, and accessories according to the given job requirements. - Prepare foundation as per given drawing. - Fix anchors on foundation with vibration isolators. - Place, adjust and level the chiller on isolators. | - Knowledge of American Society Of Heating, Refrigeration, And Air Conditioning Engineers (ASHRAE) standards - Knowledge of Ozone Protection and Synthetic Greenhouse Gas Management Act - Techniques for installation of central Air conditioners - Electrical / HVAC layout plans/wiring diagrams. - Types of electrical control wires, cables, including underground cables, their ratings and its applications - Methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing / fixing - Types of AHU, FCU, Chillers & Cooling towers, Compressor, Condenser and pump types and their applications - Types of Refrigerants, its properties, recovery and reclaiming - Record keeping and reporting Practical Activities: - Connect MS pipes as per drawing and Install fan coil unit according to its specifications & perform electric connections to fan coil unit according to given drawing | Theory-03Hrs Practical-09Hrs Total-12Hrs | - Nitrogen gas - Welding electrode - Electric wires - Refrigerants - Copper pipe - MS pipe - MS sheet - Duct fittings - Sand - Bricks - Cement - Iron Bar - Insulating materials - Polyurethane chemicals | Workshop/ Actual site |
| LU-4 Install Air Handling Units (AHU) / Fan Coil Unit (FCU) | - Mark the location of AHU/FCU as per drawing - Drill the slab for fixing of rod for FCU. - Install FCU with hanging rod with drop-in anchor. - Place AHU on the given foundation as per manufacture’s standard. - Fix anchors on foundation with vibration isolators. - Install AHU on isolators. - Connect duct connection with supply, return and fresh air points of the unit. - Connect pipes for supply, return and drain connections. - Insulate insulation on ducts and pipes. - Establish electric power and control connections | - Knowledge of American Society Of Heating, Refrigeration, And Air Conditioning Engineers (ASHRAE) Standards - Knowledge of Ozone Protection and Synthetic Greenhouse Gas Management Act 1989 - Fundamental knowledge of HVACR, Electrical and Electronics - Fundamental and Technical Operations of Central air conditioning units - Electrical / HVAC layout plans/wiring diagrams. - Types of electrical control wires, cables, including underground cables, their ratings and its applications - Methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing and fixing - Types of AHU, FCU, Chillers & Cooling towers, Compressor, Condenser and pump types and their applications - Types of Refrigerants, its properties, recovery and reclaiming - Procedure regarding commissioning the central HVAC systems - Record keeping and reporting Practical Activities: Perform air & Water balancing (TAB) to check the air distribution according to its design conditions. | Theory-03Hrs Practical-09Hrs Total-12Hrs |  | Workshop/ Actual site |
| LU-5 Install water circulating pump | - Mark location to install the pump. - Mount vibration isolators between pump base and foundation. - Fix the pump with chemical anchor bolts. - Level and align the pump as per standard. | - Knowledge of the standards of American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE) - Ozone Protection and Synthetic Greenhouse Gas Management Act 1989 - Fundamental knowledge of HVACR, Electric and Electronics - Techniques for installation of commercial Air conditioners - Fundamental and Technical Operations of VRF / VRV system - Electrical / HVACR layout plans/wiring diagrams - Types of electrical control wires, cables, including underground cables, their ratings, and its applications - Methods of Copper Tube Cutting / Bending /Swedging / Flaring / Brazing / Y-Jointing / Fixing. - Gas welding types and techniques - Types of Insulation and their applications - Types of AHUs, FCU, Chillers and Cooling Towers, Compressor, Condenser and pump types and their applications - Types of refrigerants, its properties, recovery, and reclaiming - Procedure regarding commissioning the central HVACR systems - Record keeping and reporting. Practical Activity: Interpret Drawing and connect water pump with MS pipes | Theory-03Hrs Practical-09Hrs Total-12Hrs | - Nitrogen gas - Welding electrode - Electric wires - Refrigerants - Copper pipe - MS pipe - MS sheet - Duct fittings - Sand - Bricks - Cement - Iron Bar - Insulating materials - Polyurethane chemicals | Workshop/ Actual site |
| LU-6 Install Cooling Tower | - Mark the location for cooling tower installation as per drawing. - Bifurcate cooling tower section/parts for its assembly. - Assemble sump base and fix it with anchor blots on foundation. - Fix all sides panels on sump base as per manufacturer’s drawing. - Fix water distribution sump, fan hub, fix fan and motor with allied components. - Install PVC fills in cooling tower as per manufacturer’s guidelines | - Knowledge of the standards of American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE) - Ozone Protection and Synthetic Greenhouse Gas Management Act 1989 - Fundamental knowledge of HVACR, Electric and Electronics - Techniques for installation of commercial Air conditioners - Fundamental and Technical Operations of VRF / VRV system - Electrical / HVACR layout plans/wiring diagrams - Types of electrical control wires, cables, including underground cables, their ratings, and its applications - Methods of Copper Tube Cutting / Bending /Swedging / Flaring / Brazing / Y-Jointing / Fixing. - Gas welding types and techniques - Types of Insulation and their applications - Types of AHUs, FCU, Chillers and Cooling Towers, Compressor, Condenser and pump types and their applications - Types of refrigerants, its properties, recovery, and reclaiming - Procedure regarding commissioning the central HVACR systems - Record keeping and reporting Practical Activity: Fix filling material and connect water pipes as per drawing | Theory-03Hrs Practical-09Hrs Total-12Hrs | - Nitrogen gas - Welding electrode - Electric wires - Refrigerants - Copper pipe - MS pipe - MS sheet - Duct fittings - Sand - Bricks - Cement - Iron Bar - Insulating materials - Polyurethane chemicals | Workshop/ Actual site |
| LU-7 Carry out Commissioning | - Select tools, equipment and related accessories according to the given job requirements. - Switch ON power supply of condenser and chilled water pump for water circulation in the system - Start the chiller and take reading of all parameters regarding temperature / pressure and electric power, check and remove unusual vibrations / noises etc. from unit, if any - Perform Air Balancing, and water balancing to check the air / water distribution according to the given design requirements. - Check the system performance as per given design criteria. - Record the results | - Knowledge of the standards of American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE) - Ozone Protection and Synthetic Greenhouse Gas Management Act 1989 - Fundamental knowledge of HVACR, Electric and Electronics - Techniques for installation of commercial Air conditioners - Fundamental and Technical Operations of VRF / VRV system - Electrical / HVACR layout plans/wiring diagrams - Types of electrical control wires, cables, including underground cables, their ratings, and its applications - Methods of Copper Tube Cutting / Bending /Swedging / Flaring / Brazing / Y-Jointing / Fixing. - Gas welding types and techniques - Types of Insulation and their applications - Types of AHUs, FCU, Chillers and Cooling Towers, Compressor, Condenser and pump types and their applications - Types of refrigerants, its properties, recovery, and reclaiming - Procedure regarding commissioning the central HVACR systems - Record keeping and reporting Practical Activity: Start HVACR unit and record aits parameters | Theory-03Hrs Practical-09Hrs Total-12Hrs | - Drawings - Record keeping charts | Workshop/ Actual site |
| LU-8 Install HVAC Accessories for commercial Air Conditioning Systems | - Select tools, equipment, and related allied components according to job requirements. - Install filter drier according to manufacturer’s specifications. - Install Sight Glass according to manufacturer’s specifications. - Install Vibration Absorber according to manufacturer’s specifications. - Install Liquid Receiver as per manufacturer’s specifications. - Install Service Valves as per manufacturer’s specifications. - Install Heat Exchanger by following manufacturer’s specifications. - Install Solenoid Valve according to manufacturer’s specifications. - Install Oil Separator by following manufacturer’s specifications. - Switch ON commercial air conditioning unit and check the performance. - Record the results. | - Knowledge of the standards of American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE) - Ozone Protection and Synthetic Greenhouse Gas Management Act 1989 - Fundamental knowledge of HVACR, Electric and Electronics - Techniques for installation of commercial Air conditioners - Fundamental and Technical Operations of VRF / VRV system - Electrical / HVACR layout plans/wiring diagrams - Types of electrical control wires, cables, including underground cables, their ratings, and its applications - Methods of Copper Tube Cutting / Bending /Swedging / Flaring / Brazing / Y-Jointing / Fixing. - Gas welding types and techniques - Types of Insulation and their applications - Types of AHUs, FCU, Chillers and Cooling Towers, Compressor, Condenser and pump types and their applications - Types of refrigerants, its properties, recovery, and reclaiming - Procedure regarding commissioning the central HVACR systems - Record keeping and reporting Practical Activity: Install given HVAC&R accessories as per drawing. | Theory-03Hrs Practical-09Hrs Total-12Hrs | - Nitrogen gas - Welding electrode - Electric wires - Refrigerants - Copper pipe - MS pipe - MS sheet - Duct fittings - Insulating materials - Polyurethane chemicals |  |

- Maintain Commercial Air Conditioning System

Objective: This module covers the competencies required to maintain commercial air conditioning system at workplace in accordance with the given manufacturer specifications / guidelines. This unit covers the knowledge regarding basic safety rules, Personal Protective Equipment and international standards for repairing / servicing of commercial air conditioning units to provide you the basis for your work

Theory:    20 Hours   				Practical:  54 Hours 						Duration:  74 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1 Troubleshoot the Fault in Commercial Air Conditioning System | - Disconnect the power supply to check the fault in the unit where required. - Follow operational manual to diagnose the fault. - Interpret the error codes. - Select tools, equipment, and related accessories according to the job requirements. - Rectify the causes of the fault. - Start the air conditioning unit and recheck the parameters of the unit as specified by the manufacturer in the manual. - Record all the parameters as per standard. | - Fundamental knowledge of HVACR and Electrical / Electronic components - Technical Operations of Chillers, Cooling Tower, Pumps, AHUs & FCUs - Types of electrical controls, wires and cables, including underground cables, their ratings and its applications - Techniques of Diagnose and Troubleshooting of central Air conditioning systems - Fundamental knowledge of PLC and Microprocessor - Familiar with central Air conditioners error codes and solution - Types of Motors used in central Air conditioners - Types of controls and their functions used in central air conditioning systems - Capable to use & handle the micron gauge for deep vacuum measuring - Gas welding (Soldering and Brazing) - Types of Insulation and their applications - Compressor, Condenser, Evaporator types and their functions - Types of Refrigerants, its properties, recovery and reclaiming - Record keeping and reporting Practical Activities: - trace leack in refrigeration system, repair it ang charge refrigerant | Theory-05Hrs Practical-18Hrs Total- 23Hrs | - Nitrogen gas - Welding electrode - Electric wires - Drawings layouts | Work shop / actual Site |
| LU-2 Repair Chiller | - Shutdown the chiller and follow the instructions given in the manual for rectification. - Select required tools, equipment and related accessories according to the given job requirements. - Rectify the diagnosed faults; repair / replace the faulty components, as necessary. - Switch ON the system to check the performance of electrical / mechanical components as specified in the given manufacturer manual and record the output results | - Technical Operations of Chillers, Cooling Tower, Pumps, AHUs & FCUs - Types of electrical controls, wires and cables, including underground cables, their ratings and its applications - Techniques of Diagnose and Troubleshooting of central Air conditioning systems - Capable to replace PCB Cards and controls - Fundamental knowledge of PLC and Microprocessor - Methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing / Jointing / fixing - Familiar with central Air conditioners error codes and solution - Types of Motors used in central Air conditioners - Types of controls and their functions used in central air conditioning systems - Capable to use & handle the micron gauge for deep vacuum measuring - Gas welding (Soldering and Brazing) - Types of Insulation and their applications - Compressor, Condenser, Evaporator types and functions - Types of Refrigerants, its properties, recovery and reclaiming - Record keeping and reporting Find leakage in water line and repair it | Theory-05Hrs Practical-12Hrs Total- 17Hrs | - Nitrogen gas - Welding electrode - Electric wires - Silicon - Lubricants - PH paper - Drawings layouts | Workshop / Actual Site |
| LU-3 Repair of Air Handling Unit / Fan Coil Unit | - Shutdown the unit as per the job requirement. - Check each component of the unit. - Follow operational manual to diagnose the fault. - Select tools, equipment, and related accessories according to the requirements and standard. - Rectify the diagnosed fault by repairing / replacing the components. - Switch ON the unit and recheck the performance after repair. - Record all the parameters as per standard. | - Technical Operations of Chillers, Cooling Tower, Pumps, AHUs & FCUs - Types of electrical controls, wires and cables, including underground cables, their ratings and its applications - Techniques of Diagnose and Troubleshooting of central Air conditioning systems - Familiar with central Air conditioners error codes and solution - Types of Motors used in central Air conditioners - Types of controls and their functions used in central air conditioning systems - Capable to use & handle the micron gauge for deep vacuum measuring - Gas welding (Soldering and Brazing) - Types of Insulation and their applications - Compressor, Condenser, Evaporator types and their functions - Types of Refrigerants, its properties, recovery and reclaiming - Record keeping and reporting Practical Activities: Align motor and replace fan belts | Theory-05Hrs Practical-12Hrs Total- 17Hrs | - Nitrogen gas - Welding electrode - Electric wires - Belts - PH papers - Filters - Polyurethane insulations - Silicon - Drawings layouts | Workshop / Actual Site |
| LU-4 Repair Pumps and Cooling Tower | - Detect and diagnose the fault(s) with the help of given manufacturer manual. - Shut down the system and follow the instructions given in manufacturer manual for rectification. - Select required tools, equipment and related accessories according to the job requirements. - Check water level (with the help of water level indicator) of cooling tower. - Check the fan assembly, to check the bearings and motor abnormalities according to the given manufacturer specifications and HVAC standards. - Check the float valves and strainers to maintain water level. - Perform chemical treatment to prevent sludge / scaling problems according to the given manufacturer specifications and HVAC standards. - Start water circulating pump and check the performance according to their given specifications; service / repair, if necessary - Start water circulating pump and check the performance according to their given specifications; service / replacement, if necessary - Clean the sprinkler assembly water pan from leaves, mud, and scale, if any - Rectify the fault and restart the cooling tower and pumps | - Knowledge of American Society Of Heating, Refrigeration, And Air Conditioning Engineers (ASHRAE) - Technical Operations of Chillers, Cooling Tower, Pumps, AHUs & FCUs - Types of electrical controls, wires and cables, including underground cables, their ratings and its applications - Techniques of Diagnose and Troubleshooting of central Air conditioning systems - Capable to replace PCB Cards and controls - Fundamental knowledge of PLC and Microprocessor - Familiar with central Air conditioners error codes and solution - Types of Motors used in central Air conditioners - Types of controls and their functions used in central air conditioning systems - Capable to use & handle the micron gauge for deep vacuum measuring - Gas welding (Soldering and Brazing) - Types of Insulation and their applications - Compressor, Condenser, Evaporator types and their functions - Types of Refrigerants, its properties, recovery and reclaiming - Record keeping and reporting Practical Activities: Replace Check valve in pipe line | Theory-05Hrs Practical-12Hrs Total- 17Hrs | - Welding electrode - Electric wires - Belts - PH papers - Coupling - PVC fins - De-scaler - Water softener - Ball bearing - Filters - Silicon - Polyurethane insulations | Workshop / Actual Site |

# List of Tools and Equipment

| Name of Trade |  | HAVCR Technician (Commercial) Level-3 |  |  |
| --- | --- | --- | --- | --- |
| Duration of Course |  | 6 Months |  |  |
| S # | Description |  | Qty | Unit |
|  | Personal Protective Equipment (PPE) |  | 25 | No. |
|  | Allen Key Set |  | 25 | No. |
|  | Diagonal Side Cutter |  | 05 | No. |
|  | Combination Plier |  | 25 | No. |
|  | Nose Plier Set |  | 25 | No. |
|  | Locking Plier |  | 25 | No. |
|  | Metal Drill Bit Set |  | 25 | No. |
|  | Masonry Drill Set |  | 05 | No. |
|  | File Set |  | 05 | No. |
|  | Rivet Gun / Plier |  | 05 | No. |
|  | Adjustable Screw Wrench |  | 05 | No. |
|  | Adjustable Pipe Wrench |  | 05 | No. |
|  | Ratchet Wrench |  | 25 | No. |
|  | Box Spanner Set |  | 05 | No. |
|  | Socket Set |  | 05 | No. |
|  | Open Ended Spanner Set |  | 25 | No. |
|  | Box Spanner Screw Drivers |  | 25 | Set |
|  | Steel Ruler |  | 25 | No. |
|  | Scissors |  | 25 | No. |
|  | Scriber |  | 25 | No. |
|  | Gas Welding Set with All Accessories |  | 02 | Set |
|  | Digital Pressure Gauges Set (High & Combine) |  | 25 | Set |
|  | Tube Cutter |  | 25 | No. |
|  | Digital Capacitor Analyzer |  | 05 | No. |
|  | Hand Electric Blower |  | 05 | No. |
|  | Micron Pressure Gauge |  | 05 | No. |
|  | Pinch-Off Plier |  | 05 | No. |
|  | Flaring and Swaging Tool Kit |  | 05 | No. |
|  | Vacuum Pump 2-Stage, 6cfm |  | 02 | No. |
|  | Tube Benders (Spring Type and Pulley Bender Type) |  | 02 | No. |
|  | Laser Temperature Measuring Device |  | 05 | No. |
|  | Electronic Leak Detector |  | 02 | No. |
|  | Digital Air Flow / Velocity Meter |  | 02 | No. |
|  | Portable Refrigerant Charging Station |  | 02 | No. |
|  | Fins Straightening Comb Set |  | 05 | Set |
|  | Water Pressure Gun for Service |  | 02 | No. |
|  | Hot Air Gun |  | 02 | No. |
|  | Digital Optical Tachometer |  | 05 | No. |
|  | Bearing Puller |  | 05 | No. |
|  | Manual Screw Driver Set |  | 25 | Set |
|  | Electric Screw Driver Set |  | 25 | Set |
|  | Soldering Iron |  | 25 | No. |
|  | Electric Hand Grinder |  | 05 | No. |
|  | Insulation Remover |  | 25 | No. |
|  | De-Soldering Tool |  | 25 | No. |
|  | Wire Stripper |  | 25 | No. |
|  | Digital Multi Meter |  | 25 | No. |
|  | Digital Clamp-On Ampere Meter |  | 25 | No. |
|  | Electric Hand Drills |  | 05 | No. |
|  | Hacksaw |  | 25 | No. |
|  | Measuring Tape |  | 25 | No. |
|  | Try Square |  | 25 | No. |
|  | Chisel Set |  | 25 | Set |
|  | Spirit Level |  | 25 | No. |
|  | HILTI Drill Machine (Piston Type) |  | 02 | No. |
|  | Megohmmeter (0 - 1000 Volts) |  | 25 | No. |
|  | Laser Distance Measuring Device |  | 25 | No. |
|  | Bench Vice |  | 25 | No. |
|  | Center Punch |  | 25 | No. |
|  | Hammer |  | 25 | No. |
|  | Mallet |  | 25 | No. |
|  | Tap and Die Set |  | 25 | No. |
|  | Nitrogen Gas Cylinder with Hose Pipe, Regulator and Flash Back Arrestor |  | 02 | No. |
|  | Pipe Cutter |  | 25 | No. |
|  | Pipe Vice |  | 25 | No. |
|  | Crimping Tool |  | 25 | No. |
|  | Digital Humidity Meter |  | 25 | No. |
|  | Digital Psychrometer (Hygrometer) |  | 25 | No. |
|  | Electric Soldering iron |  | 25 | No. |
|  | Plier Set |  | 25 | Set |
|  | Power Supply |  | 25 | No. |
|  | Electrician Knife (Alpha Cutter) |  | 25 | No. |
|  | AVO Meter (Multi Meter) |  | 25 | No. |
|  | Clamp on Meter |  | 25 | No. |
|  | Drill Machine |  | 05 | No. |
|  | Phase Tester |  | 25 | No. |
|  | Screw Driver Set |  | 25 | Set |

# List of Consumables

| Sr. No. | Consumable | Quantity |
| --- | --- | --- |
|  | Printing Paper A4 size | 1000 Papers |
|  | Graph and drawing sheet | 50 Nos |
|  | Lead Pencils | 50 Nos |
|  | Eraser | 25 Nos |
|  | Sharpener | 25 Nos |
|  | Sand | 500 Kg |
|  | Cement | 50 Kg |
|  | Electric Wires | 5 Coil |
|  | Iron bar | 100 Kg |
|  | Bricks | 1000 Nos |
|  | Copper pipes | 5 Coil |
|  | MS Pipes | 100 ft |
|  | Refrigerant R-22 | 5 Cylinder |
|  | Refrigerant R-407 | 5 Cylinder |
|  | Refrigerant R-32 | 5 Cylinder |
|  | Refrigerant R-600 | 2 Cylinder |
|  | Refrigerant R-410 | 5 Cylinder |
|  | Refrigerant R-134a | 2 Cylinder |
|  | Welding Rods | 2 Kg |
|  | Arrow flex | 50 Nos |
|  | Polyurethane Chemical | 25 Kg |
|  | Nitrogen gas | 5 Cylinder |
|  | Installation Drawings. | As per Requirement |
|  | Welding Electrode | 5 Kg |
|  | MS Sheet | 10 sg ft |
|  | Duct Fittings | As per drawing |
|  | Duct Tee | 5 nos |
|  | Duct Diffuser | 5 Nos |
|  | Duct Grill | 5 Nos |
|  | Duct Elbow | 5 Nos |
|  | Duct Reducer | 5 Nos |
|  | Duct Jointer Sleeve | 5 Nos |
|  | Duct Sealant | 5 Nos |
|  | Duct End cap | 5 Nos |
|  | Duct Dampers | 5 Nos |
|  | Duct Connector | 5 Nos |
|  | Glue | 5 Kg |
|  | Canvas Cloth | 100 sq ft |
|  | Glass wool | 10 kg |
|  | Rawal Bolt | 200 Nos |
|  | Electric Wires | 10 coil |
|  | Silicon | 10 Nos |
|  | Lubricants (Grease) | 2 Kg |
|  | PH paper | 5 Set |
|  | Belts | 25 nos |
|  | Filters | 25 Nos |
|  | Coupling | 25 Nos |
|  | PVC Fins | 100 Nos |
|  | De-Scaler | 25 Kg |
|  | Water Softener | 25 Kg |
|  | Ball Bearing | 50 Nos |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of following members:

| S. # | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Muhammad Shahid Saeed | Senior Instructor | GATC Lahore |
| 2 | Azhar Waheed | Instructor | VTI Rawalpindi |
| 3 | Naveed Sajid | Manager Technical Training | Haier Pakistan |
| 4 | Yasir Ali | Instructor HVACR | GCT Railway Road Lahore |
| 5 | Amanat Ali | Instructor HVACR | GTTI Gulberg Lahore |
| 6 | Engr. Inayat ur Rehman | DACUM Facilitator | Islamabad |
| 7 | Muhammad Ishaq | Deputy Director | NAVTTC HQ Islamabad |
| 8 | Muhammad Asim | Deputy Director | NAVTTC HQ Islamabad |