## Instrumentation & Control
Sector Name | Occupation Name | Equipment Name | Minimum Number of Equipment Required | Unit Type | Images
| Instrumentation & Control | Single tank system | 2 | pieces
| Instrumentation & Control | Double tank system | 2 | pieces
| Instrumentation & Control | Temperature oil bath | 2 | pieces
| Instrumentation & Control | Temperature and pressure test trainer | 2 | pieces
| Instrumentation & Control | Batch process reactor trainer | 2 | pieces
| Instrumentation & Control | Double tank system (pressure calibration) | 2 | pieces
| Instrumentation & Control | Hand pump pressure test | 2 | pieces
| Instrumentation & Control | Programmable Logic Controller trainer Kit | 2 | pieces
| Instrumentation & Control | Bottle Filling Trainer with PLC | 2 | pieces
| Instrumentation & Control | DC 24V Power supply unit | 2 | pieces
| Instrumentation & Control | Audio Frequency generator | 2 | pieces
| Instrumentation & Control | Pt100 simulator/Calibrator | 2 | pieces
| Instrumentation & Control | U-Tube Manometer | 4 | pieces
| Instrumentation & Control | Cathode Ray Oscilloscope | 2 | pieces
| Instrumentation & Control | PID Controllers/Indicators | 6 | pieces
| Instrumentation & Control | Temperature Transmitters | 8 | pieces
| Instrumentation & Control | Pressure transmitter | 4 | pieces
| Instrumentation & Control | Flow transmitter | 2 | pieces
| Instrumentation & Control | Flow meter | 2 | pieces
| Instrumentation & Control | Solenoid valve | 3 | pieces
| Instrumentation & Control | Level switch (Float) | 5 | pieces